# Submission ID #:  62814

# Scriptwriter Name: Gaurav Vaidya

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19158318

# Title: Formulation and Acoustic Modulation of Optically Vaporized Perfluorocarbon Nanodroplets

# Authors and Affiliations:

Andrew Zhao1, Jeungyoon Lee2, Stanislav Emelianov1,3

1Department of Biomedical Engineering at Georgia Institute of Technology and Emory University

2School of Electrical Engineering at Georgia Institute of Technology

3Department of Biomedical Engineering at Georgia Institute of Technology and Emory University and School of Electrical Engineering at Georgia Institute of Technology

# Corresponding Authors:

Stanislav Emelianov	(stas@gatech.edu)

# Email Addresses for All Authors:

azhao36@gatech.edu

jyoon.lee@gatech.edu

stas@gatech.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   No (if step 2.11 is not filmed, which we recommend not filming)

Current Protocol Length

Number of Steps:  22

Number of Shots:  55

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Andrew Zhao: This protocol allows for simple and quick synthesis of optically vaporized perfluorocarbon nanodroplets and provides a method to enhance the performance of these particles.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 2.8.3.

  - Jeungyoon Lee: Pulse-inversion allows enhancement of contrast by just manipulating the phase of the ultrasound imaging pulse. It requires no additional equipment and can be performed on any programmable ultrasound system.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Perfluorocarbon Nanodroplet Formulation

  - Begin by rinsing out a 10-milliliter round-bottom flask with chloroform [1-TXT] and wash out a 10-microliter and 1-milliliter gas-tight glass syringe with chloroform by repeatedly aspirating the full syringe volume and expelling it a total of three times [2].

    - WIDE: Establishing shot of the talent rinsing the round-bottom flask with chloroform. TEXT: Perform all work involving chloroform in the fume hood

    - Talent rinsing out the two syringes using chloroform.

  - Using the syringes, add 200 microliters of 25 milligrams per milliliter DSPE-mPEG2000, 8 microliters of 10 milligrams per milliliter DSPC, and 1 milliliter of 1 milligram per milliliter IR 1048 into the round-bottom flask [1]. Remember to clean out the syringes between lipids or dye to prevent contamination of the stock [2]. Videographer: This step is important!

    - Talent adding the different solutions into the round-bottom flask. TEXT: DSPC - 1,2-distearoyl-sn-glycero-3-phosphocholine

    - Talent cleaning out the syringes.

  - Remove the solvent utilizing a rotary evaporator [1]. Ensure that the vacuum is slowly adjusted to 332 millibars to prevent bumping [2]. After 5 minutes, reduce the pressure to 42 millibars to remove any water that may have entered the solution [3].

    - A shot of the flask inside the rotary evaporator.

    - Talent adjusting the vacuum to 332 mbar.

    - Talent reducing the pressure to 42 mbar.

  - Suspend the lipid cake in 1 milliliter of PBS [1] and sonicate or vortex at room temperature for 5 minutes or until all lipid cake has been suspended and dissolved in the solution [2]. Sonicate for an additional 2 minutes to homogenize the solution [3].

    - Talent adding PBS to the lipid cake.

    - Talent sonicating/vortexing the lipid cake.

    - Talent homogenizing the solution by sonication.

  - Transfer the solution to a 7-milliliter glass vial [1] and place the vial in a glass dish filled with ice to allow the solution to cool down for 5 minutes [2]. Rinse out a gas-tight glass syringe with perfluorohexane [3]. Then, add 50 microliters of perfluorohexane to the vial using the syringe [4].

    - Talent transferring the solution to the glass vial.

    - Talent placing the vial in the dish with ice.

    - Talent rinsing the glass syringe with perfluorohexane.

    - Talent adding perfluorohexane to the vial.

  - Probe sonicate the mixture with the Amplitude set to 1,  the Process time set to 20 seconds, Pulse-On set to 1 second, and Pulse-off set to 5 seconds [1]. Then change the settings as mentioned in the text manuscript and sonicate the mixture once more [2]. Videographer: This step is important!

    - Talent sonicating the mixture.

    - Talent sonicating the mixture with the changed settings.

  - Transfer the nanodroplet solution to a 1.5-milliliter centrifuge tube [1] and centrifuge at 300 x g for 3 minutes to separate out the larger droplets, which are more than 1 micrometers from the smaller droplets [2].

    - Talent transferring the nanodroplets into the centrifuge tube.

    - Talent centrifuging the solution.

  - Discard the pellet and transfer the supernatant to another 1.5-milliliter centrifuge tube [1]. Wash the supernatant by centrifuging at 3000 x g for 5 minutes to pellet all the droplets in solution [2]. Resuspend the PFCnDs in 1 milliliter of PBS by pipetting the pellet up [3] and down and then sonicate in a bath sonicator for 1 minute [4]. Videographer: This step is important!

    - Talent transferring the supernatant to a new centrifuge tube.

    - Talent centrifuging the solution.

    - Talent resuspending the PFCnDs. TEXT: PFCnDs - perfluorocarbon nanodroplets

    - Talent sonicating the solution in a bath sonicator.

  - Dilute the stock PFCnDs 100-fold by adding 10 microliters of PFCnD stock to 990 microliters of PBS [1] and bath sonicate to disperse the PFCnDs before measuring their size [2]. Measure the size of the droplets using dynamic light scattering[3].

    - Talent diluting the PFCnD stock.

    - Talent bath sonicating the PFCnD solution.

    - Talent measuring PFCnD size using dynamic light scattering.

  - Dilute the PFCnDs by 100-1000-fold to ensure accurate measurement of the concentration [1]. Determine the concentration of the PFCnDs utilizing the nanoparticle tracking analyzer. The protocol typically yields droplets at a concentration on the order of 1010 particles per milliliter [2].

    - Talent diluting the PFCnDs.

    - Talent determining the concentration of PFCnDs using the nanoparticle tracking analyzer.

- Polyacrylamide Phantom Preparation

  - Degas water by filling a 500-milliliter vacuum flask with 400 milliliters of deionized water [1], seal with a rubber cork and connect the flask to the vacuum line [3].

    - Talent filling the vacuum flask with deionized water.

    - Talent sealing the flask and connecting it to the vacuum line

  - Open the vacuum line and submerge the bottom of the flask in the bath sonicator [2]. Sonicate for 5 minutes or until no gas bubble formation is visible [3].

    - Talent submerging the flask in the bath sonicator.

    - Talent sonicating the deionized water.

  - Prepare 10 percent ammonium persulfate solution by dissolving 500 milligrams in 5 milliliters of degassed water [1]. Gently swirl the solution if the ammonium persulfate does not fully dissolve [2].

    - Talent preparing 10% ammonium persulfate solution.

    - Talent swirling the solution.

  - In a 400-milliliter beaker with a stir bar on a stir plate, add 150 milliliters of degassed water [1] and 50 milliliters of 40 acrylamide-bisacrylamide solution to form 200 milliliters of 10 percent acrylamide-bisacrylamide solution [2]. Stir the mixture at 200 rpm to allow for proper mixing without introducing bubbles [3].

    - Talent adding degassed water to the beaker.

    - Talent adding 40% acrylamide-bisacrylamide solution to the beaker.

    - A shot of the beaker with the solution being stirred.

  - Weigh out 400 milligrams of silica [1] and add it to the 10 percent acrylamide-bisacrylamide solution to form a 0.2 percent of silica and acrylamide solution [2]. Prepare a square mold with a cylindrical inclusion by cutting off the tips from a plastic transfer pipette and supporting it in the mold with lab tape [3-TXT].

    - Talent weighing out silica.

    - Talent adding silica to the 10% acrylamide-bisacrylamide solution.

    - Talent preparing the square mold. TEXT: 58 mm x 58 mm x 78 mm

  - Add 2 milliliters of 10 percent ammonium persulfate solution to the beaker to make a final concentration of 0.1 percent APS [1] and add 250 microliters of TEMED (pronounce ‘TE-MED’) to the phantom solution. Allow the solution to stir for less than a minute [2].

    - Talent adding the 10% ammonium persulfate solution to the beaker.

    - Talent adding TEMED to the phantom solution. TEXT: TEMED – Tetramethylethylenediamine

  - Quickly pour the solution into the mold while being careful not to introduce air bubbles into the solution. The solution should polymerize within 10 minutes [1]. Remove the phantom by running the flat end of a lab spatula around the edge of the mold and inverting the mold [2].

    - Talent pouring the solution into the mold.

    - Talent removing the phantom using the flat end of the lab spatula.

- Perfluorocarbon Nanodroplet Imaging

  - Turn on and warm up the pulsed laser system for approximately 20 minutes following manufacturer instructions [1]. Ensure that the fiber optical bundle is properly connected to the laser output and the two legs are properly placed within the fiber bundle holder [2].

    - Talent turning on the pulsed laser system.

    - Talent ensuring that the fiber optical bundle is properly connected to the laser output and the two legs are properly placed.

  - Turn on the ultrasound imaging system [1], connect the array imaging transducer to the system [2] and fix the transducer within the holder to align its imaging plane with laser cross-section [3].

    - Talent turning on the ultrasound imaging system.

    - Talent connecting array imaging transducer to the system.

    - Talent fixing the transducer to align its imaging plane with laser cross-section.

  - Set the pulse repetition frequency of the laser system to 10 hertz [1] and place a powermeter at the end of the fiber bundle to measure energy [2]. Tune the q-switch delay until the estimated fluence is 70 millijoule per square centimeter [3].

    - Talent setting the pulse repetition frequency of the laser system.

    - Talent placing the powermeter at the end of the fiber bundle.

    - Talent tuning the q-switch delay.

  - Backfill one of the channels in the polyacrylamide phantom with the ultrasound gel and PFCnD mixture using a 1-milliliter plastic slip tip syringe [1]. Liberally cover the top of the channel with ultrasound gel [2] and remove any bubbles with a 1-milliliter plastic slip tip syringe [3]. Videographer: This step is important!

    - Talent backfilling the channel with ultrasound gel and PFCnD mixture.

    - Talent covering the top of the channel with the ultrasound gel.

    - Talent removing the bubbles with the plastic slip tip syringe.

  - Finally, place the polyacrylamide phantom underneath the transducer and fiber bundle [1].

    - Talent placing the polyacrylamide phantom underneath the transducer and fiber bundle.

# Results

- Results: Acoustic Modulation of Optically Vaporized Perfluorocarbon Nanodroplets

  - Successful formulation and centrifugal separation of the PFCnDs yield droplets around the size of 200-300 nanometers in diameter [1]. The size of the droplets increases over time due to coalescing and diffusion in a process known as Ostwald ripening [2].

    - LAB MEDIA: Figure 1A.

    - LAB MEDIA: Figure 1B.

  - The contrast from the inclusion for the N-pulse was found to be approximately 3.2 times greater, that is a 220 percent improvement, than the P-pulse [1].

    - LAB MEDIA: Figure 5.

  - The hyperechoic area was calculated for each frame and normalized by the hyperechoic area of the first frame and then fitted to an exponential decay model [1]. The characteristic decay time of normalized hyperechoic area was up to 3.5 times longer in N-pulse imaging [2] compared to P-pulse [3].

    - LAB MEDIA: Figure 6a.

    - LAB MEDIA: Figure 6a. Video editor: Emphasize the blue line in the graph.

    - LAB MEDIA: Figure 6a. Video editor: Emphasize the red line in the graph.

  - The B-mode differential image frames in time for each N-pulse and P-pulse imaging were also recorded [1].

    - LAB MEDIA: Figure 6b.

# Conclusion

- Conclusion Interview Statements

  - Andrew Zhao: One of the most important things is to expel the lipids at the bottom of the flask to ensure they get properly incorporated into the lipid cake.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 2.2.1.