# Submission ID #:  62816

# Scriptwriter Name: Gaurav Vaidya

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19158928

# Title: Rapid Characterization of Genetic Parts with Cell-free Systems

# Authors and Affiliations:

John B. McManus1,2, Casey B. Bernhards3,4, Caitlin E. Sharpes3,4, David C. Garcia2,4, Stephanie D. Cole4, Richard M. Murray2, Peter A. Emanuel4, Matthew W. Lux4

1US Army Combat Capabilities Development Command Army Research Laboratory, 2800 Powder Mill Rd, Adelphi, MD, USA

2California Institute of Technology, Biology and Biological Engineering, 1200 East California Blvd, Pasadena, CA, USA

3Excet, Inc., 6225 Brandon Avenue #360, Springfield, VA, USA

4US Army Combat Capabilities Development Command Chemical Biological Center, 8198 Blackhawk Rd, APG, MD, USA

☐   All author names and affiliations are correct.

# Corresponding Authors:

Matthew W. Lux	(matthew.w.lux.civ@mail.mil)

# Email Addresses for All Authors:

jbm209@gmail.com

casey.b.bernhards.ctr@mail.mil

caitlin.e.sharpes.ctr@mail.mil

stephanie.d.cole9.civ@mail.mil

garcia.david@caltech.edu

murray@cds.caltech.edu

peter.a.emanuel.civ@mail.mil

matthew.w.lux.civ@mail.mil

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  12

Number of Shots:  33

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Linear Template Preparation

  - Begin by preparing the master mix according to the instructions in the manuscript [1] and store it on ice [2]. Aliquot 30 or 40 microliters of the master mix into the determined number of PCR tubes [3] and add 10 microliters of each 5 micromolar variable primers to appropriately labeled PCR tubes [4].

    - WIDE: Talent preparing the master mix.

    - Talent storing the master mix on ice.

    - Talent aliquoting the master mix into PCR tubes.

    - Talent adding the primers to the labeled PCR tubes.

  - Place the PCR tubes into the thermocycler [1] and run the PCR program as mentioned in the text manuscript [2]. Then, hold the reaction at 4 degrees Celsius [3].

    - Talent placing the PCR tubes in the thermocycler.

    - Talent running the PCR program.

    - A shot of the thermocycler at 4 degrees Celsius.

  - If the original template is plasmid DNA, add 1 microliter of DpnI restriction enzyme to digest the original template [1] and incubate the reaction at 37 degrees Celsius for 1 hour [2]. AUTHORS: Since this step is labeled ‘Optional,’ will it be performed on the day of the shoot?

    - Talent adding DpnI to the original template.

    - Talent placing the tube for incubation.

  - Analyze 5 microliters of each PCR product by separating them using a 1 percent agarose gel at 180 volts for 20 minutes [1]. Check for the correct band size, which will vary with the chosen core sequence and the length of the parts added [2].

    - Talent loading the samples into the gel.

    - A shot of the gel apparatus during the electrophoretic separation.

  - Purify the linear template using a commercial PCR purification kit or the preferred PCR cleanup method [1]. If multiple bands were present by gel electrophoresis analysis, either optimize the PCR conditions or purify the correct molecular weight bands using a commercial gel extraction kit as per the manufacturer’s recommendation [2].

    - Talent purifying the linear template using the purification kit/PCR cleanup method.

    - Talent purifying the bands using the commercial gel extraction kit.

  - Quantify each DNA template using a spectrophotometer [1], assessing its quality by checking that the 260 to 280-nanometer ratio is approximately 1.8 [2].

    - Talent quantifying the DNA using a spectrophotometer.

    - A shot of the spectrophotometer displaying the 260nm/280nm ratio for the template.

- Cell-free Protein Synthesis

  - Thaw all the components on ice [1] and prepare a master mix by mixing all the components thoroughly by pipette as mentioned in the manuscript [2]. Pay careful attention to avoid precipitation, especially for the amino acid mixture. Keep the master mix on ice [3].

    - Talent thawing the components on ice.

    - Talent preparing the master mix.

    - Talent keeping the master mix on ice.

  - Chill a 384-well plate on ice [1] and distribute the master mix in 9 microliter aliquots into each well using an electronic repeater pipette [2]. Calculate the amount of repressor protein and other optional components required for all the cell-free protein synthesis or CFPS reactions [3].

    - Talent placing the 384-well plate on ice.

    - Talent distributing the master mix into the wells.

    - Talent calculating the amount of components required.

  - Thaw the repressor protein on ice  [1] and distribute it into an acoustic liquid handling source plate, ensuring that the appropriate amount of dead volume required for the type of source plate used is included [2]. Distribute the repressor protein in 1 microliter volumes into the appropriate wells via the liquid handler [3].

    - Talent thawing the repressor protein.

    - Talent distributing the repressor protein into an acoustic liquid handling source plate.

    - Talent distributing the repressor protein into the wells via the liquid handler.

  - Include a serial dilution of the purified reporter or an appropriate chemical standard on the plate to compare results with other studies and other labs [1]. Choose a range of concentrations appropriate for the reporter used and the expected expression range of the experiments [2].

    - Talent serially diluting the purified reporter.

    - Talent adding the serial dilutions onto the plate.

  - Pre-warm the plate reader to 30 degrees Celsius [1]. Set the plate reader to read at settings appropriate for the reporter used in the core sequence without the shaking steps [2]. Run a test reaction first to set the appropriate gain or sensitivity setting to capture the change in fluorescence without signal overflow [3].

    - Talent pre-warming the plate reader.

    - Talent entering the appropriate settings into the plate reader.

    - Talent running the test reaction.

  - Seal the 384-well plate with an impermeable plastic sealable lid to prevent evaporation [1]. If possible, on the instrument, set a 1-degree Celsius vertical temperature gradient to limit condensation on the seal [2]. Place the 384-well plate on the plate holder [3] and begin reading [4].

    - Talent sealing the 384-well plate.

    - Talent setting the -degree Celsius vertical temperature gradient.

    - Talent placing the 384-well plate on the plate holder.

    - Talent starting the plate reading.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 106. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Rapid Characterization of Genetic Parts

  - Fifteen linear templates, varying only in the distance of the T7 promoter relative to the tetO sequence, were prepared by PCR-amplifying the superfolder Green Fluorescent Protein reporter with primers designed to add each promoter variant [1].

# AUTHORS: How do you pronounce tetO?

    - LAB MEDIA: Figure 2.

  - Analysis of data from a total of 540 reactions for the entire set of T7-tetO combinations showed that the T7 RNAP downregulates T7-driven expression equally up through 13 bp downstream from the start of the T7 transcript [1].

    - LAB MEDIA: Figure 3.

  - More consistent dispensing across the series of eight destination wells using the acoustic liquid handler was observed when the 5-microliter transfer was divided into separate 1 microliter dispenses [1].

    - LAB MEDIA: Figure 4.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.