Amit Krishnan, Ph.D.					Aug. 3, 2021

Review Editor

JoVE

​amit.krishnan@jove.com

617.674.1888

Dr. Krishnan:

Thank you for your recent response to our manuscript submission. We considered the reviewers’ comments carefully and have made adjustments to the manuscript to accommodate their suggestions and criticisms. Our detailed responses to each reviewer are below.

______________________________________________________________________

Reviewers' comments: (Authors’ replies are in blue text.)

Reviewer #1:
Havnar and co-workers describe a method for preparation of synthetic antigens controls for immunohistochemistry. The method description appears to be in sufficient detail to permit reproduction by others.

Concerns
1. My main concern is that the authors do not properly discuss the roles of this method in relation to the specificity of antigen detection in biological samples. In particular, the limitations are hardly discussed at all: (A) Binding of the antibody to the antigen control is no guaranty that the observed labeling of the biological specimen is only due to the antigen of interest. In fact, it might not be due to that at all!

We thank Reviewer 1 for this comment, and we agree that binding of an antibody to a positive control sample does not guarantee that only antigen-specific binding will occur with the same antibody in all tissue sections. We note that this caveat applies equally to any type of positive control sample and is not a limitation specific to the synthetic antigen controls we describe in this manuscript. Appropriate use of negative and positive tissue control samples is required to interpret any positive tissue signal, has been discussed in detail by Stephen Hewitt, Emina Torlakovic and others, and the issue is clearly highlighted in our Introduction (references 2-4 in our manuscript). While we do not claim in the original manuscript that the synthetic controls eliminate the risk of non-specific tissue signal, we have added a sentence clarifying this limitation, as follows:

Lines 462 ff in the Discussion have been edited to:

“We emphasize that the synthetic controls described here may be useful to optimize and standardize some aspects of IHC assay performance, but they do not obviate the need for appropriate use of other control samples. For instance, potential non-specific staining in a target tissue can be evaluated only by the parallel use of a negative tissue control sample... Accordingly, and as has been discussed elsewhere in more detail2-4, investigators should make thoughtful parallel use of cell and tissue standards to precisely characterize the performance of the IHC system.”]

(B) The availability of the epitope in a biological sample might be very different from the availability in the BSA-gels described in the present manuscript. The availability will be affected by tissue structure, by crosslinks due to fixation and changes to the tissue (e.g. proteolysis) prior to fixation. These point should also be discussed.

We thank Reviewer 1 for this comment, and we agree with the statement. We agree that the BSA gels do not fully reproduce the complexity of tissue composition, and do not mimic the variables inherent in tissue collection and processing. This is intentional, and it creates both strengths and limitations. The extent of concordance between IHC staining of BSA-antigen gel standards and tissues is still incompletely understood (though we have not yet found significant discordance); it will become clearer with time as more data become available. We believe the text, modified as noted above (line 459 ff) and below now makes this point more clearly:

“The BSA-antigen controls described here intentionally eliminate the spatial and biological context of proteins in cells and tissues. For this reason, the correlation between IHC signal intensity and antigen concentration found in these controls may imperfectly reproduce that seen in tissues…. In addition, BSA-antigen gel controls do not reproduce tissue-specific pre-analytic variables, including warm and cold ischemia time, proteolysis, fixation and processing conditions, that may affect IHC performance. Accordingly, and as has been discussed elsewhere in more detail2-4, investigators should make thoughtful parallel use of cell or tissue standards to precisely characterize the performance of the IHC system.”

2. As the authors point out, the idea of embedding antigens at different concentrations to use as controls is not new. The authors, however, should say a bit more about this. Long time back (in the 1990s, I think), OP Ottersen and co-works and also Peter Streit and co-workers made similar antigen controls. But in contrast to the method in present manuscript, they added antigens to tissue homogenates in order to try to mimic the biological samples as much as they could. Thus, the authors should broaden their discussion supported by a few more citations.

We thank Reviewer 1 for this comment, as we were not familiar with these authors’ work. We find two references that are consistent with this comment (Matute and Streit, 1986; Ottersen 1987). These describe the preparation and use of immune-electron microscopy positive controls in the form of amino acids conjugated to dilute BSA solutions and brain homogenates, respectively. We have added mention of these to the Introduction (Line 85 ff), and revised the References list accordingly:

“Later investigators prepared glutaraldehyde conjugates of specific amino acids to dilute solutions of BSA or brain homogenates for use as positive controls in immune-electron microscopy studies12,13.”

[Reviewer 1 continues...]
In conclusion, the method description in the present paper is nice, but as the paper is written now, it is misleading and will not contribute to the badly needed improved immunohistochemistry culture.

We appreciate that Reviewer 1 believes our method is “nice”, but emphatically disagree with two aspects of the concluding statement.

Reviewer 1 states that our manuscript is misleading. From the more precise comments made previously, we infer that Reviewer 1 believes we are minimizing limitation(s) of the method, chiefly that the BSA-antigen gels do not serve as negative tissue controls, and do not fully reproduce the molecular and spatial complexity of tissue samples. As detailed above, the original manuscript does describe both limitations, and our revised text (details above) discusses these points more clearly. We intentionally do not revisit in detail those topics related to positive and negative tissue control samples that are discussed fully in previously published work cited in the text.

Reviewer 1 further states (paraphrasing) that the method we describe here does not contribute to improving the practice of immunohistochemistry. In contrast, we believe the method provides unique capabilities that have been long-sought but not previously implemented. One application for these materials is as test samples to develop and optimize IHC staining procedures for new antibodies. This is a particularly valuable attribute when the target antigen has an unknown tissue distribution and/or is expressed at low levels in target tissues; in that context, tissue positive controls are not available. Multiplex immunohistochemistry is increasingly used in research and in clinical trials, and our method provides the opportunity to create well-controlled test samples to optimize these complex protocols. In a second application, relevant even for well-characterized antibodies used in established IHC procedures, the BSA-antigen gels provide reproducible, uniform target samples that can be used to monitor the performance of an IHC assay over time, or at different laboratories. These applications are valuable even if (and there is not yet enough data to know) the synthetic antigen gels do not fully reproduce the staining behavior of all target tissues.

The synthetic control method adds significant capabilities to the existing suite of control tissue and cell line samples that can be used to bring IHC reactions closer to reproducible, well-controlled laboratory assays. Our previously published paper in the Journal of Histochemistry and Cytochemistry discussed these capabilities and limitations in more detail than we do in the current manuscript. On accepting that manuscript, Stephen Hewitt, the editor in chief wrote, “I will note the reviewers view the manuscript as a substantial step forward that many in the community have envisioned and attempted, but failed.”  These synthetic controls have been of substantial value in our own immunohistochemistry laboratory. Our goal in this manuscript is to explain as clearly as possible to a naive user how to produce and use these materials, which we expect can also be of value to many other investigators.

Reviewer #2:
Manuscript Summary:
The manuscript entitled "Synthetic Antigen Controls for Immunohistochemistry" is development of a method for reproducible and quantitative immunohistochemistry by including Paraffin-embedded gels campsite of BSA-peptide antigen as a positive control.

Minor Concerns:
The authors should correct the title of manuscript "Synthetic Antigen Controls for Immunocytochemistry". Because they used the cell lines rather than tissue samples for the experiment.

We appreciate the suggestion from Reviewer 2 to change the title, but we believe the current title is appropriate. We intend the proposed title to mean “Synthetic Antigen Controls [for use] in Immunohistochemistry”, where “immunohistochemistry” is understood to mean the application and detection of antibody reagents to tissue samples intended for microscopic analysis. In this context, it is unimportant that some samples in the manuscript are paraffin-embedded blocks of cell lines. These were included because they are well-characterized with respect to Her2 antigen expression, and are widely used in breast cancer research. We anticipate that changing the title to say “Immunocytochemistry”, as Reviewer 2 suggests, might create a different misunderstanding, that our method is relevant to the analysis only of cell lines, but not tissues. Accordingly, we respectfully propose to keep the title as originally suggested.

Reviewer #3:
Manuscript Summary:
The authors provide a well-considered explanation of the need for good controls when performing IHC staining. Additionally, they consider the objective limitations of the current methods used and outline the need for an easy-to-adopt approach that employs widely available reagents. The stated goals of the authors are to provide a method that enables highly reproducible results, that is cost effective and enables objective and quantifiable evaluation of IHC results across experiments and different labs.

The protocol is easy to follow and very clear. Authors incorporate helpful notes/tips and calculation tables throughout to facilitate quick problem solving. Representative Results section includes additional points and expected observations throughout the protocol.

Figures are helpful and explanatory. Figure 3 provides particularly useful examples of artifacts.

Discussion is sufficient to place the newly developed protocol in context and to explain its overall utility.

Major Concerns:
None

Minor Concerns:
Line 26 - ICD should be defined first before writing as an abbreviation
Line 53 - typo ICH should be IHC
Line 233 - typo "processing13" should be corrected
Step 4.1.2 - the wording of 'no less than 10 volumes (15ml per gel sample)' is confusing. Consider re-wording.
Step 4.2 - can this be done manually, if so, it would be useful for authors to provide a note with direction.
Line 368-369 - bolding is extended too far into the legend.

We thank Reviewer 3 for the careful review of our manuscript. The request changes have been made in the text.

__________________________________________________________________________

In addition, we carefully reviewed the editorial comments 1-18 in your note and have made many adjustments and corrections accordingly. Particular details are listed below:

2. All authors’ email addresses are now provided on the title page.

3. All personal pronouns were removed from the text.

4. All protocol statements are in the imperative tense.

5., 6. All SI and time units are corrected to your standard form (e.g., mL, min).

8. All protocol steps other than “Notes” are appropriately numbered.

9., 10. The dilution of the 4B5 antibody used in this manuscript is specified.

12. As requested, the following are detailed in the Discussion: critical steps (lines 469-474), possible modifications (lines 476-483), protocol limitations (485-504), and future applications (506-510).

13. References are in your preferred format.

15. A scale bar is now included in panel A of Figure 4, and in all other Figure panels. We note that some figure panels (e.g., Fig. 3C) include more than one tissue microarray core. In these panels, the same scale bar applies to all samples illustrated in the panel.

16. Pixel intensity units are now described in the text of Figure 4, panel B.

17. SI units in Tables 2 and 3 are now consistent with your standards.

18. The Table of Materials has been sorted in alphabetical order.

We respectfully submit the revised manuscript with the hope that these corrections and revisions fully address the points made by the reviewers and meet the goals of your journal.

Please feel free to contact me if you require any further changes.

Regards,

Frank Peale, M.D., Ph.D.

Senior Principal Scientist

Research Pathology

Genentech, Inc.