# Submission ID #: 62866

# Scriptwriter Name: Nilesh Kolhe

# Supervisor Name: Shehnaz Lokhandwala

# Project Page Link: https://www.jove.com/account/file-uploader?src=19174178

Title: From Cells to Cell-Free Protein Synthesis Within 24 Hours using Cell-Free Autoinduction Workflow

Authors and Affiliations: Philip E.J. Smith1,2, Taylor Slouka1,2, Javin P. Oza1,2

1Department of Chemistry and Biochemistry, California Polytechnic State University

2Center for Application in Biotechnology, California Polytechnic State University

☐   All author names and affiliations are correct.

# Corresponding Authors:

Javin P. Oza 		joza@calpoly.edu

# Email Addresses for All Authors:

joza@calpoly.edu

psmith31@calpoly.edu

tslouka@calpoly.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  18

Number of Shots:  41

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Media Growth

  - Begin by preparing 960 milliliters of cell-free autoinduction media [1-TXT], then sterilize the media in a 2.5-liter baffled flask by autoclaving for 30 minutes at 121 degrees Celsius [2].

    - WIDE: Establishing shot of talent transferring the prepared medium in a 2.5L baffled flask. TEXT: See Table 1 for media preparation details

    - Talent placing the medium in an autoclave.

  - Next, after preparing 40 milliliters of the sugar solution, filter-sterilize it into a separate autoclaved glass container [1-TXT].

    - Talent filter sterilizing the sugar solution. TEXT: See Table 1 for sugar solution preparation details

  - After autoclaving, when the culture media has cooled down to below 40 degrees Celsius [1], add the filter-sterilized sugar solution directly to the media [2].

    - Talent touching to the base/side of the flask with palm.

    - Talent adding sugar solution to the CFAI medium.

  - Next, inoculate the media by swiping a loopful of colonies from a previously streaked fresh E. coli BL21 (B-L-twenty-one) Star plate [1] and inserting the loop directly into the media [2].

    - ECU: Talent swiping a loopful of colonies from the plate.

    - Talent inserting the loop into the medium.

  - Swirl the loop into the media without touching the sides of the container [1], then place the inoculated media overnight in a 30-degree Celsius incubator with shaking at 200 rpm [2].

    - Talent swirling the loop into the medium.

    - Talent placing the flask in a shaking incubator.

- Cell Harvest

  - The next day, harvest the cells by transferring 1 liter of the media into a 1-liter centrifuge bottle [1] and centrifuging at 5,000 x g between 4 to 10 degrees Celsius for 10 minutes [2]. After discarding the supernatant [3], use a sterile spatula to transfer the pellet to a pre-chilled and previously weighed 50-milliliter conical tube [4].

    - WIDE: Talent transferring the grown culture medium to centrifuge bottle.

    - Talent placing the bottle in the centrifuge.

    - Talent discarding the supernatant.

    - Talent transferring the pellet to a 50-mL tube.

  - Next, wash the pellet once with 30 to 40 milliliters of cold S30 (S-thirty) buffer [1-TXT] by resuspending the pellet via vortexing in 30-second bursts [2] with rest periods on ice [3].

    - Talent adding 30-40 mL S30 buffer. TEXT: See Table 2 for S30 buffer preparation details

    - Talent vortexing the tube.

    - Shot of tube on ice.

  - After the pellet is completely resuspended, centrifuge the cell resuspension [1-TXT], discard the supernatant [2], and using a clean tissue, wipe any excess supernatant from the inside walls of the 50-milliliter tube without touching the pellet [3].

    - Talent placing the tube in the centrifuge. TEXT: 10 min, 5,000 x g between 4-10 °C

    - Talent discarding the supernatant.

    - Talent wiping the inside walls of the 50-mL tube.

  - Then, weigh the pellet [1] before flash freezing it in liquid nitrogen [2] and store it at minus 80 degrees Celsius until further use [3].

    - Talent weighing the pellet.

    - Talent freezing the pellet in liquid nitrogen.

    - Talent storing the pellet at –80 °C.

- Extract Preparation

  - To prepare the cell extract, add 1 milliliter of S30 buffer per gram of the frozen cell pellet [1] and allow the pellet to thaw on ice for 30 to 60 minutes [2]. Then, resuspend the thawed pellet via vortexing in bursts of 30 seconds with rest periods on ice [3] until no visible cell clumps remain [4].

    - Talent adding buffer to the frozen pellet.

    - Talent placing the tube on ice.

    - Talent vortexing the tube.

    - ECU: Shot of cell suspension with no visible clumps

  - For cell lysis, transfer 1.4-milliliter aliquots of the cell resuspension into 1.5-milliliter microfuge tubes [1].

    - Talent transferring the cell suspension to 1.5-mL microfuge tubes.

  - Then, sonicate the cell suspension in each tube with a frequency of 20 kilohertz and 50% amplitude for three bursts of 45 seconds [1] with 59 seconds of rest per cycle in an ice bath [2]. Invert the tube between cycles [3] and after the last sonication cycle, immediately add 4.5 microliters of 1 molar dithiothreitol [4].

    - Talent sonicating the cell suspension in the 1.5-mL tube.

    - Talent placing the tube on an ice bath.

    - Talent inverting the tube.

    - Talent adding DTT to the tube.

  - After sonicating the cell suspension in all tubes, centrifuge the tubes [1-TXT] and collect the supernatant in 600-microliter aliquots into fresh 1.5-milliliter microfuge tubes [2]. Flash freeze and store the aliquots at minus 80 degrees Celsius until further use [3].

    - Talent placing the tubes in the centrifuge. TEXT: 10 min, 18,000 x g and 4 °C

    - Talent collecting the supernatant in 1.5-mL microfuge tubes.

    - Talent flash-freezing the aliquots.

- Cell-free Protein Synthesis and Quantification of the Reporter Protein, Super Folder Green Fluorescent Protein (sfGFP)

  - To perform 15 microliters of cell-free protein synthesis reaction in 1.5-milliliter microfuge tubes in quadruplicate, thaw one aliquot of the cell extract [1].

    - WIDE: Talent leaving the cell extract aliquot on ice for thawing.

  - After preparing each 15-microliter reaction mixture [1-TXT], allow the reaction to run for at least 4 hours at 37 degrees Celsius [2].

    - Talent preparing the reaction mixture TEXT: See text for reaction preparation details

    - Shot of tubes incubating at 37 °C.

  - To quantify the reporter protein, combine 2 microliters of each cell-free protein synthesis reaction product [1] with 48 microliters of 50 millimolar HEPES (heeps) buffer at pH 7.2 in a black polystyrene 96-well plate [2-TXT].

    - Talent adding cell-free protein synthesis reaction product to the 96-well plate.

    - Talent adding HEPES buffer to the plate. TEXT: 3-4 replicates per reaction tube are recommended.

  - Quantify the fluorescence intensity of the super folder green fluorescent protein, or sfGFP (s-f-G-F-P), using an excitation wavelength of 485 and emission wavelength of 528 nanometers [1].

Authors: Will you be measuring the fluorescence intensity using a fluorometer? Please confirm.

    - Talent placing the 96-well plate in a fluorometer. Videographer: If possible, include a shot of the fluorometer screen showing the excitation and emission wavelengths

  - Then, convert the relative fluorescence units to the volumetric yield of sfGFP by creating a standard curve using purified pJL1 (p-J-L-one)-sfGFP plasmid [1].

    - Standard curve for pJL1-sfGFP being plotted with the monitor visible in the frame.

Authors: Would you like to include a screen capture video for the last two steps (5.4 and 5.5)? If yes, please record and upload the screen-captured video files to your project page.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 87. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Comparison between Cell Extracts obtained from Cell-free Autoinduction Media Grown to Optical Densities of 2.5 and 10

  - Shown here are cell-free autoinduction media pellets after cell harvest at different optical densities measured at 600 nanometers [1]. The media grown to an optical density of 10 produced a higher amount of cell pellet and overall extract [2] than the media grown to an optical density of 2.5 [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: Please focus on the right tube

    - LAB MEDIA: Figure 2 Video Editor: Please focus on the left tube

  - Further analysis of total protein concentration demonstrated no significant difference in overall protein [1] between both extracts [2].

    - LAB MEDIA: Table 5

    - LAB MEDIA: Table 5 Video Editor: Please emphasize total protein concentration at CFAI 2.5 OD (30895) and CFAI 10 OD (27905)

  - Even though the media was grown to different optical density levels [1], both extracts demonstrated similar results in cell-free reactions expressing sfGFP [2].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A Video Editor: Please emphasize the CFAI 2.5 OD and CFAI 10 OD bars

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.