## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Equipment:
Bioanalyzer 2100 | Agilent | G29398A | Optional but recommended
Centrifuge | Eppendorf | -- | Any centrifuge for spinning conicals and microcentrifuge tubes (e.g. Models 5810R/5424R)
Electrophoresis | BioRad Laboratories | 1645070
Gel Imaging System | BioRad Laboratories |  | ChemiDoc models
Incubator | ThermoFisher Scientific | -- | Any CO2 Incubator (e.g. Thermo Forma model 3110)
Magnetic Rack | New England BioLabs | S15095 | 12-tube rack
MinION | Oxford Nanopore Technologies | --
Nanodrop | ThermoFisher Scientific | ND-ONE-W
NextSeq 500 | Illumina | SY-415-1002 | Other Illumina models are acceptable
Plate Reader | BioTek | -- | Synergy H1
Qubit fluorometer | ThermoFisher Scientific | Q33238
Rotator | Benchmark Scientific | H2024
Thermocycler | ThermoFisher Scientific | -- | Any thermocycler for PCR reactions (e.g. ProFlex PCR system)
Materials:
10X Phosphate Buffered Saline (PBS) | Fisher Scientific | BP3991
10X TBE buffer | -- | -- | 1M Tris,1M Boric Acid,0.2M EDTA (pH 8.0)
1429R primer | Sigma Aldrich (Custom oligos) | -- | GGTTACCTTGTTACGACTT
1kb Ladder | VWR | 101228-494
1M Tris-Cl (pH 7.5) | ThermoFisher Scientific | 15567027
6x Loading dye | Fisher Scientific | NC0783588
8F primer | Sigma Aldrich (Custom oligos) | -- | AGAGTTTGATCCTGGCTCAG
Agar | Fisher Scientific | BP1423-2
Agarose | BioRad Laboratories | 63001
AMPure XP Beads | Beckman Coulter | A63880
Anaerobe Pouch System - GasPak EZ | BD Diagnostic Systems | B260683
Boric Acid | Fisher Scientific | A73-500
Brain Heart Infusion Broth | BD Diagnostic Systems | 212304
CDC Anaerobe 5% Sheep Blood Agar | BD Diagnostic Systems | L007357
CHROMagar Orientation | BD Diagnostic Systems | PA-257481.04
DNeasy Blood & Tissue | QIAGEN | 69504
DreamTaq Master Mix | ThermoFisher Scientific | K1081
Dry Anaerobic Indicator Strips | BD Diagnostic Systems | 271051
EDTA | Fisher Scientific | S311-500
Ethanol 200 Proof | Sigma Aldrich | E7023 | For molecular biology
Ethidium Bromide | ThermoFisher Scientific | BP130210
Flow cell priming kit | Oxford Nanopore Technologies | EXP-FLP002
Flow cell wash kit | Oxford Nanopore Technologies | EXP-WSH003
Gel Extraction Miniprep Kit | BioBasic | BS654
Ligation sequencing kit | Oxford Nanopore Technologies | SQK-LSK109
Lysozyme | Research Products International Corp | L381005.05
Mutanolysin | Sigma Aldrich | M9901-5KU
Native barcoding expansion 1-12 | Oxford Nanopore Technologies | EXP-NBD104
NEB Blunt/TA Ligase Master Mix | New England BioLabs | M0367L
NEBNext FFPE DNA Repair Mix | New England BioLabs | M6630L
NEBNext quick ligation buffer | New England BioLabs | B6058S
NEBNext Ultra II End repair / dA-tailing module | New England BioLabs | E7546L
Nextera DNA CD Indexes | Illumina | 20018708
Nextera DNA Flex Library Prep - (M) Tagmentation | Illumina | 20018705
Nuclease-free water | Sigma Aldrich | W4502
Qubit 1X dsDNA HS Assay Kit | ThermoFisher Scientific | Q33230
Qubit Assay Tubes | ThermoFisher Scientific | Q32856
Quick T4 DNA Ligase | New England BioLabs | E6056L
R9 Flow cell | Oxford Nanopore Technologies | FLO-MIN106D
RNase A | ThermoFisher Scientific | EN0531
Sheep Blood | Hemostat Laboratories | DS13250
TE buffer | -- | -- | 10mM Tris, 1mM EDTA (pH 8.0)
Triton X-100 | Sigma Aldrich | T8787
Tryptic Soy Broth | BD Diagnostic Systems | 211825
Software & Bioinformatic Tools:
Bandage | -- | -- | https://rrwick.github.io/Bandage/
Center for Genomic Epidemiology | -- | -- | http://www.genomicepidemiology.org/
CLC Genomics Workbench 12 | QIAGEN | --
CRISPRcasFinder | -- | -- | https://crisprcas.i2bc.paris-saclay.fr/
FastQC | -- | -- | https://www.bioinformatics.babraham.ac.uk/projects/fastqc/
Geneious Prime | Geneious | --
gVolante (BUSCO) | -- | -- | https://gvolante.riken.jp/
Kbase Prokka Wrapper | -- | -- | https://kbase.us/applist/apps/ProkkaAnnotation/annotate_contigs/release
Minimap2 | -- | -- | https://github.com/lh3/minimap2
MinKNOW | Oxford Nanopore Technologies | --
NanoFilt | -- | -- | https://github.com/wdecoster/nanofilt
NanoStat | -- | -- | https://github.com/wdecoster/nanostat
PHASTER | -- | -- | https://phaster.ca/
Prokka | -- | -- | https://github.com/tseemann/prokka
QUAST | -- | -- | http://quast.sourceforge.net/quast
Trim Galore | -- | -- | https://www.bioinformatics.babraham.ac.uk/projects/trim_galore/
Trimmomatic | -- | -- | http://www.usadellab.org/cms/?page=trimmomatic
Unicycler | -- | -- | https://github.com/rrwick/Unicycler#necessary-read-length