## Sheet1
Plasma Cleaner Settings
Harrick Plasma Cleaner PDG-3XG : | Radio Frequency setiing: "HI", 30 s; N2 plasma
Plunger Settings
TFS Vitrobot Mk IV: | 100% humidity; blotforce = 8; blottime = 10 s; wait time 0 s; (this should work for most suspension and adherent cells)
FIB GIS Positions and Timings
Quanta 3D FEG: | Tilt = 0, Rotation = -180, Z position = 13.5, Temperature setpoint =26.15° , Time = 8 s
TFS Scios: | Tilt = 0, Rotation = -180, Z position = 9.8, Temperature setpoint =28° C, Time = 7 s
TFS Aquilos 1: | Software predefined position, Temperature setpoint = 28° , Time = 7 s
TFS Aquilos 2: | Software predefined position, Temperature setpoint = 28°, Time = 7 s
FIB Sputter Coater Settings
Quorum System: | In Quorum prep chamber: 10 mA, 40 s
TFS Scios: | 10 W, 500 V, 250 mA, 0.2 mbar, 15 s
TFS Aquilos 1: | 1kV, 10 mA, 10 Pa, 15 s
TFS Aquilos 2: | 1kV, 10 mA, 10 Pa, 15 s
Tomogram Acquisition
Titan Krios Gi2 | K2 camera, Gatan Bioquantum energy filter
20 eV slit; dose symmetric tilt scheme (Hagen) with 2° steps; start at +10° (lamella pre-tilt!) to +70°and -50°
Titan Krios Gi4 | Falcon 4; Selectris X energy filter
10 eV slit; dose symmetric tilt scheme (Hagen) with 2° steps; start at +10° (lamella pre-tilt!) to +70° and -50°
FLM Acquisition
Corrsight (Confocal Mode) | Objective: Zeiss EC Plan-Neofluar 40×/0.9 NA Pol; Stack acquisition parameters: x-y pixel size = 161.25 nm, z step size = 300 nm.
Leica SP8 Cryo-Confocal | Objective: Leica HCX PL APO 50x / 0.90 CLEM; Stack acquisition parameters: x-y pixel size = 84 nm, z step size = 300 nm.