- 62902_screenshot_ 1 (3.1.2.)

  - Open Wave software 00:00-00:08

  - Double click on a blank template then click on the “Protocol” tab.  00:09-00:15

  - Ensure that the Equilibrate option is checked then set the values of the measurement cycles. Mix for 30 seconds, wait for 30 seconds, and measure for 2 minutes 00:16-01:55

- 62902_screenshot_ 2 (3.2.1.)

  - Click on “Group Definition” tab and add four injection strategies 00:00-00:05

  - Name each injection strategy according to the substrates planned to be loaded to port A or their abbreviations 00:06-01:12

- 62902_screenshot_ 3 (3.2.2.)

  - Assign oligomycin to port B 00:00-00:06

  - Assign FCCP to port C 00:07-00:11

  - Assign rotenone-antimycin A to port D 00:13-00:24

- 62902_screenshot_ 4 (3.3.1.)

  - Add 8 groups and set the details of each group 00:00-00:30

  - Click on “plate map” tab and assign each group to the corresponding wells 00:31-01:09

  - Save the protocol as a ready to use template 01:10-01:32

- 62902_screenshot_ 5 (3.6.1.)

  - Click on “run assay” tab then click on start run 00:00-00:13