JoVE62909

Tissue preparation techniques for contrast-enhanced micro computed tomography imaging of large mammalian cardiac models with chronic disease

Response to reviewers

Reviewer #1:
Manuscript Summary:
The authors have proposed the protocol for the pre-processing and micro CT imaging of the hearts of the larger mammals, the protocol is demonstrated on the model of pigs and sheep with induced myocardial infarction or atrial fibrillation. The protocol is based on the combination of structure stabilization, air drying and contrast enhancing of the sample. The focus of this work is also on describing the pathological changes in heart induces by myocardial infarction and atrial fibrillation in the obtained micro CT data.

Major Concerns:
- confusing which samples were prepared in which manner should be clearly described in results and in the figure description

A new Table 1 has been incorporated in to the revised manuscript to clarify tissue treatments of each sample, as well as basic sample properties.

139 1.3. Ethanol - PMA: Prepare one litre of absolute ethanol and add the phosphomolybdic
acid hydrate to obtain a solution at 1% of concentration. Conserve this solution at room
temperature.

-reasons why authors deciced to use PMA? the commonly and very succesfully used staining agents are PTA and iodine
https://analyticalsciencejournals.onlinelibrary.wiley.com/doi/full/10.1002/jemt.23225

-iodine penetrates much quicker than the PTA/PMA
https://www.nature.com/articles/s41598-017-16354-w

-PMA is not suitable for carotid
https://www.sciencedirect.com/science/article/pii/S2666350320300183

The following text was added to the manuscript discussion elaborating on the choice of contrast agent:

“Numerous contrast agents have previously been used for microCT imaging of soft tissues. The most common are iodine, phosphotungstic acid (PTA) and PMA. Iodine particularly has been employed due to a higher diffusion rate30, 33, 34. But iodine acts as a catalyst for the silylation of hexamethyldisilazane reagent32. The catalyzed reaction is aggressive and exothermic with a high risk of the destruction of the specimen and a safety risk if residual hexamethyldisilazane remains due to incomplete desiccation of the sample. Both PTA and PMA dissolved in ethanol can safely be used in conjunction with hexamethyldisilazane. PTA and PMA have been shown to provide greater resolving power of fine structures in non-mineralized intervertebral discs when compared to iodine staining34. In micro-CT imaging of mammalian samples, PTA and PMA have been used for staining mouse embryos35, mouse cardiovascular system33, rabbit muscle & brain36 and porcine veins37. PTA has a higher molecular mass and density in solution than PMA. This is partly due to a higher atomic mass of tungsten (atomic number is 74 g/mol), the principal attenuating element in PTA. By comparison, the heaviest element in PMA, molybdenum, has an atomic number of 42 g/mol. Both atomic mass and sample density underlie X-ray attenuation, in addition to the sample thickness38. Increases to the X-ray path length by augmenting sample sizes, X-ray attenuation becomes more sensitive to increased sample density. Therefore, the lower density PMA contrast agent was selected to reduce risk of over attenuation and to optimize the dynamic range of image contrast for hearts of human-like scale. Further evidence has shown that diffusion-loading of PMA gives more homogeneous staining than for the larger molecule PTA in cardiac tissue39.”

143 Prepare two cannulae by heating the tip of two 5 cm lengths of PTFE tubing next to a naked flame and pressing the tubing in to a heat resistant surface to create a ridge.
- reason fot the heating of the tip? what was the diameter of used cannula (ID and OD)? why not directly buy suitable dimension?

Heating PTFE tubing using a naked flame causes retraction of the plastic to form a ridge. After inserting the ridged end of the tube in to the ostia of the coronary arteries, a suture was looped around the vessel upstream of the cannula’s ridge and tied off to tighten the vessel around the cannula. The ridged portion of the tubing has a greater diameter than the rest to prevent the tube slipping out of the vessel past the suture. Purpose-made cannulas are commercially available, but our approach provides a versatile and inexpensive means to cannulate vasculature effectively. The protocol has been expanded to explain more clearly the cannula preparation and application (see section 4.2). 

175 We found that the duration of perfusion should be adapted according to the size of the heart, ranging from 1 hour (pig weighing <20 kg / < 1 month old) to overnight perfusion (pigs >40kg / > 4 months old).

- some tables with the information of which sample was prepared in which manner would help with clarification of how individual samples were treated

A new table1 has been included in the revised manuscript summarizing each sample and their treatment with contrast agents. Furthermore, to standardize the protocol we fixed the recommended perfusion time to 48 hours (see section 5.3). At this time scale, there is little risk to over perfusing the samples.

179 3.4. The contrast agent was subsequently rinsed with a further 100% ethanol step.
- for how long?
We updated section 5.3 in the revised manuscript to indicate a rinsing time of 2 h.

180 To reinforce the heart tissue prior to air drying, recirculate a 50:50 mix of ethanol and hexamethyldisilazane (HMDS) for 10 minutes. Follow this by 100% HMDS for a further 2
hours.
- nowhere in the text if decribed how the HMDS stabilizes the structure of the sample.

We have added to the discussion section details of the chemical reaction of HMDS and tissue stabilization process, including a reference.

248 Contrast enhancement was greatest at sites where extracellular components were accumulated, particularly epicardial connective tissue, epicardial fat and the connective tissue sheath of the Purkinje fiber network.
- are authors really sure that the accumulation of the staining agent was because of the structural changes of heart induced by the infarction? because it looks like the described parts of the heart were stained more because they were directly exposed to the staining agent since they are on the top layer of the heart?

Evidence from several aspects indicates selectivity of contrast agent staining to extracellular components. Firstly, from the microCT images, if staining was simply a function of contact to the contrast medium, surface staining would be homogeneous throughout both epicardial and endocardial surfaces, given that ventricular cavities were also filled. Yet, examining heart sample #1 (figure 1C) particularly the endocardial surface shows little contrast enhancement, apart from punctate regions in the left ventricle. Moreover, several of these regions are situated at some depth below the surface, suggesting specificity to a substrate. Secondly, in the revised manuscript, histological tissue sections of air-dried tissue prior to any PMA staining were employed in a new series of validation experiments (figure 2). In order to confirm that PMA preferentially stains collagen, adjacent tissue sections sliced from a transmural block of ventricular tissue was used. One section was treated with the well-established Masson’s trichrome protocol that selectively stains myocardium red/pink and the extracellular compartments blue/green. A second section received no treatment and a third section was immersed in PMA for the same duration and concentration as in the whole air-dried hearts (48 hours exposure at 1%). The tissue sections provided the advantage eliminating the effects of diffusion gradients. Masson’s trichrome staining confirmed collagen distribution in the tissue section. The coloration was then compared between the equivalent unstained and PMA stained sections. We observed a distinct and selective increased coloration of collagenous tissues when PMA staining. Finally, the same unstained and PMA-stained sections were subsequently imaged using fluorescence. PMA, when used in isolation, is known to selectively quench autofluorescence of the underlying tissue, preferentially targeting collagen. We confirmed a complete lack of myocardial quenching effects, but a clear loss of autofluorescent signals from collagenous tissues. We further added an example of collagen-selectivity of PMA in the pathological setting in figure 4 of the revised manuscript. PMA-staining was again shown to enhance coloration of the fibrotic lesions, as confirmed by Masson’s trichrome staining of adjacent tissue sections.

It is clarified in the results section of the revised manuscript that there is two bandwidths of contrast observed within the tissue samples treated with contrast agents. The lower intensity range corresponds to unstained myocardium and transmural gradients due to incomplete diffusion of contrast loading in some regions of thick tissue. Despite that, a considerably higher intensity bandwidth at regions dominant in extracellular scaffold tissue was easily separable from the surrounding tissue signal intensity. Reviewer Response Figure 1A shows the same cross-sectional image from Figure 1C of the revised manuscript. We have included in Reviewer Response Figure 1B a corresponding gradient map showing local changes in intensity (signal contrast). Regions of greatest contrast resided consistently at the epithelial layer and punctate sub-endocardial regions affiliated to Purkinje fibers, which contain high extracellular scaffold content. Thus, contrast agent loading of air-dried tissue can be used to selectively identify collagen-based structures using a simple signal threshold approach.

253 For one pig heart, staining with contrast agent was attempted via perfusion prior to air drying. Image reconstruction revealed highly patchy staining within the myocardial compartment (Figure 2A). Contrast enhancement appeared unselective of tissue composition, with no further enhancement of signal intensity at the epicardial or sub endocardial regions. Moreover, low contrast tissue showed poor separation from the background intensity (Figure 2B).
- the longenst mentioned time of staining is overnight (suppose in means 12 h) - the PMA is a large molecule, in the previous publications is often described that there is need for prolonged time of staining for the PMA to stain the sample properly, are the authors sure that the sample was stained long enough?

The perfused heart sample was under perfusion for in fact 24 hrs (see new Table 1 of the revised manuscript). Contrast agent loading with PMA is judged by observing a transition of the coloration from yellow/green to a blue. This transition results from reduction of PMA to molybdenum by conjugation to unsaturated compounds (Burstein, 1953). The blue stain intensifies in color with increasing double bonds forming with the binding molecule. Perfusion of heart sample #2 with PMA was arrested upon complete blue staining of the epithelial layer. The assumption was that perfusion via the coronary arteries provides homogeneous exposure of the entire heart sample, therefore staining of the intramural tissue could be judged by observing progress of epicardial staining. As this is not the case for diffusion-loading, the duration of diffusion by PMA was assessed from a fixed exposure time (48 hours). 

292 fig 3A
more intense staining of the infarction tissue might be because of the generally thinner ventricular wall in the place of the infartion and not because of the structural changes of the tissue ar the authors suggests

The absence of uniform high intensity staining of the endothelial layer and occurrence of punctate staining linked to a specific substrate (see above comments) suggests selectivity of the PMA staining. Please also see the above detailed discussion of the histological validation included in the revised manuscript.

95 Healthy Large white pigs (N=4, 2 months old); (ii) Sheep (N=1, 2 years old) with induced myocardial infarction and (iii) Sheep (N=1, 7 years old) with induced atrial fibrillation.
-very diffent ages (and supposedly different dimension of heart) in selected model organisms, I am missing the comparison of the sample dimensions since it largely influences the needed staining time and quality of staining

The wet heart weights are shown in Table 1 of the revised manuscript. The largest differences are observed between the species (pigs vs sheep), as opposed to the differing ages of sheep. Unlike pigs, the growth curve of sheep reaches a plateau after maturation. That being said, heart weights in this study varied only by 16.4g (191.2 g - 207.6 g). This further supported the use of a fixed diffusion loading time (48 h).

contradicting description of the figure in the text and in the figure description:
253 For one pig heart, staining with contrast agent was attempted via perfusion prior to air drying. Image reconstruction revealed highly patchy staining within the myocardial compartment (Figure 2A).
286 fig 2 MicroCT of an air-dried pig heart following perfusion-loading of PMA.

The descriptions in both text and figure legend correctly indicate that the heart sample was perfusion-stained followed by the air-drying process. Yet to avoid confusion, the figure legend was reworded for clarity and now reads: “Perfusion-loading of PMA prior to air-drying and Micro-CT imaging”.

261 The ventricular preparation was stained using the diffusion method post-air drying under a vacuum.
-from the images in fig 3 it looks like only the section of the ventricle was scanned - it shloud be properly described in the text, why sectioning of heart is not mentioned in the protocol section?

Indeed heart sample #3 was prepared as a ventricular wedge. This was to enable access to the endocardial surface for additional studies in this precious sample. However, for clarity the configuration of each preparation is now included in Table 1. The manner of using applying the proposed protocol to a dissected wedge preparation versus a whole heart are unchanged, robust and hence versatile. Such wedges conserve the ostia of coronary vessels for cannulation and perfusion for dehydration. Moreover, the preparation of wedges has been extensively discussed elsewhere, which have been cited in the revised manuscript (Di Diego, 2013; Walton et al. 2018). 

278 figures 1D and 2B the histogram have different intensity scale - should be unified
Resolved.

302 fig 4A
-traces of the insufficient staining are visible in the images - the thinner parts of the heart are stained more as well as in the thicker parts only the to laer of the tissue is stained properly

Figure 5 shows microCT images of heart sample #4 with chronic atrial fibrillation. Indeed, the upper compartments are clearly more heavily stained than the lower segment of the image. The delineation between the heavily stained and poorly stained tissue corresponds directly to the atrial-ventricular interface. This suggests a higher basal extracellular content in the atrial compartments compared to the ventricles in this atrial pathological model. Within the atria, an augmentation of collagen content was validated both histologically and via Western blotting analysis of protein expression in a regional manner in this animal disease model (Martins et al. 2014, doi: 10.1161/CIRCULATIONAHA.113.004742). Chronic atrial fibrillation led to increased interstitial fibrosis and over expression of collagen type 3 (linked to cardiac disease) in both left and right atria. Albeit, diffusion-loading gradients can be observed within the myocardium, the contrast intensity remains in a low bandwidth range compared to known collagen-rich regions such as the epithelium. A non-selective staining could not explain the stark contrast between the relatively high staining of the atria and only very superficial staining of the underlying ventricles, observed in the septum and right ventricle in the lower part of the Figure 5A.

331 Alternatively, the structural integrity of the tissue can be improved and air-drying, i.e. the evaporation phase, can be applied over a longer period to reduce overall deformation.
- authors should mention if the shrinking of the sample occured due to the loose of the water?

The impact of tissue shrinkage during the air-drying process of pig hearts was addressed in Pallares-Lupon N et al. 2021. It was reported that the wet heart dimensions were unaltered compared to the air-dried heart.

Minor Concerns:
- overall english would use some iprovement, some of the explanations are not clear

148 a reservoir supported at 80 cm above the preparation.
poorly phrased, I suppose author meant that the reservoir with the solution was suspended 80 cm above the prepared sample?

The relevant section 4.1 of the revised manuscript has been re-worded and clarified.

148 Cannulae are connected to the taps while cardioplegic solution supplemented with heparin (2500 units) is running through
- running through what?
The relevant section 4.1 of the revised manuscript has been re-worded and clarified.

Reviewer #2:
Manuscript Summary:
This study by Néstor Pallares-Lupon et al. provides novel evidence about a protocol which can be utilized for the micro-computed tomography scanning of intact large mammalian heart through contrast-enhanced air-dried tissue preparations. The manuscript is well-written providing deep insight into the specimen preparation and micro-CT scannng protocol. This study could be further used in future as a paradigm to other researchers aspiring to be engaged in micro-CT animal-based imaging in the pre-clinical cardiovascular research.

Major Concerns:
The study lacks a paragraph (preferably in the discussion section prior to the conclusions), where the authors could expand on the potential clinical benefit of the study. For instance, several potential clinical applications of micro-CT cardiovascular imaging have been already described (https://pubmed.ncbi.nlm.nih.gov/33991670/) and it would be of interest for the reader to understand in a short paragraph (maybe 2-3 sentences) how this research could be translated into the clinical practice. Maybe in future you could correlate the thrombotic burden encountered in those mammalian model organisms with several outcomes of interest, as explained in many clinical micro-CT (https://pubmed.ncbi.nlm.nih.gov/33969012/ , https://pubmed.ncbi.nlm.nih.gov/33572568/) and OCT studies (https://www.ahajournals.org/doi/10.1161/CIRCULATIONAHA.120.052008).

The authors agree that the manuscript will benefit from providing a translational perspective. We have added the following paragraph to the discussion section, prior to the study conclusion, as suggested:

“The emergence of microCT imaging in the cardiac field affords numerous advantages for translational studies and clinical validation. The advantages of its three-dimensional and micrometric imaging has already shown applications in determining thrombotic burden of ST-elevation myocardial ischemia patients43, 44. Mapping potential sources of arrhythmia in structural heart disease patients is largely dependent on determining the distribution of fibrotic scar tissue and localizing interweaving tracks of surviving myocardium. Second-line approaches for diagnosis of ventricular arrhythmias utilizes magnetic resonance imaging45. It can robustly localize dense fibrosis but is limited to low resolution morphological characterization and offers limited insight in to microstructural remodeling and diffuse distributions of fibrotic lesions46. High resolution examination of scar distribution and characterization has vast potential for improving our understanding of cardiac structural remodeling and risk of developing heart failure.  Particularly, fundamental research studies or post-mortem investigations will benefit from corroborative structural images for electrical mapping of cardiac arrhythmia.”

Minor Concerns:
The authors should be consistent in the font size used throughout the manuscript. There is also need for a proof-reading of the manuscript by a native-speaker to correct some minor grammatical errors observed.

The authors have thoroughly checked the font size and corrected numerous typographical/ grammatical errors throughout the manuscript.

The abstract could also be improved in order to be more interesting for the reader of the manuscript (maybe you should avoid so much details in the abstract).

Line 277: "Figure and Figure legends" must be the correct title I guess.

Indeed this was the suggested title in the manuscript guidelines.

Please modify the last paragraph prior to the conclusions (lines 337-342) in order to be read more easily and do not start the sentence with "Whereas".

The abovementioned paragraph has been re-worked in the new version to improve the flow and to clarify the discussion.

“The method of contrast agent delivery impacts the uniformity of contrast agent distribution in heart tissue (figure 3). Perfusion of contrast agents in the ethanol-dehydrated heart showed patchy background staining levels of PMA, due to variable vascular resistance. In the air-dried heart, the muscle laminar structure is emphasized by the sample desiccation process, increasing muscle laminar separation. This ultimately improved the overall permeability of the tissue for diffusion-based contrast agent loading. Consequently, air-drying facilitated tissue:air contrast at the laminar and intra-laminar level (figure 3). Moreover, diffusion-loading can be further facilitated by application under a vacuum. It has further been shown that tissue shrinkage of non-dried samples is dependent upon contrast agent concentration39. However, prior morphological stabilization of the specimen by air-drying inhibits tissue shrinkage effects29.”

Finally, please elaborate on every abbreviation used throughout the manuscript, when mentioned for the first time; for example: phosphomolybdic acid (PMA).

The authors have thoroughly checked all abbreviations.

Reviewer #3:
Manuscript Summary:
The work describes a methodology for non-destructive, high-resolution interrogation of microstructure in whole organs from large mammalians using contrast-enhanced micro-CT. The article is well-written and has easy to follow protocol steps. Overall, no major concerns were noted. Minor concerns were noted which if addressed would enhance quality of the work and be of interest to the readership.

Major Concerns:
None

Minor Concerns:
1. It would be helpful to include corresponding H&E or Movat stained microscopic images for comparing micro-CT images with histology to get a better understanding of the tissue architecture and the abnormalities in diseased heart samples. For instance, a corresponding histology figure for Fig 1C, Fig 2A, Fig 4B would be helpful.

The authors thank the reviewer for their constructive input. We were able to obtain transmural tissue sections of Heart #3 from a region of fibrotic lesion formation following the air-drying and PMA-loading that was implemented for the microCT imaging (Figure 4F and 4G). Masson’s trichrome staining could still reliably validate collagen/surviving myocardial distribution, which was compared against the distribution of PMA that was delivered in preparation for microCT imaging. Moreover, we have included a dedicated figure to validate the distribution of PMA and correlation to collagen-rich tissues observed in a healthy heart. See Figure 2 of the revised manuscript and associated text in the revised results section. We also refer you to the responses given to reviewer 1 for a detailed explanation of this important validation step.

2. Further enhancements and annotation in micro-CT images of disease hearts to demonstrate pathological findings when compared to normal heart would be helpful. For instance, while the contrast-enhanced micro-CT images in Figs 3 and 4 are exquisite, it does not relay altered microstructural findings associated with atrial fibrillation or myocardial infarction. Additionally, given the high-resolution of micro-CT images (20 um), it would help show some magnified CT images to further demonstrate the utility of high-resolution images for interrogation of 'microstructural' defects.
3. Please consider adding text in figure legends to clarify what features/pathology are indicated by the arrows (blue and yellow) in Fig 1C, 2A, and Fig 3B-D.
4. Please specify scan time and radiation dose associated with the scan protocol. The authors are also invited to mention typical file size of reconstructed datasets and perhaps discuss computational requirements for working with such large datasets.

As recommended, sections elaborating on scanning parameters were included in the results section and a discussion on computer requirements for handling large data volumes was further added to the discussion :

“ The time necessary to scan the full width of the sample at 20 µm resolution under microCT using the abovementioned scanning parameters and an exposure time of 1700 ms was 6 h 34 min. Depending on the size of the sample in the gantry axis of the scanner, this duration was multiplied by the number of positions needed to capture the full length of the specimen. For pig and sheep hearts in this study, three to four positions were used. The NRecon software tiled the multi-position and offset scans to form a single X-ray projection image for each rotation step of the X-ray source and detector. In total 1000 projections are stored as 16-bit images, generating 30 to 40 GB of data. Reconstructed volumetric images were 52 to 70 GB. ”

And…

“High resolution microCT images of whole organs inherently produces large data volumes. The nature of tomographic imaging techniques enables visualization and image handling on a slice-by-slice basis, which eases the computer processing and memory burden. However, to visualize for three-dimensional image stacks, for example to render specimen volumes in three-diemnsional representations, the recommended minimum computer specifications are 128 GB RAM and a processor speed of 3 GHz. Solid state hard drives also greatly improved data transfer.”

5. Please mention/educate software used for image analysis and presentation.

Results were visualized as 2D images from data stacks using DataViewer, now reported in the manuscript.

References

Burstein, Shlomo (1953). "Reduction of Phosphomolybdic Acid by Compounds Possessing Conjugated Double Bonds". Analytical Chemistry. 25 (3): 422–424. doi:10.1021/ac60075a012.

José M. Di Diego, Serge Sicouri, Rachel C. Myles, Francis L. Burton, Godfrey L. Smith, and Charles Antzelevitch (2013). “Optical and Electrical Recordings from Isolated Coronary-Perfused Ventricular Wedge Preparations”. J Mol Cell Cardiol. 54: 53-64. doi: 10.1016/j.yjmcc.2012.10.017.

Walton, R.D. et al. (2018) “Compartmentalized Structure of the Moderator Band Provides a Unique Substrate for Macroreentrant Ventricular Tachycardia”. Circulation: Arrhythmia and Electrophysiology. 11 (8), e005913, doi: 10.1161/CIRCEP.117.005913.

Pallares-Lupon N. et al. (2021) “Optimizing large organ scale micro computed tomography imaging in pig and human hearts using a novel air-drying technique”. BioRxiv. doi: 10.1101/2021.07.29.454121.