62909_screenshot_5.2.2

- 5.2.2 Turning on X-ray. Setting the X-ray filter (Al 1mm) and defining the X-ray voltage and current settings. Setting the image resolution and pixel size. 00:01 - 00:42.

62909_screenshot_5.3.1

- 5.3.1 Initiating scouting X-ray transmission images 00:02 - 00:15 to navigate sample position on the sample support bed. 00:28 - 00:46

62909_screenshot_5.3.2

- Defining image scanning field on the sample 00:04 - 00:17 and setting acquisition parameters. Launching the scan. 00:32 - 00:55

62909_screenshot_5.4.1

- Setting data range in image reconstruction software. Defining artefact correction parameters. 00:02 - 00:28 Viewing a preview of a single reconstructed image slice. launching full 3D reconstruction on the full dataset. 00:40 - 00:55

62909_screenshot_5.5.1_5.6.1

- 5.5.1 Opening DataViewer software. Loading data. Scrolling through image stack of the data volume. Loading 3-plane viewer mode. 00:03 - 00:42. Rotating data volume to align heart structure to image axes. 01:18 - 01:29.

- 5.6.1 Defining a volume of interest in three imaging planes and saving the rotated volume of interest dataset. 01:42 - 02:22.