# Submission ID #:  62940

# Scriptwriter Name: Gaurav Vaidya

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19196748

# Title: Mammary Epithelial and Endothelial Cell Spheroids as a Potential Functional In Vitro Model for Breast Cancer Research

# Authors and Affiliations:

Giovanna Azzarito1, Marta Ewa Szutkowska1, Annalisa Saltari2, Edwin K. Jackson3, Brigitte Leeners1, Marinella Rosselli 1, Raghvendra K. Dubey1,3

1Department of Reproductive Endocrinology, Wagistrasse 14, University of Zurich and University Hospital Zurich, 8952 Schlieren, Switzerland

2Department of Dermatology, Wagistrasse 18, University of Zurich and University Hospital Zurich, 8952 Schlieren, Switzerland

3Department of Pharmacology and Chemical Biology, University of Pittsburgh, Pittsburgh, PA, USA

☐   All author names and affiliations are correct.

# Corresponding Authors:

Raghvendra K. Dubey	       (raghvendra.dubey@usz.ch)

# Email Addresses for All Authors:

giovanna.azzarito@usz.ch

marta.chou@wanadoo.fr

annalisa.saltari@usz.ch

edj@pitt.edu

brigitte.leeners@usz.ch

marinella.rosselli@usz.ch

raghvendra.dubey@usz.ch

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  20

Number of Shots:  55

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- Fill out both required statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Spheroid Formation

  - Begin by treating or transfecting the plated cells for 24 hours or as desired [1].

    - WIDE: Establishing shot of talent treating/transfecting the plated cells.

  - In case of a  96-well U-bottom plate, wash the cells with 1 milliliter of Hank’s balanced salt solution or HBSS containing calcium and magnesium  [1] and stain HUVECs using 0.5 micrograms per milliliter blue dye [2-TXT] and MCF-7 cells using 0.5 micromolar green dye diluted in the respective growth medium [3-TXT]. AUTHORS: How do you pronounce HUVECs?

    - Talent washing the cells with HBSS.

    - Talent staining the HUVECs. TEXT: HUVECs - Human Umbilical Vein Endothelial Cells

    - Talent staining MCF-7 cells. TEXT: MCF-7: Michigan Cancer Foundation-7

  - Place the plate into a 37  degrees Celsius and 5 percent CO2 incubator for 30 to 40 minutes [1].

    - Talent placing the plate in the incubator.

AUTHORS: Steps 2.2. and 2.3. mentioned above are labeled as optional in the manuscript. Will you be filming them on the shoot day, or should they be dropped from the script?

  - Wash the cells with 1 milliliter of HBSS without calcium and magnesium [1]. Then, add 1 milliliter of enzymatic detachment reagent, which is 0.25 percent trypsin for HUVEC and 0.5 percent trypsin for MCF-7, to each round dish using a P1000 pipette [2], and then incubate for 2 to 5 minutes until the cells are detached [3].

    - Talent washing the cells using HBSS without calcium and magnesium.

    - Talent adding enzymatic detachment reagent to HUVEC and MCF-7 cells.

    - Talent placing the round dishes for incubation.

  - Collect each cell type separately in a 5-milliliter round-bottom Polystyrene tube  [1] and add 1 milliliter of 10 percent fetal calf serum or FCS medium using a P1000 pipette to stop the enzymatic reaction [2].  Then, centrifuge the cell suspensions at 250 x g for 5 minutes [3].

    - Talent collecting the cell types in the 5 mL round-bottom Polystyrene tube.

    - Talent adding 10% FCS medium to the cell suspension.

    - Talent placing the tubes in the centrifuge.

  - Carefully aspirate the supernatant [1] and suspend the cells in 1 milliliter of steroid-free medium [2]. Use 100 microliters of each cell suspension diluted with 10 milliliters of Diluent II to determine the total cell number [3].

    - Talent aspirating the supernatant.

    - Talent suspending the cells in a steroid-free medium.

    - Talent diluting the cell suspensions with Diluent II.

  - Calculate the amount of treatment medium needed to obtain a cell suspension of 5 x 103 cells per milliliter or 3.4 x 105 cells per milliliter per cell type [1-TXT]. Turn on the machine [2] and flush by pressing the Function and Start buttons [3] with Diluent II solution in a cell counter vial [4].

    - Talent calculating the amount of treatment medium. TEXT: EBM-2, Glutamax, antibiotic-antimycotic, 0.4% FCS sf, vehicle/Treatment

    - Talent turning on the machine.

    - Talent pressing the Function  and Start buttons

    - A shot of the cell counter vial.

  - Use set up S4  [1], and press Start to measure the blank with fresh Diluent II solution [2]. Change the scintillation vial with 100 microliters of cell suspension in 10 milliliters of Diluent II solution [3]. Use set-up S4 and press Start to measure the samples [4].

    - Talent selecting set up S4.

    - Talent pressing the Start button to measure the blank.

    - Talent changing the scintillation vial with the cell suspension.

    - Talent pressing Start to measure the samples.

  - Note the number of cells per milliliter on the digital display [1]. Then, prepare 5 milliliters of each cell suspension [2-TXT] and mix them to get a final volume of 10 milliliters in a 1 to 1 ratio. Use a manual repeating pipette to pipette out 100 microliters of the cell suspension into each well of the 96-well U-bottom plates [4].

    - Noting the number of cells per milliliter. Videographer: Please film the display of the cell counter.

    - Talent preparing 5 mL of each cell suspension. TEXT: 5 x 103 cells/mL

    - Talent mixing the cell suspensions in a 1 to 1 ratio.

    - Talent pipetting out the cell suspensions into the wells of the 96-well U-bottom plates.

  - Place the plate into an incubator under standard tissue culture conditions [1] and check for spheroids formation after 48 hours [2]. Take pictures of the spheroids at 40x magnification using a fluorescence stereomicroscope [3].

    - Talent placing the plate into the incubator.

    - Talent checking for spheroid formation.

    - SCOPE: Talent taking pictures of the spheroid.

  - For preparing the hanging drop culture, mix the cell suspensions in a 1 to 1 ratio to get a final volume of 2 milliliters [1-TXT]. Use a P20 pipette to seed the cell mixture in the form of 15 microliter drops on the inverted lid of a 10-centimeter Petri dish [2].

    - Talent mixing the cell suspensions in a 1 to 1 ratio. TEXT: 3.4 x 105 cells/mL

    - Talent seeding the cell mixture as drops on the inverted lid of the Petri dish.

  - Invert the lid with the drops [1] and add 5 milliliters of EBM-2 base medium at the bottom of the dish to avoid evaporation of the drops [2].

    - Talent inverting the lid.

    - Talent adding 5 mL of the base medium to the bottom of the dish.

- Spheroid Immunohistochemistry Study

  - Collect approximately 50 spheroids into a 1.5-milliliter tube with a cut tip of a P200 microliter pipette [1]. Allow them to settle to the bottom of the tube by gravity [2], and then discard the supernatant [3]. Fix the spheroids with 500 microliters of 4 percent PFA for 1 hour at room temperature [4].

    - Talent collecting 50 spheroids in the tube using the cut tip.

    - ECU: Shot of the spheroids settling in the tube.

    - Talent discarding the supernatant.

    - Talent fixing the spheroids.

  - Boil 2 percent Nobel Agar solution in PBS using a hot plate with a magnetic stirrer for 3  to 5 minutes to dissolve the agarose powder completely [1] and cool down to around 60 degrees Celsius [2].

    - A shot of the Nobel Agar solution on the hotplate with the magnetic stirrer switched on.

    - A shot of the flask of Nobel agar solution left to cool down.

  - Remove the PFA with a P1000 pipette [1], wash the spheroids with 500 microliters of PBS [2], and allow them to sediment [3]. Once settled, discard the supernatant [4].

    - Talent removing the PFA.

    - Talent washing the spheroid with PBS.

    - ECU: A shot of the spheroids settling.

    - Talent discarding the supernatant.

  - Carefully pipette 600 microliters of agarose solution into the 1.5-milliliter tube with spheroids  [1] and place the tube immediately in a centrifuge with a horizontal rotor at 177 x g for 2 minutes [2]. Add a short string in the middle of the agarose solution to easily remove the plug from the tube [3].

    - Talent pipetting the agarose solution into the tubes with the spheroids.

    - Talent placing the tube into the centrifuge with a horizontal rotor.

    - Talent adding the short string in the middle of the agarose solution.

  - Solidify agarose plug on ice or at 4 degrees Celsius [1]. Add 500 microliters of PBS into the 1.5-milliliter tube to avoid drying out of the pellet [2]. Acquire images of spheroid sections using a stereomicroscope [3].

    - Talent incubating the tube at 4 degrees Celsius.

    - Talent adding PBS to the tube.

    - SCOPE: Talent acquiring images of the spheroid sections.

- Live/Dead Staining in Spheroids

  - In 1.5-milliliter tubes, prepare a 4 millimolar stock solution of Calcein AM in DMSO to stain live cells green [1] and a 2 millimolar solution of Ethidium homodimer in DMSO to stain dead cells red [2]. AUTHORS: How do you pronounce Calcein AM?

    - Talent preparing a stock solution of Calcein AM.

    - Talent preparing a stock solution of Ethidium homodimer.

  - Calculate the amount of solution necessary to add 10 microliters per well of a mixture of Calcein AM and Ethidium homodimer diluted using EBM-2 in a 1 to 50 ratio [1]. Add the staining mixture to the spheroids [2] and place the plate in the incubator under standard tissue culture conditions for 30 to 60 minutes [3].

    - Talent preparing the solution of Calcein AM and Ethidium homodimer in a 1:50 ratio.

    - Talent adding the staining mixture to the spheroids.

    - Talent placing the plate inside the incubator.

  - Acquire pictures at 40x magnification using the fluorescence stereomicroscope [1].

    - SCOPE: Talent acquiring pictures of the stained spheroids.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 231. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Generation of Mammary Epithelial and Endothelial Cell Spheroids

  - In U-bottom plates, the spheroid formation was observed 48 hours after seeding of MCF-7 cells [1]. However, the spheroid formation was not observed in the case of endothelial cells or lymphatic cells [2]. Seeding of MCF-7 plus endothelial cells [3] or  MCF-7 plus lymphatic cells at a 1 to1 ratio also resulted in spheroid formation [4].

    - LAB MEDIA: Figure 2A.

    - LAB MEDIA: Figure 2B.

    - LAB MEDIA: Figure 2C.

    - LAB MEDIA: Figure 2D.

  - Time-dependent sequential growth of MCF-7 spheroid was recorded, ranging from 24 to 120 hours [1]. The spheroid size increased from around 100 micrometers to around 200 micrometers over 5 days, with an increased growth rate observed in the spheroids treated with the growth stimulator [2].

    - LAB MEDIA: 2E.

    - LAB MEDIA: 2F. Video editor: Emphasize the red line.

  - The structure of the spheroids and the shape of their cells showed no abnormalities following transfection with control oligonucleotides in the presence of Lipofectamine [1]. Cells expressing the proliferative marker, Ki67, were distributed homogeneously in the spheroids [2].

    - LAB MEDIA: 5D.

    - LAB MEDIA: 5E.

  - Cleaved Caspase-3 staining of the spheroids showed apoptotic cells after 4 days of culture [1]. Staining of the cells in the spheroid with CD31 and Ki67 revealed that 55 percent of the cells are epithelial, 45 percent are endothelial, and 25 percent of cells are proliferating [2].

    - LAB MEDIA: 5F.

    - LAB MEDIA: 5G.

  - To assess the percentage of live and dead cells, 4-day old spheroids were stained with Calcein-AM and ethidium homodimer [1]. A freshly thawed spheroid also stained for dead and live cells revealed that spheroids are very sensitive to freezing conditions [2].

    - LAB MEDIA: Figure 6C.

    - LAB MEDIA: Figure 6D.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.