## Sheet1
Table 1. Troubleshooting
Technical Problems | Proposed solutions
Ø In case the tail vessels are not visible for introducing the catheter | ü Use a warm compress surrounding the mouse tail for 3-5 min to promote local vasodilation. It will help to make the vein visible.
Ø In case the tail catheter cannot be fixed for antibody injection | ü Use a 1 mL syringe with 30 G needle to introduce into the vein and directly inject the antibodies and dyes before imaging.
ü In some cases (depending of the antibodies) the injection can be applied i.p. 1 h before imaging.
Ø When the motion of tissue impedes imaging stability | ü Try to re-position and re-fix the mouse upper hint leg to avoid the physiological abdominal movements.
ü Check whether the microscope table has enough air to cancel vibration.
ü Make sure that the mouse is in deep anesthesia and does not wake up.
ü Monitor the breathing of the mouse. When the mouse is breathing too fast, it can have an impact on the imaging motion.
Ø When the image quality starts decreasing | ü Ensure the ultrasonic gel does not dry out.
ü Re-fill the ultrasonic gel.
ü Make sure that the objective is clean (clean up the dried ultrasonic gel on the objective whenever a new re-filling is done).
Ø When the arteries are damaged during preparation for imaging | ü In this case, it will not be possible to acquire images. It is not possible to run the experiment.