Dear Editor,

Please find enclosed the revised version of our manuscript entitled ‘Real-time monitoring of mitochondrial respiration in cytokine-differentiated human primary T cells’ (62984-R1) by Mølgaard and colleagues that we are re-submitting for consideration in JoVE.

We would like to thank the editor and reviewers for their constructive comments. In the revised manuscript, we have addressed all these points. All changes that were made to the original manuscript have been highlighted using tracked changes. A full address of the editorial and reviewer’s comments can be found in the point-by-point reply in the following pages.

We hope that you will consider this revised version of our manuscript acceptable for publication.

We are looking forward hearing from you.

Kind regards,

Marlies J.W. Peeters

National Center for Cancer Immune Therapy

Copenhagen University Hospital, Herlev

Denmark

Editorial comments:
1. Please note that the manuscript has been formatted to fit the journal standard. The protocol steps have been adjusted. Comments to be addressed are included in the manuscript itself. Please review and revise accordingly.
2. Figure 1: Please revise the x-axis units to “0.5, 0.75, 1.25” instead of “0,5, 0,75, 1,25”. Replace the comma with a period. Please ensure that the numbers on the X-axis are correct (Figure 1B).
3. Figure 2: Please revise the x-axis units to 200,000 and 400,000 (replace the period with  a comma).
4. Figure 3: Please revise the x-axis units to “Time (min)” instead of “Time (minutes)” (Figure 3A and 3C).
5. Figure 3/4: Replace the uppercase labels (A, B, C) used for defining FCCP and antimycin in the figure and figure legend with lowercase letters (a, b, c) to avoid getting confused with the Panel labels.

Answer to editor: All mentioned revisions have been made. Changes in the manuscript are highlighted with tracked changes. All comments in the manuscript have been resolved.

Reviewers' comments:
Reviewer #1:
Manuscript Summary:
Many of the reviewer comments have now been addressed however there are still a few minor issues that still need to be clarified and/or changed in order for some of the explanations to be scientifically correct from a bioenergetic perspective.

Major Concerns:
None to report

Minor Concerns:
Line 442 - wrong figure number and letter
Line 346: do you mean 2uM or is figure 1 B incorrect?
Line 329: see above
Line 341: For reader clarity can you produce a figure to show the fold change?

Answer to the reviewer: The figure number and letter have been corrected. The concentrations in the text have been corrected. To prevent visualizing the same data in multiple figures, we have changed ‘x-fold change’ to exact numbers in the text. 

Table 2 - Table is misleading - the final concentrations and/or working concentrations in the table do not add up - each time you inject there is roughly a 10-fold dilution of the working concentration. So for FCCP this would be 0.2uM from a stock of 2uM after port A injection, but in the table is says 0.1uM. Following injection of port B (22uL) the final vol in the well is 222uL (222/22 = 10), and thus a dilution factor of 10 again, so with a working concentration of 2uM this will add another 0.2uM to the well. Please check these concentrations and your calculations.

Answer to the reviewer: Thank you for finding this. This is of course a mistake, and we have corrected the mistake

Table at end:
Basal respiration is a measure not only of ADP phosphorylation and this needs to be addressed. If this was the case then you would obtain a 100% coupling efficiency within cells, which is clearly not the case in T-cells as shown by the data in the manuscript. The other way of putting it is that the rate of respiration following oligomycin addition and after correction for non-mitochondrial respiration is not the same as the basal rate of respiration corrected for non-mitochondrial respiration. The difference is therefore linked to proton leak across the inner-mitochondrial membrane. It should also be noted that when you use oligomycin to inhibit ATP synthase, this results in a slight mitochondrial hyperpolarization and since the proton leak is voltage-dependent, this approach underestimates ATP synthesis and exaggerates the proton leak prior to inhibition. In many cells the error is fairly small, underestimating ATP synthesis by less than 10 % and overestimating proton leak rate by 15-20 %.

Answer to the reviewer:
The definition of the basal respiration has been altered so it is clearer that the measure is the oxygen consumption to supply the proton gradient generated to supply ATP synthesis and the proton leak

The calculation explanation for maximal respiratory capacity is wrong, please correct.
The calculation explanation for ATP turnover is wrong, please correct.

Answer to the reviewer:

Calculation for maximal resp cap has been altered as the difference between FCCP treated and antimycin treated cells

ATP turnover has been corrected to ATP-linked respiration