## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
2 mL Potter-Elvehjem Glass/PTFE Tissue Grinder/Homogenizer | Omni International | 07-358029
95% O2, 5% CO2 medical gas mixture |  |  | Potter for tissue grinding
ADP | Sigma | A 4386
Antimycin A | Sigma | A 8674 | Chemical
Ascorbate | Merck | PHR1279-1G | Chemical, dissolve in ethanol
BSA (fatty accid free) | Sigma | A 6003 | Chemical
CaCO3 | Sigma | C 4830 | Chemical
Cytochrome c | Sigma | C 7752 | Chemical
Digitonin | Sigma | D 5628 | Chemical
Dithiothreitol | Sigma | D 0632 | Chemical, dissolve in DMSO
D-Sucrose | Roth | 4621.1 | Chemical
Dulbecco’s modified Eagle’s medium (High glucose) | Fisher Scientific | 41965-039 | Chemical
Dulbecco’s modified Eagle’s medium (No Glucose) | Fisher Scientific | A14430-01
EGTA | Sigma | E 4378
Etomoxir | Sigma | E1905 | Chemical
Falcon 15 ml Conical Centrifuge Tubes | Fisher Scientific | AM12500 | Chemical
Falcon 50 ml Conical Centrifuge Tubes | Fisher Scientific | AM12501
FCCP | Sigma | C 2920
Glucose | Sigma | G7021 | Chemical, dissolve in ethanol
Glutamate | Sigma | G 1626 | Chemical
GlutaMax (100x) (200 nM L-alanyl-L-glutamine dipeptide) | Fisher Scientific | 35050061 | Chemical
HEK293 cells | ATTC | CRL-1573
Hemocytometer | Fisher Scientific | 0267151B | Instrument for cell counting
Hepes | Sigma | H 7523 | Chemical
Imidazole | Fluka | 56750 | Chemical
KCl | Merck | 1.04936 | Chemical
L-carnitine | Sigma | C0283 | Chemical
Malate | Sigma | M 1000 | Chemical
MES hydrate | Sigma | M8250 | Chemical
MgCl2 | Sigma | M 9272 | Chemical
Na2ATP | Sigma | A 2383 | Chemical
Na2Phosphocreatine | Sigma | P 7936 | Chemical
Na-pyruvate (100 mM) (100x) | Fisher Scientific | 11360070
NEAA (Non-essential amino acids) 100x | Fisher Scientific | 11140035
Normal FBS (10x) | Fisher Scientific | 10500064
O2k-Core: Oxygraph-2k | Oroboros Instruments | 10000-02 | High-resolution respirometry instrument
O2k-Titration Set | Oroboros Instruments | 20820-03 | Hamilton syringes for chemical injections
Oligomycin | Sigma | O 4876 | Chemical, dissolve in ethanol
Palmitoylcarnitine | Sigma | P 4509 | Chemical
Penicillin-Streptomycin | Fisher Scientific | 15140122
Pierce BCA Protein Assay Kit | Fisher Scientific | 23227
Pyruvate | Sigma | P 2256 | Chemical
RIPA-Buffer | Fisher Scientific | 89900 | Chemical
Rotenone | Sigma | R 8875 | Chemical, dissolve in ethanol
Saponin | Sigma | S7900 | Chemical
Seahorse XF DMEM assay medium pack, pH 7.4 | Agilent, Santa Clara, CA | 103680-100
Seahorse XFe96 Extracellular Flux Analyzer | Agilent, Santa Clara, CA |  | High-throughput respirometry instrument
Seahorse XFe96 FluxPak | Agilent, Santa Clara, CA |  | Includes assay plates, cartridges, loading guides for transferring compounds to the assay cartridge, and calibrant solution.
Small scissors | Fisher Scientific | 08-951-20
Sodium azide | Sigma | S2002 | Chemical
Succinate | Sigma | S 2378 | Chemical
Taurine | Sigma | T 8691 | Chemical
TMPD | Sigma | T 3134 | Chemical
Trypan Blue solution | Merck | 72-57-1 | Chemical
Trypsin 0.25% EDTA | Fisher Scientific | 25200056
Two thin-edged forceps | Fisher Scientific | 12-000-122
Uridine stock (500x) | Sigma | U3750 | Chemical

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=