NOTE: This method is adapted from the Schwarz video article published in Jove in May 201521.

- Preparation for Tissue Collection (Continuing from 2.5 Day of Experiment)

  - Fire polish 3 glass Pasteur pipettes in decreasing diameters

    - 1 = 6.5 mm diameter

    - 2 = 5.5 mm diameter

  - Turn on water bath to 37 °C

- Perform 3.0 Perfusion – 4.7 Tissue Dissection

- Prepare Enzyme Mix 1

  - Prepare Enzyme Mix 1

    - Mix 50 l of Enzyme P with 1,900 l of Buffer Z for each sample

  - Place Enzyme Mix 1 in the water bath at 37 °C

- Manual Dissociation

  - Use a 1 mL pipette tip to smash the tissue into as small of pieces as possible.

  - Using a microcentrifuge, spin the samples at 300 x g for 2 min at room temperature. Aspirate and discard supernatant.

  - Add 1,900 l of warm Enzyme Mix 1 to each sample.

  - Incubate the samples for 15 min in the 37 °C water bath, inverting the tubes several times every 5 min.

  - Prepare Enzyme Mix 2 in a 200 l tube.

    - Mix 20 l of Buffer Y with 10 l of thawed Enzyme A

  - Add 30 l of Enzyme Mix 2 to each sample. Invert gently. Do not vortex.

  - With a fire polished 6.5 mm diameter Pasteur pipette, dissociate the sample by triturating up and down 30 times. Avoid bubbles.

  - Incubate for 15 min in the 37 °C water bath, invert tubes several times every 5 min.

  - With a fire polished 5.5 mm Pasteur pipette, dissociate the sample by triturating up and down 30 times. Avoid bubbles.

  - Again, using a fire polished 5.5 mm Pasteur pipette, dissociate the sample by triturating up and down 30 times. Avoid bubbles.

  - Incubate the samples for 10 min in the 37 °C water bath, invert tubes every 5 min

  - Apply single-cell suspension to a 70-μm cell strain placed in a 50 mL conical tube.

  - Apply 10 ml of D-PBS to the filter. Discard filter.

  - Centrifuge the sample at 300 x g for 10 min at room temperature. Aspirate and discard supernatant.

  - Proceed to 7.0 Debris Removal

Schwarz, J. M. Using fluorescence activated cell sorting to examine cell-type-specific gene expression in rat brain tissue. J Vis Exp, e52537, doi:10.3791/52537 (2015).