August 12, 2021

Vidhya Iyer

Review editor

JoVE

Dear Ms. Vidhya Iver:

I wish to resubmit the manuscript titled “Computed tomography-based three-dimensional visualization of murine hind-limb vessels.” The manuscript ID is JoVE63009.

I thank you and the reviewers for your thoughtful suggestions and insights. The manuscript has benefited from these insightful suggestions. I look forward to working with you and the reviewers to move this manuscript closer to publication in the JoVE.

The manuscript has been rechecked and the necessary changes have been made in accordance with the reviewers’ suggestions. The responses to all comments have been prepared and attached herewith.

Thank you for your consideration. I look forward to hearing from you.

Sincerely,

Yuichiro Arima, MD, PhD

International Research Center for Medical Science(IRCMS)

Developmental Cardiology Laboratory

Associate Professor (Principal Investigator)

Kumamoto University

Address: 2-2-1 Honjo, Chuo-ku, Kumamoto City, 860-0811, Japan

TEL: +81-96-373-6883

FAX: +81-96-373-6869

e-mail: arimay@kumamoto-u.ac.jp

Point-by-point response to editors and reviewers

Due to issues with language and grammar, the manuscript is not sufficiently coherent.
Please revise the manuscript to thoroughly address the reviewers' concerns and all the editorial comments. Additionally, please describe the changes that have been made or provide explanations if the comment is not addressed in a rebuttal letter. We may send the revised manuscript and the rebuttal letter back to peer review.

This is our first submission to the JoVE; thus, I apologize for the insufficient content. I would like to express our deepest gratitude toward all the editors and reviewers; by reflecting all the points highlighted through your comments, I were able to significantly improve our manuscript. All responses are shown in red in the marked revised manuscript.


Editorial comments:
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. Please define all abbreviations at first use.

I apologize for the linguistic inadequacy of the treatise. I have revised the manuscript, and the new version has undergone professional English proofreading; the changes are shown in red. I also attached the non-marked version of the revised manuscript.

2. Please provide an email address for each author.

The email addresses of all authors have been provided.

3. Please revise the text, especially in the protocol, to avoid the use of any personal pronouns (e.g., "we", "you", "our" etc.).

I have revised the treatise to exclude personal pronouns.

4. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.” However, notes should be concise and used sparingly. Please include all safety procedures and use of hoods, etc.

I rewrote the protocol in the imperative tense.

5. Please include the ethics statement (lines 203-206) before all of the numbered protocol steps indicating that the protocol follows the animal care guidelines of your institution.

I moved the ethics statement to the beginning of the protocol (lines 85-88).

6. Please note that your protocol will be used to generate the script for the video and must contain everything that you would like shown in the video. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

I would like to show step 2, “Perfusion”, in the video (lines 110-190). The procedure for this step is complicated and difficult to express in words alone; therefore, I believe that its true value can be demonstrated through a video introduction.

7. Please format the manuscript as: paragraph Indentation: 0 for both left and right and special: none, Line spacings: single. Please include a single line space between each step, substep and note in the protocol section. Please use Calibri 12 points and one-inch margins on all the side. Please include a ONE LINE SPACE between each protocol step and then HIGHLIGHT up to 3 pages of protocol text for inclusion in the protocol section of the video.

I have adjusted the format of the manuscript according to these instructions.

8. Please discuss all figures in the Representative Results. However, for figures showing the experimental setup, please reference them in the Protocol.
9. Please include at least one paragraph of text to explain the Representative Results in the context of the technique you have described, e.g., how do these results show the technique, suggestions about how to analyze the outcome, etc. The paragraph text should refer to all of the figures. Data from both successful and sub-optimal experiments can be included.

I added one paragraph to the representative results, and suggest checking the inferior gluteal artery as an indicator of a successful protocol (lines 221-225).

10. Please combine all panels of one figure into a single image file.

I combined all panels of one figure into a single image file.

11. Please include a title and a description of each figure and/or table. It should be something like this “Figure 1: Title. (A) Description of panel A. (B) Description of panel B. Scale bars = . Abbreviations: “.
12. Consider reducing the number of images in Figure 1, either moving them into other figures or eliminate them completely if this will be seen in the video and can be omitted from the manuscript. Suggestion: Figures 1C, D, F, G, I, K, L, N, P can be omitted. Figures 1A and B can be one figure for apparatus and setup. If none can be eliminated, Figures 1C through 1K can become Figures 2A through I for preparing the animal for the CT imaging. Figures 1L through 1R can become Figures 3A through G for imaging. This will make the Figure 2 here Figure 4.

Based on these instructions, I have reduced the number of panels in Figure 1, and have removed Figures 1C–G, I, K, L, N, and P. Figures 1A and B were merged into one panel, and Figure 1 was compiled on a single page. I have corrected the title and description as indicated.

13. Please add any limitations of this method to the discussion.

I added the limitations of this method to the discussion (lines 296-300).

14. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source (ITALICS). Volume (BOLD) (Issue), FirstPage–LastPage (YEAR).] For 6 and more than 6 authors, list only the first author then et al. Please include volume and issue numbers for all references, and do not abbreviate the journal names. Make sure all references have page numbers or if early online publication, include doi.

I have changed the reference style to fit the JoVE.

15. Please add all items (tubes, solvents, equipment, software etc) in the Table of Materials so that it serves as a handy reference for users to get everything ready for the protocol. Please use only English names of the materials used in the table and elsewhere. Please sort the Materials Table alphabetically by the name of the material.

I added all items and renewed the Table of Materials.

Responses to reviewers’ comments.

Reviewer #1:
Manuscript Summary:
this manuscript describes a very elegant method to visualise the collateral formation after induction of hind limd ischemia in mice using CT, with impressive resolutions.

I appreciate the positive feedback and believe that our method is useful as a new analytical method for vascular research. I have revised the manuscript, and the changes are shown in red. I also attached the non-marked version of the revised manuscript.

Major Concerns:
a proper description of the perfusion Time and pressure is essential for the success of this effective detection method. The reproducibility of this methods is not completely clear

I have stated the perfusion time and pressure of the contrast agent in the protocol. Regarding the perfusion time of the contrast medium, the time differs depending on whether it is artery-specific, or if all arteries and veins are visualized; the locations to be confirmed are therefore specified for each.

Minor Concerns:
none

Reviewer #2:
Manuscript Summary:
Seya et al. reported a method of computed tomography-based 3D visualization of murine hindlimb vessels which would be applicable for the evaluation of abdominal vessels. The reviewer requests the authors to address several concerns as shown below.

I apologize for the inadequate description initially provided. I would like to thank you for your careful peer review, allowing us to understand what information should be provided to our readers. I have revised the manuscript, and the changes are shown in red. I also attached the non-marked version of the revised manuscript.

Major Concerns:
1. Most important and possible failure of the reported method would be a wrong interpretation of the obtained data which is affected by the quality of each procedure. If we see signal defect in a vessel, how can we tell whether it is actually stenosed or occluded, or it is due to the failure of procedure due to bubble formation or insufficient filling of the contrast reagent? Please clarify this point in the Discussion section.

This is a very important point; as indicated, while our method is useful for assessing increased vessels—such as collateral circulation—it is difficult to assess decreased vessels, especially stenosis. By keeping the perfusion pressure constant, it is possible to perform evaluations under conditions as uniform as possible; however, since the perfusion pressure in each blood vessel also changes with the morphology of the blood vessel itself, it is not possible to completely unify the system. I added this point as a limitation in the revised manuscript (lines 296-300).

2. Perfusion pressure of vasodilator and contrast reagent would be important for successful and sufficient perfusion. How the authors determine 13-15 kPa as adequate? Is it almost equivalent with arterial blood pressure of mice?

Certainly, perfusion pressure and time are both particularly important factors, a point examined in the JoVE paper by Weyer et al. (Ref. 5). They reported that pressures of 13–15 kPa were close to the arterial pressure, and was appropriate. I confirmed that the same pressure allowed filling of the contrast agent without damaging the blood vessels. In the revised manuscript, the cited paper and perfusion pressure are specified (lines 98-99 and 149-150).

3. The authors should mention about the spec of used CT scanning machine used in Figure 2 which would provide meaningful information for readers.

Since the protocol differs greatly depending on the CT device, it was not described in the protocol at the time of posting; however, as indicated, it is easier to understand with a description. I added a CT imaging protocol using our CT device as an example in the revised version (lines 192-213).

4. Please provide more information about the cases of failure such as leak of the contrast reagent or rupture of vessels if happens. Please also provide information how to manage them.

In addition to the areas highlighted in Major concern 1, I decided that it would be advantageous to add a diagram related to troubleshooting. Accordingly, I added and compared a case where nonconstrast material was mixed to Figure 2G and H.

Minor Concerns:
1. Line 80: "B6 mice" is "C57BL/6" mice?

Yes, I have corrected it to C57BL/6 (line 103).

2. Table of Materials: "スポイト" should be written in English.

I apologize for the Japanese text; I have rechecked the manuscript, and added all necessary materials.

Reviewer #3:
Manuscript Summary:
This is an interesting method for investigating the vessels in 3-dimensional murin hind limb. But I have som minor concerns.
	I appreciate your critical feedbacks. I have revised the manuscript, and the changes are shown in red. I also attached the non-marked version of the revised manuscript.

Concerns:
Do you have to decapitate the mice, not allowed in our ethical role, and we need to push for it if using it, is it possible to only take the neck or bleed out the mice.

Thank you for highlighting this important point. I have clarified in the protocol that euthanasia was followed by decapitation (line 117). I also indicate that the protocol was approved by our Institutional Review Board (lines 85-88).

Have do you managed to get a consistent pressure, are there any method for keeping a consistent pressure?

This point was examined in the JoVE paper by Weyer et al. (Ref. 5), who invented the perfusion apparatus. I confirmed that this apparatus allowed us to perfuse fixation and vasodilating solution at a constant pressure. In the revised manuscript, both the cited paper and perfusion pressure are specified (lines 98-99 and 149-150).

Could you explain mor about the contrast medium, where to buy it or what is in it?

I have added detailed information regarding the contrast medium to the revised Table of Materials. I plan to record the preparation of contrast in the video.

How do you visualise this in CT?

Since the protocol differs greatly depending on the CT device used, it was not described in the protocol at the time of posting; however, as highlighted, it is easier to understand with a description. Therefore, in the revised version, I have added a CT imaging protocol using our CT device as an example (lines 192-213).

Reviewer #4:

I thank you for important feedbacks. I have revised the manuscript, and the changes are shown in red. I also attached the non-marked version of the revised manuscript.

1. The model of Micro-CT machine and the scanning and analysis methods of micro-CT used in this protocol should be described.

Since the protocol differs greatly depending on the CT device used, it was not described in the protocol at the time of posting; however, as highlighted, it is easier to understand with a description. Therefore, in the revised version, I have added a CT imaging protocol using our CT device as an example (lines 192-213).

2. If researchers want to visualize and analyze the micro-vessels in bone and bone marrow, how to operate?

Thank you for your advice. This is a very important point; since the CT value of bone is higher than the contrast medium used in this experiment, it is difficult to identify blood vessels inside or near the bone. I added this problem as a limitation (line 299-300).

3. There are some mistakes In the Table of Materials. It's "Microfil Injection Compounds", not "Microfil Injection Compaunds", and the company producing Microfil Injection Compounds is "Flow Tech, Inc.". In addition, what's the material or equipment spelt in Japanese? An English name should be used to represent it.
4. Language editing is required.

I apologize for the Japanese text in the manuscript, as well as the linguistic inadequacy of the treatise. The revised manuscript underwent professional English proofreading.