## Table 3
MES | Stock (mM) | 2.4x solution | Volume to pipette (µL)
HEPES pH 8 | 2000 | 60 | 30
NTP | 25 | 7.2 | 288
Amino acids | 6 | 2.4 | 400
Mg-glutamate | 1000 | 9.6 | 9.6
K-glutamate | 4000 | 360 | 90
PEG 6000 | 40 | 2.4 | 60
3PGA | 1400 | 72 | 51.4
ddH2O |  |  | 71
Total volume (µL) |  |  | 1000
Note: Amino acids, K-glutamate, and PEG 6000 can be omitted but expect reduced activity.
SMM | Stock (mM) | 2.4x solution | Volume to pipette (µL)
HEPES pH 8 | 2000 | 60 | 30
NTP | 25 | 2.4 | 96
Amino acids | 6 | 2.4 | 400
Mg-glutamate | 1000 | 9.6 | 9.6
K-glutamate | 4000 | 360 | 90
PEG 6000 | 40 | 2.4 | 60
3-PGA | 1400 | 72 | 51.4
G6P | 1000 | 12 | 12
PVSA (mg/mL) | 1000 | 12 | 12
ddH2O |  |  | 239
Total volume (µL) |  |  | 1000
Aliquot 50 µL aliquots and store at -80 °C
Troubleshooting:
We have provided instructions for making 1 mL of MES/SMM, which minimizes pipetting error and reduces freeze-thaw cycles of stocks.
100 µL (1/10 volume) MES/SMM aliquots can be prepared to initially validate the protocol.
If activity is low, optimization of the Mg-glutamate and K-glutamate levels may be required between cell extract batches. This is a guideline that existing TX-TL/CFPS protocols recommend performing.