- 63025_screenshot_1

- 2.3.1. (Click Ar Supply, increase argon pressure, turn on the [18F]fluoride pushing line) 00:02-00:12

- 63025_screenshot_2

- 2.5.1. (Turn off the [18F]fluoride pushing line, decrease the argon pressure to zero, switch the six-port two-position valve from the [18F]fluoride trapping position to the elution position) 00:02-00:13

- 63025_screenshot_3

- 2.6.2. (Turn on the input MVP position 1 argon line) 00:01-00:07

- 63025_screenshot_4

- 2.6.4. (switch the [18F]fluoride elution position to the trapping position) 00:01-00:07

- 63025_screenshot_5

- 2.7.1. (Click the Heat button, turn on the output MVP position 4 argon line) 00:01-00:10

- 63025_screenshot_6

- 2.8.1. (Click the Cool button, click the Off button when the temperature reaches room temperature, turn off the sweeping line, and switch the input MVP from position 1 to position 2) 00:01-00:21

- 63025_screenshot_7

- 2.8.3. (Turn on the sweeping line, turn off the heater) 00:01-00:06

- 63025_screenshot_8

- 2.9.1. (Turn off the sweeping line, switch the input MVP position 2 to position 3) 00:01-00:09

- 63025_screenshot_9

- 2.10.2. (Turn off the sweeping line, switch the input MVP from position 3 to position 4) 00:01-00:11

- 63025_screenshot_10

- 2.12.1. (Switch the input MVP from position 4 to position 5, then turn off the input MVP argon line) 00:01-00:10

- 63025_screenshot_11

- 2.13.1. (Click the F button in the output MVP and switch the venting position 4 to position 5) 00:02-00:09

- 2.13.2. (Click the F button in the input MVP, and switch the input MVP from position 5 to position 6) 00:10-00:17

- 63025_screenshot_12

- 2.15.1. (Switch the output MVP from position 5 to position 6) 00:01-00:09

- 63025_screenshot_13

- 2.16.1. (Switch the HPLC loop from injection to load position, and turn on the input MVP argon line) 00:01-00:11

- 63025_screenshot_14

- 2.17.1. (Switch the load button to inject, click Inject HPLC, click the HPLC monitor, and record the HPLC chromatogram) 00:01-00:14

- 63025_screenshot_15

- 2.18.1. (Click the diversion MVP button) 00:02-00:06

- 63025_screenshot_16

- 2.19.1. (Switch the four-port two-position diversion valve to the waste collection position, indicate a flow rate of 4 mL/min with the cursor) 00:02-00:13

- 63025_screenshot_17

- 2.20.1. (Click the diversion MVP button, and indicate a flow rate of 3 mL/min with the cursor) 00:01-00:11