Editorial comments:
Changes to be made by the Author(s):

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

Response: Done.

2. Please reword the title to focus on the technique being presented and not the tool used. Also please do not use abbreviations in the title. Title should directly reflect the steps being presented in the video.

Response: We have changed our title to “Stereotaxic Viral Injection and Gradient-index Lens Implantation for Deep Brain In vivo Calcium Imaging” to better reflect the steps being presented in the video.

3. Please define all abbreviations before use. For example: PTFE

Response: Done.

4. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials. For example: betadine, Hamilton syringe, Neosporin Dumont #5/45 forceps, GRINTECH, superglue, METABOND, Catalyst, NeuView software, Point Grey FlyCap2, etc.

Response: Done.

5. Please use similar formatting for Miniscope throughout: Miniscope vs miniScope

Response: We use “miniscope” throughout in the manuscript.

6. Please include citations for the statements in paragraph 4 of introduction, lines 73 - 82.

Response: We have included citations. Please see line 101-102.

7. Please move the ethics statement before the numbered protocol steps, indicating that the protocol follows the animal care guidelines of your institution.9. Please revise the protocol text to avoid the use of any personal pronouns (e.g., "we", "you", "our" etc.).

Response: We have moved the ethics statement before the numbered protocol steps. Please see lines 141-142. We have revise our protocol to remove all personal pronouns.

8. The Protocol should be made up almost entirely of discrete steps without large paragraphs of text between sections. Please simplify the Protocol so that individual steps contain only 2-3 actions per step. For example: Protocol step 1.2, 1.3, 1.8, 2.13, 2.15, 3.1, etc.

Response: We have simplify the protocol so that each individual step contains only 2-3 actions.

9. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed?

Step 1.2: How do you study the respiration? Do you also check for the lack of pedal reflexes?

Response: Please see line 159-160: “Place the mouse in the induction chamber with 5% isoflurane and 1 liter/min oxygen flow rate. Carefully watch and count the mouse’s respiratory rate. Take out the mouse once its respiratory rate decreases to 1 breath per second.”

We do not check the pedal reflex in this step, since this step is just preparing for shaving hairs. We check the pedal reflex before surgery step—please see line 170-171.

Step 1.4 / 2.4: Do you perform 3 rounds of iodine-based scrub and ethanol for disinfection? How big is the incision?

Response: Yes, we do perform 3 rounds of iodine-based scrubs. Please see lines 173-174 and also lines 522-523.

Step 1.8-1.9: Which virus is injected in your case -please include this detail somewhere in the protocol or the result section? What is the MOI of infection? What is the concentration of the virus used?

Response: We have now included the information of virus, titer and injection concentration in our protocol—please see lines 257-259.

Step 1.11: Please include the suture size.

Response: We have included suture size, please see lines 419-420.

Step 2.11: Please include the flow rate.

Response: We have now included this information, please see lines 616-617.

Step 2.12: Please include all the button clicks, command lines, etc. in the software. If using long scripts and long command, please include as supplementary file. We need actions to show how the software is used.

Response: We have rewritten this part of protocol to include more details for software. Please see lines 623-1018. We also added Figure 3 and Figure 4, so readers can see the real interfaces of software during different steps.

Step 2.14: Do you let agarose dry before removing extra agarose?

Response: We do need to wait for agarose forming a gel before removal of extra agarose. Please see lines 1028-1030.

Step 3.4.3: Is NeuView software open access? If not please move the commercial term to the table of materials and use a generic term instead. Details about obtaining the software can be moved to the acknowledgment section.

Response: Yes, NeuView is open access.

Step 4.1.3.: What is the best focal plane in this case?

Response: The best focal plane is determined by comparing several possible locations and identify the focus plane with a clear visualization of most cell bodies. We have included this information – please see lines 1456-1457.

10. Note under 2.9: Is AutoStereota open access? If not please use generic term. Details about the robotic arm can be placed in the acknowledgment section.

Response: Yes, AutoStereota is open access.

11. Software steps must be more explicitly explained ('click', 'select', etc.). Please add more specific details (e.g., button clicks for software actions, numerical values for settings, etc.).

Response: We have modified our protocol to include more detail for software. We also added Figure 3 and Figure 4, so readers can see the real interfaces of software during different steps.

12. Please highlight up to 3 pages of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.

Response: Done.

13. Please ensure that the highlighted steps form a cohesive narrative with a logical flow from one highlighted step to the next. Please highlight complete sentences (not parts of sentences). Please ensure that the highlighted part of the step includes at least one action that is written in imperative tense.

Response: Done.

14. Please reference the movie file in the representative result section.

Response: Done.

15. As we are a methods journal, please revise the Discussion to explicitly cover the following in detail in 3-6 paragraphs with citations:
a) Critical steps within the protocol
b) Any modifications and troubleshooting of the technique
c) Any limitations of the technique
d) The significance with respect to existing methods
e) Any future applications of the techniques

Response: We rewrote our discussion and covered the above contents in detail. Please see lines 2384 - 2507.

16. Please do not abbreviate the journal titles in the reference section.

Response: We have reformatted our reference section with full journal titles.

17. Please ensure that the Disclosures section, provides information regarding the authors’ competing financial interests or other conflicts of interest. If authors have no competing financial interests, then a statement indicating no competing financial interests must be included.

Response: Done.

18. Figure 2B: Please zoom the figure to avoid showing the face of the mouse.
Response: Done.

Reviewers' comments:

Reviewer #1:
Manuscript Summary:
In this manuscript, Thapa, Liang and Li describe a detailed protocol for in vivo calcium imaging from behaving mice using custom-made miniature head-mount microscope. They used two custom-made equipments; miniScope, a miniature microendoscope system, and AutoStereota, a robotic micromanipulator system. The protocol is well described in detail and also worth for those who do not use these equipments. I think this paper is suitable for publication in JOVE. I have a few comments below.

Major Concerns:
1) In my experience, aspiration of brain tissue at exact depth is not an easy task. Thus the use of robotic tool will greatly help researchers. I would like to see the automated aspiration process in detail.

Response: We would like to thank this reviewer’s comments. We have rewritten the protocol to include aspiration steps in more detail. We will clearly demonstrate these steps in video.

2) According to the PubMed results, miniScope is not so popular than Inscopix or UCLA miniscope. People in this field would want to know the merit of miniScope. Please add a table comparing the specifications of miniature microscopes currently available.

Response: We would like to thank this reviewer’s suggestions. We have included a table (Table 1) to compare the specifications of current available miniscopes. We would like to point out that the scope of current protocol is to focus on brain surgeries including GRIN lens implantation. It is worth noting that once the GRIN lens is implanted, one can use any type of optical imaging system to acquire fluorescent images, including any type of commercial or custom-built single-photon and two-photon imaging systems. Therefore while comparison of different miniscope options is useful for readers to see, the GRIN lens surgical procedures provided by our protocol will have greater application in neuroscience research than just miniscope technology.

3) Many people feel difficulty with data analysis rather than the surgery and recording. If the authors explain visually the process of data analysis (calcium imaging movie to single cell trace), it would be valuable for the rest of us.

Response: We thank this reviewer for pointing out the importance of data analysis. It is true that data analysis is not easy. However, as we stated above, the focus of current protocol is the surgery steps for in vivo calcium imaging. Again, once GRIN lens is implanted, fluorescent images can be acquired through any type of fluorescent microscope, not just miniscope technology. There is no enough room to include detailed data analysis steps in the current protocol. We feel that data analysis part should form a separated protocol article to better help the readers. We will be happy to put together a separate paper focusing on data analysis in the future to help readers in this area.

Reviewer #2:
Manuscript Summary:
In this manuscript by Thapa et al., the authors provided a protocol for in vivo calcium imaging within the cortex in freely behaving, mice. The protocol is very detailed from virus injection to calcium transient recording. My main issue is that there a few protocols describing calcium imaging using microendoscopes as this one. This doesn't detract from the usefulness of this protocol, but it would be beneficial to see what this protocol offers over others in the introduction/abstract. This would increase the usefulness of the protocol. Otherwise, I just have a few small points, that would improve an otherwise solid protocol paper.

Major Concerns:
The authors describe this protocol for use studying the calcium dynamics of neural circuit elements and use the cortex as their example. It would help to see an example of a deep brain structure to improve the impact of the protocol. In lieu of that, the authors can add additional steps to:
1. Stereotaxic injection of virus into the mPFC
2. GRIN lens implantation in the mPFC

Response: We would like to thank this reviewer’s comments. As stated in our response to reviewer #1’s comments, once GRIN lens is implanted into mouse brain, it is compatible with not only miniscope recording systems but also any single-photon and two-photon fluorescent imaging systems, for any regions of deep brain in vivo calcium imaging. We have included other deep brain structure examples in our protocols. Please see lines 243-245, lines 268-270, also lines 1017-1018.

I think it would helpful if Figure 1 included picture of the main equipment needed for calcium imaging in these experiments (GRIN lens, miniscope, etc).

Response: We would like to thank this reviewer’s suggestions. We have added pictures of all essential components in revised Figure 2.

The authors provided a video displaying real time calcium. Although, a full length video documenting the procedure will be part of an accepted manuscript, it would helpful for a couple short demonstration videos describing affixing the miniscope holder to the skull and miniscope mounting

Response: We will include the steps of affixing holder to the skull and miniscope mounting in the video.