## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
0.45 µm and 0.22 µm syringe filters | Millipore Sigma | SLHVM33RS SLGVR33RS | Filter lysate before first purification step and before size exclusion chromatography.
100 mm Petri Dish | Fisher | FB0875713 | Agar plates for bacterial transformation.
14N Ammonium chloride | Sigma Aldrich | 576794 | Use of 15N in M9 medium will produce an NMR visible protein, 14N will produces an NMR invisible protein
15N Ammonium chloride | Sigma Aldrich | 299251 | Use of 15N in M9 medium will produce an NMR visible protein, 14N will produces an NMR invisible protein
3 L Fernbach baffled flask | Corning | 431523 | Bacterial expression culture
3-Maleimido-Proxyl | Sigma Aldrich | 253375 | Nitroxide spin label
50 mL conical centrifuge tubes | Thermo Fisher | 14-432-22 | Solution/protein storage
Amicon centrifugal filter | Millipore Sigma | UFC900308 | Protein concentration
Ampicillan | Sigma Aldrich | A5354 | Antibiotic for a selective marker, exact choice depends on the expression construct plasmid
Analytical balance | Oahus | 30061978 | Explorer Pro, for weighing reagents
Ascorbic acid | Sigma Aldrich | AX1775 | Reduces nitroxide spin label
Autoclave |  |  | Sterilize glassware and culture media
Calcium chloride | Sigma Aldrich | C4901 | M9 media component
Centrifuge bottles | Thermo Fisher | 010-1459 | Harvest E. coli cells after recombinant protein expression
Centrifuge, hand-crank | Thomas Scientific | 0241C68 | Boekel hand-driven, low-speed centrifuge with 15 mL buckets that can accommodate NMR tubes
Chelex 100 | Sigma Aldrich | C7901 | Remove contaminating paramagnetic compounds from buffer solutions
Computer workstation |  |  | Linux or Mac OS compatable with NMR data processing and analysis software packages such as NMRPipe and Sparky
Deuterium oxide | Sigma Aldrich | 151882 | Needed for NMR lock signal
Dextrose | Sigma Aldrich | D9434 | M9 media component
Dibasic Sodium Phosphate | Sigma Aldrich | S5136 | M9 media component
Ellman's reagent (5,5-dithio-bis-(2-nitrobenzoic acid) | Thermo Fisher | 22582 | Quantification of free cystiene residues
High speed centrifuge tubes | Thermo Fisher | 3114-0050 | Used to clear bacterial lysate.
High-field NMR instrument (600 - 800 MHz) | Bruker |  | Equiped with a multichannel cryogenic probe and temperature control
IMAC column, HisTrap FF | Cytvia | 17528601 | Initial fractionation of crude bacterial lysate
Isopropyl B-D-thiogalactoside (IPTG) | Sigma Aldrich | I6758 | Induces protein expression for genes under control of lac operator
LB agar | Thermo Fisher | 22700025 | Items are used for transforming E. coli to express protein of interest, substitions for any of these items with like products is acceptable.
LB broth | Thermo Fisher | 12780052
Low-pressure chromatography system | Bio-Rad | 7318300 | BioRad BioLogic is used for low-pressure chomatograph such as running IMAC columns
Magnesium sulfate | Sigma Aldrich | M7506 | M9 media component
Medium pressure chromatography system | Bio-Rad | 7880007 | BioRad NGC equipped with a multi-wavelength detector, pH and conductivity monitors, and automatic fraction collector
MEM vitamin solution | Sigma Aldrich | M6895 | M9 media component
Microfluidizer | Avestin | EmulsiFlex-C3 | Provides rapid and efficient bacterial cell lysis
Micropipettes | Thermo Fisher |  | Calibrated set of micropippetters with properly fitting disposable tips (available from multiple manufacturers e.g. Eppendorf)
Monobasic potassium phosphate | Sigma Aldrich | 1551139 | M9 media component
NMR pipettes | Sigma Aldrich | 255688 | To remove sample from NMR tube
NMR sample tube | NewEra | NE-SL5 | Suitable for high-field NMR spectrometers
Preparative Centrifuge | Beckman Coulter | Avanti J-HC | Harvest E. coli cells after recombinant protein expression
Round bottom polystyrene centrifuge tubes | Corning | 352057 | Clear bacterial lysate
Shaking incubator | Eppendorf | S44I200005 | Temperature controlled growth of E. coli starter and expression cultures
Sodium chloride | Sigma Aldrich | S5886 | M9 media component
Sonicating water bath and vacuum source | Thomas Scientific |  | Used to degas buffer solutions
Sonicator | Thermo Fisher | FB505110 | Used for bacterial cell lysis or shearing bacterial DNA
Spectrophotometer | Implen | OD600 Diluphotometer | Monitor growth of E.coli protein expression cultures
Superdex 200 16/600 size exculsion colum | Cytvia | 28989333 | Final protein purification step
Topspin software, version 3.2 or later | Bruker |  | Operating software for the NMR instrument
Transformation competent E. coli cells | Thermo Fisher | C600003 | One Shot BL21 Star (DE3) chemically competent E. coli, other strains may be compatable
Tris(2-carboxyethyl)phosphine (TCEP) | ThermoFisher | 20490 | Reducing agent compatable with some sulfhydryl-reactive conjugations
UV-Vis spectrophotometer | Implen | NP80 | Measure protein concentration.
Water bath, temperature controlled | ThermoFisher | FSGPD25 | For heat shock step of bacterial transformation
Yeast extract | Sigma Aldrich | Y1625 | For supplementing M9 media if required

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=