## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Nasal brush | Medical Packaging CYB1 | CYB-1 | Length: 8 inches, width approximately 7 mm
Large-Orifice Pipette Tips | ThermoFisher Scientific | 02-707-141 | Large bore pipette tips
Accutase | ThermoFisher Scientific | A1110501 | Cell detachment solution
0.05% trypsin -EDTA | Gibco | 25300-054
Trypsin inhibitor from soybean | Sigma | T6522 | Working solution: 1mg/mL in 1XDPBS
Matrigel matrix | Corning | 356255 | Extracellular matrix (EM)
µ-Slide Angiogenesis | Ibidi | 81506 | 15-well slide
24-Well Transwell | Corning | 7200154 | Culture insert
Chambered Coverglass | ThermoFisher Scientific | 155409 | 8-well glass-bottom chamber slides
Cell-Tak Cell and Tissue Adhesive | ThermoFisher Scientific | 354240 | Cell adhesive
Paraformaldehyde | Electron Microscopy Sciences | 50980487
Triton X-100 | Alfa Aesar | A16046
BSA | ThermoFisher Scientific | BP1600-100
NucBlue | ThermoFisher Scientific | R37605 | DAPI
Eclipse Ts2-FL (Inverted Routine Microscope) | Nikon |  | Inverted epi-fluorescence microscope or bright-field microscope
Nikon A1R-HD25 | Nikon |  | Confocal microscope
NIS Elements- Basic Research | Nikon |  | manual imaging analysis software
Histogel | ThermoFisher Scientific | HG-4000-012
Disposable Base Molds | ThermoFisher Scientific | 41-740
Lionheart FX | BioTek | BTLFX | Automated image system
Lionheart Cover | BioTek | BT1450009 | Environmental Control Lid
Humidity Chamber | BioTek | BT1450006 | Stage insert (environmental chamber)
Gas Controller for CO2 and O2 | BioTek | BT1210013 | Gas controller
Microplate/Slide Stage Insert | BioTek | BT1450527 | Slide holder
Gen5 Imaging Prime Software | BioTek | BTGEN5IPRIM | Automated imaging analysis software
4x Phase Contrast Objective | BioTek | BT1320515
10x Phase Contrast Objective | BioTek | BT1320516
LED Cube | BioTek | BT1225007
Filter Cube (DAPI) | BioTek | BT1225100 | DAPI
CFTRinh-172 | Selleck Chemicals | S7139
Forskolin | Sigma | F6886
IBMX | Sigma | I5879
Expansion Media
DMEM | ThermoFisher Scientific | 11965
F12 Nutrient mix | ThermoFisher Scientific | 11765
Fetal Bovine Serum | ThermoFisher Scientific | 16140-071
Penicillin/Streptomycin | ThermoFisher Scientific | 15-140-122
Cholera Toxin | Sigma | C8052
Epidermal Growth Factor (EGF) | ThermoFisher Scientific | PHG0314
Hydrocortisone (HC) | Sigma | H0888
Insulin | Sigma | I9278
Adenine | Sigma | A2786
Y-27632 | Stemgent | 04-0012-02
Antibiotic Media
Ceftazidime | Alfa Aesar | J66460-03
Tobramycin | Alfa Aesar | J67340
Vancomycin | Alfa Aesar | J67251
Amphotericin B | Sigma | A2942
Differentiation Media
DMEM/F-12 (1:1) | ThermoFisher Scientific | 11330-32
Ultroser-G | Pall | 15950-017
Fetal Clone II | Hyclone | SH30066.03
Bovine Brain Extract | Lonza | CC-4098
Insulin | Sigma | I-9278
Hydrocortisone | Sigma | H-0888
Triiodothyronine | Sigma | T-6397
Transferrin | Sigma | T-0665
Ethanolamine | Sigma | E-0135
Epinephrine | Sigma | E-4250
O-Phosphorylethanolamine | Sigma | P-0503
Retinoic Acid | Sigma | R-2625
Primary antibodies
Human CFTR antibody | R&D Systems | MAB1660 | Dilution: 100x
ZO-1 antibody | Thermo Fisher | MA3-39100-A647 | Dilution: 1000x
Anti-MUC5B antibody | Sigma | HPA008246 | Dilution: 100x
Anti-acetylated tubulin | Sigma | T7451 | Dilution: 100x
Anti-beta IV Tubulin antibody | Abcam | Ab11315 | Dilution: 100x
Secondary antibodies
Donkey anti-Mouse IgG (H+L), Alexa Fluor 488 | Invitrogen | A21202 | Dilution: 2000x
Donkey anti-Rabbit IgG (H+L), Alexa Fluor 594 | Invitrogen | A21207 | Dilution: 2000x