Formulas to calculate oxygen consumption, CO2 production, and energy expenditure

- Oxygen consumption (VO2, Subject = Vi O2i - Vo O2o)

- CO2 production (VCO2, Subject = VoCO2o – ViCO2i).

where Vi = volume input airflow (mL),

Vo = volume output airflow (mL),

O2i = the input O2 concentration,

O2o = the output O2,

CO2i = the input CO2 concentration,

CO2o = the output CO2.

VO2, Subject, and VCO2, Subject values are automatically corrected by the software for body weight or lean mass in Kg.

- Energy expenditure (EE) or Heat production in calories per minute per mouse are obtained by multiplying CV * VO2 Subject.

CV = calorific value is derived from Graham Lusk's empirical table, to generate the following formula:

CV = 3.815 + 1.232 * RER (respiratory exchange ratio).