Response to the editor’s comments on JoVE63068:

"In-situ visualisation of axon growth and growth cone dynamics in ex-vivo embryonic brain slice cultures"

We thank the editors for their constructive criticism on our manuscript, which indeed

helped improve it. In the following, we address the editors’ comments.

- The editors made several comments regarding checking rewarded sentences.

All these sentence restructures have been checked/edited. All changes can be tracked in the revised manuscript

- The step numbers are changed as per the journal style. Please check.

Step numbers throughout the manuscript have been checked/edited, including step numbers referred to within the text.

- The highlighted steps identify the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. The highlighting should be restricted to 3 pages of the Protocol including headings and spacings. However, in the present version, the highlighting exceeds 3 pages (4.5 pages). Please check/edit. Please ensure that there is a logical flow from one highlighted step to the next and is in line with the Title of the manuscript.

Highlighted content within the manuscript have been edited to comply with the 3-page limit.

To aid the editor, besides the track changes in the document we include below a point-by-point summary of all the modifications in this revised version.

- Line 95. Can this be specified? The type/sequence?

Different DNA plasmids were prepared, and here we refer to them in general. All plasmids used are now individiually mentioned in figure 1, and table 1. Addgene deposit numbers for these plasmids are also noted in table of materials.

- Line 95 How this is ensured?

The commercial DNA purification kit utilized here includes an step where a specific buffer (formulation non-disclosed) is used to remove contaminating bacterial endotoxins. This kit is advertised by the company to result in purified endotoxin-free DNA. Therefore, no additional steps were taken in this protocol to further ensure this.

- Line 98. Could you please specify the conc?

Concentration of DNA plasmids used is now mentioned in table 1.

- Editor made this new table with the plasmid details. Please check/edit if needed.

Table created by editors have been checked/ edited

- Line 107. Please mention the units.

There are no units associated to these numerical values. They are indeed arbitrary units reflecting a position in a range of values from a "Ramp test" rather than unit-defined. That is why these values are typically reported in a unitless way in the literature.

The reason is that these values are defined by the specific properties of the heating filament used which can vary from devise to devise even within the same devise manufacturer.  Therefore the above values must be individually calibrated by the end user for each devise by performing a Ramp test.

- Lines 136-137. How this takes place?

the equilibration of the media's pH is caused by acidification of the media by the CO2 from the incubator.

- Line 204-205. Please specify the dimension

Dimension of hole in gauze added. The sentence now reads “Cut a hole in the middle of the gauze sufficiently wide to fit the skin incision (approximately 2 cm in diameter), soaked it with warm saline, and place it around the abdominal”.

- Line 262. Please mention the equipment/set-up where these parameters will be applied

Information on equipment used for this part of the experiment is added to lines 264-265 and table of materials. The sentence now reads " Apply 5 pulses at 30 mV with an interval of 1 s and a duration of 50 ms using a square wave pulse generator.”

- Lines 224-225. Please provide a NOTE mentioning why this step is performed.

Note added to lines 227-229. It reads “NOTE: Here, the mother is euthanized under anesthesia to spare it from any further post-procedure pain or suffering in compliance with the protocol approved by the Animal Welfare Act of North Rhein-Westphalia State Environmental Agency (LANUV).”

- Line 243. Is it possible to mention which specific mix to be used here?

  - Information added. The step now reads “Carefully insert DNA/Fast Green-filled glass capillary through the embryo’s skull into the lateral ventricle and inject 2-3 µL of DNA plasmid mix (Figure 1A-B; Table 1) into each ventricle (Figure 2F).”

- Line 261. Please write the correct step numbers.

Step number added in the revised manuscript. The sentence now reads “If a bilateral electroporation is desired, repeat steps 5.3-5.4 with the cathode and anode mirroring the previous position to target the contralateral cortex.”

- Line 262. Why this is specifically targeted?

Since both ventricles were injected with DNA, cortices of both hemispheres were targeted.

- Please provide a brief NOTE regarding what are these. These will help the readers to understand better

NOTE added to the “ex utero electroporation” section where the terms were first mentioned in lines 246-248. It reads “NOTE: Use the lambdoidal and sagittal sutures as a guide for the location of DNA injection. The lambdoidal and sagittal sutures are fibrous joints connecting bone plate of the skull.  The formal joins the parietal bone with the occipital bone, and the lateral joins the two parietal bones.”

- Line 312-313. Any specific wavelength needed?

No specific wavelength is required for this step, any far-infrared warming light will be sufficient to keep the animal warm.

- Line 332. Can this be approximately quantified?

Information on gap size is added in the revised manuscript.

- Line 338. How to ensure that all the meninges pieces are removed?

It is not necessary to remove all the meninges, only loose pieces are removed.

- Line 344-345. How long these can be kept in ice?

Information regarding recommended length the brains are kept on ice are added to the revised manuscript. The step now reads “Repeat steps 7.1-7.6 for all embryos and keep the brains on ice (ideally no longer than 30 min) until the embedding step.”

- Line 403. Can this dimension be specified?

Dimension added. The step now reads “Using a fresh blade, make a large cut (approximately 2 x 2 cm) around the brain and remove a block of agarose containing the brain, with enough surrounding agarose to trim the agarose into a small rectangle block.”

- Lines 428-429. Please define the abbreviation

Abbreviation defined. The step now reads “Using clean spatulas, collect brain slices and place them on Polytetrafluoroethylene (PTFE) membrane, immobilized in a 35 mm glass-bottomed dish using paraffin (up to 5 brain slices/ membrane) (Figure 3L-M).”

- Line 478. Please ensure that the details of the primary and secondary antibodies are added in the table of materials.

Information on all antibodies used are added to the table of materials.

- Lines 556-557. Do you need to film this step?

The step does not need to be filmed. Highlight has been removed.

- The protocol doesn’t mention about vimentin staining.  Can few steps be included in the Protocol section regarding this? How was this done? Also please include the details of the nrcessary reagents in the table of materials

There is indeed a full section related to this staining “Immunohistochemistry” (447-490). Details about antibodies used and their concentrations are now added to the protocol section (page 497). In addition, all antibodies used were added to the table of materials.

- This Figure is missing. Please add

Figure is now added to the revised submission file.