## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Anaesthesia machine | RWD | R583S | Isoflurane vaporizer
Anesket | PiSA |  | Ketamine
Breadboard | Thorlabs | MB3090/M | Solid aluminum optical breadboard
Camera lense | Canon |  | 50mmf/ 1.4 manual focus lenses (c-mount)
Camera system | BrainVision | MiCAM02 | Camera controller and synchronizer
Cotton swabs
CS solution | PiSA |  | Sodium chloride solution 9%
Customized training chamber | In house
Drill bit #105 | Dremel | 2 615 010 5AE | Engraving cutter
Dustless precission chocolate pellets | Bio-Serv | F05301
Ethyl Alcohol | J.T. Baker | 9000-02 | Ethanol
Eyespears | Ultracell | 40400-8 | Eyespears of absorbent PVA material
Fluriso | VetOne | V1 502017-250 | Isoflurane
Glass capillaries | Drumond Scientific | 3-000-203-G/X | Pipettes for NanoJect II
Hidrogen peroxide | Farmacom |  | Antiseptic
High-speed camera | BrainVision | MiCAM02-CMOS | Monochrome high-speed cameras
Infrared emmiter | Teleopto
Insulin syringe
LED cannula | Teleopto | TelC-c-l-d | LED cannula 250um 487nm light
Micropipette 10 uL | Eppendorf | Z740436
Micro-pipette puller | Sutter | P-87 | Horizontal puller
Microscope LSM780 | Zeiss |  | Confocal microscope
Microtome
Mock receiver | Teleopto
NanoJect II | Drumond Scientific | 3-000-204 | Micro injector
Oxygen tank | Infra | na
pAAV-EF1a-double.floxed-hChR2(H134R)-mCherry-WPRE- HGHpA | Addgene | 20297 | Viral vector for ChR-2 expression
Parafilm
Paraformaldehyde | Sigma | P-6148
Phosphate saline buffer | Sigma | P-4417 | Phosphate saline buffer tablets
Pipette tips 10 uL | ThermoFisher | AM12635 | 0.5-10 uL volume
Pisabental | PiSA |  | Sodium pentobarbital
Plexiglass | commercial |  | Acrylic sheet
Povidone iodine | Farmacom |  | Antiseptic
Procin | PiSA |  | Xylacine
Puralube | Perrigo pharma | 1228112 | Eye lubricant 15% mineral oil/85% petrolatum
Rotary tool | Kmoon | Mini grinder | Standard
Scalpel
Scalpel blade
Stereotaxic apparatus | Stoelting | 51730D | Digital apparatus
Super-Bond C&B | Sun Medical |  | Dental cement
Surgical dispossable cap
Teleopto remote controller | Teleopto
Tg Drd1-Cre mouse line | Gensat | 036916-UCD | Transgene insertion FK150Gsat
Tissue adhesive | 3M Vetbond | 1469SB
TPI Vibratome 1000 plus | Peico |  | Microtome
Vectashield mounting media with DAPI | Vector laboratories | H-1200 | Mounting media
Wireless receiver | Teleopto | TELER-1-P

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=