## Sorted per type
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Aachener minipig, 6-months old, male, castrated, weight 15-25 kg | Carfil
Anesthesia and preparation
ECG electrodes
Endotracheal tube 6.5 mm ID | Covidien | 115-65OR
External cardioverter-defibrillator | Innomed | Cardio-aid 200B
Heating pad | OK. | OUB 60321
Intravenous catheter 22 GA, 1 Inch | BD | 381323
Laryngoscope blade size 4 | Miller | SUS426601
Monitor | GE Medical systems | 2600040-003
Respirator | Datex-Ohmeda | 1009-9000-000
Shaver | Aesculap | GT 104 / REF 985203
Syringe driver pump | Fresenius Kabi | 082470
Arterial and central venous line placement
3-lumen central venous catheterization set, 7 French, 16 cm, 0.032 Inch guide | Arrow medical | EU-22703-EN
Arteral catheter 3 French, 8 cm | Vygon | 115090
Caresite Luer access device | B. Braun | 415122-01
Fluids: IV bags of Plasmalyte, Glucose 5%, NaCl 0.9% (500 mL or 1000 mL)
heparinized saline
Needles: 18 Ga / 40 mm and 22 Ga / 40 mm
Pressure monitoring set, 195 cm | Edwards Lifesciences | T005021M
Pressure tubing 180 cm | Edwards Lifesciences | 50P172
suture with needle
Syringes Luerlok: 2 mL, 5 mL, 10 mL, 20 mL, 50 mL
Ultrasound gel | Zealand coating | 446-1
Ultrasound with vascular probe | Philips healthcare | EPIQ 7C / REF BZE1723
Surgical set
Blunt-tip surgical scissors | Martin | 11-934-25
60 degrees curved Debakey forceps | Aesculap | FB403
Anatomical forceps | AS | 13-102-16
Debakey forceps | Geister | 10-0634
Electrocautery module | Alsa | Alsatom SU 140/D MPC
Holders for stainless steel wire | COBE | 013-123
Mosquito | Leibinger | 32-01008
Needledriver, fine | Delacroix-Chevalier | 50302-21
Needledriver, normal | Aesculap | BM 77
Rib spreader | Martin | 24-178-01
Scalpel | Swann-Morton | 0511 | no. 24
Scissors for stainless steel wire | Jakobi | 411830
Spreaders | AS | 16-058-00
Sternum saw | Eure-Power | 5000020
Sternum saw blade | MicroAire | ZR-032M
Surgical consumables
Disinfectant: iodine, chlorhexidine
Electrocautery pencil with push button, cable 5 m | Dongguan QueenMed Equipment | ESPB4001LQ
Gastric tube | Vygon | 390.12
Mersilene-0, 75 cm | Ethicon | F2505H
Monocryl 3-0, 70 cm | Ethicon | Y423H
Mouth masks, hair nets
Oriflex-4 vacuum flask for surgical draining | Oriplast Krayer | VK00352
Prolene 6-0, 75 cm | Ethicon | 8711H
Stainless steel monofilament non-absorbable suture | Ethicon | W995
Sterile drapes | 3M | 9010
Sterile gauze 20 x 10 cm | Stella | 35921
Sterile gloves
Sterile surgical gown
Steritalc PF3 | Novatech | 16863
Vicryl-0, 75 cm | Ethicon | V324H
Cardiac pacing
Bipolar pacing lead Fineline II Sterox EZ 58 cm | Boston Scientific | 4474
Bipolar pacing lead Tendril STS 58 cm | Abbott | 2088TC
Ellegaard Göttingen Minipig Frame 3 | Lomir | DF H1PU
Ellegaard Göttingen Minipig Sling Cover | Lomir | SS CEG1
Micropace cardiac stimulator | Boston Scientific | EPS 320
Pacemaker for pacing | Medtronic | Azure XT DR MRI SureScan
Pacemaker for sensing | Biotronik | Eluna 8 DR-T
Pacemaker programmer for pacing | Medtronic | CareLink Encore 29901A
Pacemaker programmer for sensing | Biotronik | ICS 3000 DS CD-W US
Medication
Adrenaline 1 mg/mL, 1 mL | Sterop
Atropine 0.5 mg/mL, 1 mL | Sterop
Catapressan 150 µg/mL, 1 ml clonidine | Boehringer Ingelheim | BE021402
Cefazoline 2 g powder | Mylan | BE319794
Cordarone 50 mg/mL, 3 mL amiodarone | Sanofi
Durogesic 50 µg/h fentanyl patches | Janssen-Cilag
Glucose 5%, 500 mL | Baxter | AE0063
Ketalar 50 mg/mL, 10 mL | Pfizer | 804101
Lanoxin 0.25 mg/mL, 2 mL digoxine | Aspen
Marcaine 0.5% + adrenaline 1:200,000 | Aspen
Midazolam 5 mg/ml, 3 mL | B. Braun | 3521740
Morfine 10 mg/mL, 1 mL | Sterop
NaCl 0.9%, 500 mL | Baxter | AKE1323
Nitro Pohl 1 mg/mL, 5 mL nitroglycerine | Pohl Boskamp
Noradrenaline 1 mg/mL, 4 mL | Aguettant
Plasmalyte 1000 mL | Baxter | AKE0324
Propofol 10 mg/mL, 20 mL | B. Braun | 3521810
Protamine 1400 IU/mL, 5 mL | Leo pharma
Rapifen 0.5 mg/mL, 2 mL | Janssen-Cilag | 95103
Seloken 1 mg/mL, 5 mL metoprolol | AstraZeneca
Sevorane Quick Fill 100% sevoflurane, 250 mL | Abbvie | 1283-415
Tracrium 10 mg/mL, 5 mL atracurium | Aspen

## DV-IDENTITY-0 (hidden)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | AAAAAH384Q8=