## Table of Materials
Materials | Part Number | Distributor | Qty | Unit Cost (USD)
3 prong clams | 05-769-6Q | Fisher | 2 | 20
3,4-ethylenedioxythiophene (25 g) (PEDOT) | 96618 | Sigma-Aldrich | 1 | 102
353ND-T Epoxy (8oz)++ (ZIF and Wide Board Only) | 353ND-T/8OZ | Epoxy Technology | 1 | 48
Ag/AgCl (3M NaCl) Reference Electrode (pack of 3) | 50-854-570 | Fisher | 1 | 100
Autolab | PGSTAT12 | Metrohm
Blowtorch | 1WG61 | Grainger | 1 | 36
Carbon Fibers | T-650/35 3K | Cytec Thornel | 1 | n/a
Carbon tape | NC1784521 | Fisher | 1 | 27
Cotton Tipped Applicator | WOD1002 | MediChoice | 1 | 0.57
Delayed Set Epoxy++ | 1FBG8 | Grainger | 1 | 3
DI Water | n/a | n/a | n/a | n/a
Dumont Tweezers #5 | 50-822-409 | Fisher | 1 | 73
Flex Array** | n/a | MicroConnex | 1 | 68
Flux | SMD291ST8CC | DigiKey | 1 | 13
Glass Capillaries (pack of 350) | 50-821-986 | Fisher | 1 | 60
Glass Dish | n/a | n/a | 1 | n/a
Hirose Connector (ZIF Only) | H3859CT-ND | DigiKey | 2 | 2
Light-resistant Glass Bottle | n/a | Fisher | 1 | n/a
Micropipette Heating Filiment | FB315B | Sutter Instrument Co | 1 | n/a
Micropipette Puller | P-97 | Sutter Instrument Co | 1 | n/a
Nitrile Gloves (pack of 200) | 19-041-171C | Fisher | 1 | 47
Offline Sorter software | n/a | Plexon | 1 | n/a
Omnetics Connector* (Flex Array Only) | A79025-001 | Omnetics Inc | 1 | 35
Omnetics Connector* (Flex Array Only) | A79024-001 | Omnetics Inc | 1 | 35
Omnetics to ZIF connector | ZCA-OMN16 | Tucker-Davis Technologies | 1 | n/a
Pin Terminal Connector (Wide Board Only) | ED11523-ND | DigiKey | 16 | 10
Probe storage box | G2085 | Melmat | 1 | 2
Razor Blade | 4A807 | Grainger | 1 | 2
SEM post | 16327 | lnf | 1 | 3
Silver Epoxy (1oz)++ | H20E/1OZ | Epoxy Technology | 1 | 125
Silver GND REF wires | 50-822-122 | Fisher | 1 | 423.2
Sodium p-toulenesulphonate(pTS)- 100g | 152536 | Sigma-Aldrich | 1 | 59
Solder | 24-6337-9703 | DigiKey | 1 | 60
Soldering Iron Tip | T0054449899N-ND | Digikey | 1 | 13
Soldering Station | WD1002N-ND | Digikey | 1 | 374
SpotCure-B UV LED Cure System | n/a | FusionNet LLC | 1 | 895
Stainless steel rod | n/a | n/a | 1 | n/a
Stir Plate | n/a | Fisher | 1 | n/a
Surgical Scissors | 08-953-1B | Fisher | 1 | 100
TDT Shroud (ZIF Only) | Z3_ZC16SHRD_RSN | TDT | 1 | 3.5
Teflon Tweezers | 50-380-043 | Fisher | 1 | 47
UV & Visible Light Safety Glassees | 92522 | Loctite | 1 | 45
UV Epoxy (8oz)++ (Flex Array Only) | OG142-87/8OZ | Epoxy Technology | 1 | 83
UV Laser | n/a | WER | 1 | 30
Weigh boat (pack of 500) | 08-732-112 | Fisher | 1 | 58
Wide Board+ | n/a | Advanced Circuits | 1 | 3
ZIF Active Headstage | ZC16 | Tucker-Davis Technologies | 1 | 925
ZIF Passive Headstage | ZC16-P | Tucker-Davis Technologies | 1 | 625
ZIF* | n/a | Coast to Coast Circuits | 1 | 9