Screen Capture Videos: SUMMARY

Manuscript: #63102

- 63102_Screenshot_1

  - 4.1: Double-click the living software icon (00:00 – 00:06) and select a user ID from the drop-down list (00:06 – 00:17). Click Initialize (00:17 – 00:23).

- 63102_Screenshot_2

  - 4.1.1: Acquisition can include up to three imaging modes. You can choose two to create an overlay. Put a check next to Photograph and Luminescent. Set exposure time to “Auto” (00:00 – 00:08).

  - 4.1.2: Select a Field of View depending on how many animals you want to image simultaneously (00:08 – 00:14).

- 63102_Screenshot_3

  - 4.2.1: Manually set the filtering parameters. Set Binning to 16 and F/Stop to 2 (00:00 – 00:09). 
Information for the JoVE’s voiceover talent: You can pronounce F-Stop just as it is written. Or you can check: https://www.youtube.com/watch?v=KmNIouLByJQ

  - 4.2.2: Enter the subject height and make sure that the use subject height focus option is selected (00:09 – 00:22).

- 63102_Screenshot_4

  - 4.4.3: Click Acquire (00:00 – 00:06). Enter experiment and subject information in the dialog box that appears (00:06 – 00:44). When acquisition is finished, an image window appears (00:44 – 00:50).