## Slide 1
Power, Offset, and Gain Adjustments
Notes: STEP 4.1.2

## Slide 2
1. ND Acquisition Tab
2. Save to File
3. Save File under assigned Folder
Notes: STEP 4.2.1

## Slide 3
1. Symmetric Mode Defined by Range
2. Adjust focal plane
3. Select ‘Relative’
Notes: STEP 4.3.1

## Slide 4
Check box under ‘Close active Shutter’
Notes: STEP 4.4.1

## Slide 5
1. Correct Optical Configuration selected
2. Click ‘Run Now’
Notes: STEP 4.4.2

## Slide 6
Acquire and select ‘Scan Large Image’
Username
Notes: STEP 4.5.1

## Slide 7
Select optical button’s name and objective
Username
Notes: STEP 4.5.2

## Slide 8
Username
1. Set ROI boundaries
2. Select ‘Save large image to file’ and save to assigned folder
Notes: STEP 4.6.1 and 4.6.2

## Slide 9
1. Select ‘Multichannel Capture’
2. Select designated optical configuration
Notes: STEP 4.7.1

## Slide 10
1. Select Adjust, then Threshold
2. Check “Dark Background”
Notes: STEP 5.1.2

## Slide 11
Adjust threshold. Click “Apply”
Notes: STEP 5.2.1

## Slide 12
Draw ROI with MAP2 channel
Notes: STEP 5.3.1

## Slide 13
Draw ROI in slice
Notes: STEP 5.3.2

## Slide 14
Obtain ROI Area: Click Analyze, then Measure
Notes: STEP 5.4.1

## Slide 15
Obtain # Punta: Click Analyze, then Analyze Particles
Notes: STEP 5.5.1

## Slide 16
2. Check “Display results”
1. Click drop-down arrow. Select “Overlay Masks”
Notes: STEP 5.6.1

## Slide 17
Copy & paste results into spreadsheet
Notes: STEP 5.7.1

## Slide 18
Divide # puncta / ROI area for each image
Notes: STEP 5.7.2

## Slide 19
Divide each obtained result by average of all control samples
Average of all Control Samples
Notes: STEP 5.8.1