Screenshot Summary

Calibrating Seahorse

- Opening the desktop software on the computer

- Checking for connection status.

- Selecting the XF ATP Rate Assay template file under Templates.

- Selecting Group Definitions.

- Selecting Plate Map Layout and assigns the wells.

- Verify the instrument protocol, ensure that the compounds added are correctly listed, and include the project information for future references

- Clicking on Run Assay.

- Selecting the location to save the file, saving the file, and clicking on Start-Run.

- Appearance of “Load Cell Plate” dialog box

Setting up cell Imaging software for Bright field scan

- Checking the temperature in cell imaging software.

- Checking the connection status.

- Saving the name for cell plate

- Clicking on Perform Brightfield Scan

- Clicking on Close Tray.

- Clicking on Scan All Wells.

Running Seahorse assay

- Load Cell Plate dialog box appears.

- Clicking on Load Cell Plate.

After completion of assay

- Appearance of displays Unload Sensor Cartridge dialog box.

- Clicking on Eject

- Assay Complete dialog box appears

- Clicking on Results.

Setting up cell Imaging software for Bright field scan

- Selecting Fluorescence & Cell Count

- Clicking on Close Tray

- Selecting Scan All Wells.

- Reviewing the fluorescent images and cell counts in the imaging and cell imaging application in random wells.

- Exporting the images.

- Opening Results file and clicking on Normalize.

- Clicking on Import and selecting Apply.