TITLE:

The Application of Open Searching-based Approaches for the Identification of Acinetobacter baumannii O-linked Glycopeptides

AUTHORS:

Jessica M. Lewis1*, Pauline M. L. Coulon1*, Taylor A. McDaniels1*, Nichollas E. Scott1

1Department of Microbiology and Immunology, Peter Doherty Institute for Infection and Immunity, The University of Melbourne, Parkville, Victoria, Australia

*These authors contributed equally

Email addresses of co-authors:

Jessica M. Lewis				(jessica.lewis1@unimelb.edu.au)

Pauline M. L. Coulon				(pauline.coulon@unimelb.edu.au)

Taylor A. McDaniels				(tmcdaniels@student.unimelb.edu.au)

CORRESPONDING AUTHOR:

Nichollas E. Scott				(nichollas.scott@unimelb.edu.au)

KEYWORDS:

Glycosylation, Acinetobacter baumannii, Open searching, Posttranslational modifications, Proteomics.

SHORT ABSTRACT:

Open searching enables the identification of glycopeptides decorated with previously unknown glycan compositions. Within this article, a streamlined approach for undertaking open searching and subsequent glycan-focused glycopeptide searches are presented for bacterial samples using Acinetobacter baumannii as a model.

LONG ABSTRACT:

Protein glycosylation is increasingly recognized as a common modification within bacterial organisms, contributing to prokaryotic physiology and optimal infectivity of pathogenic species. Due to this, there is increasing interest in characterizing bacterial glycosylation and a need for high-throughput analytical tools to identify these events. Although bottom-up proteomics readily enables the generation of rich glycopeptide data, the breadth and diversity of glycans observed in prokaryotic species make the identification of bacterial glycosylation events extremely challenging.

Traditionally, the manual determination of glycan compositions required within bacterial proteomic datasets made this a largely bespoke analysis restricted to field-specific experts. Recently, open searching-based approaches have emerged as a powerful alternative for the identification of unknown modifications. By analyzing the frequency of unique modifications observed on peptide sequences, open searching techniques allow the identification of common glycans attached to peptides within complex samples. This article presents a streamlined workflow for the interpretation/analysis of glycoproteomic data, demonstrating how open searching techniques can be used to identify bacterial glycopeptides without prior knowledge of the glycan compositions.

Using this approach, glycopeptides within samples can rapidly be identified to understand glycosylation differences. Using Acinetobacter baumannii as a model, these approaches enable the comparison of glycan compositions between strains and the identification of novel glycoproteins. Taken together, this work demonstrates the versatility of open database-searching techniques for the identification of bacterial glycosylation, making the characterization of these highly diverse glycoproteomes easier than ever before.

INTRODUCTION:

Protein glycosylation, the process of attaching carbohydrates to protein molecules, is one of the most common posttranslational modifications (PTMs) in nature1,2. Across all domains of life, a range of complex machinery has evolved dedicated to the generation of glycoproteins that impact a myriad of cellular functions1,3-5. While protein glycosylation occurs on a range of amino acids6,7, Nlinked and Olinked glycosylation events are two dominant forms observed in nature. N-linked glycosylation involves the attachment of glycans to a nitrogen atom of asparagine (Asn) residues, while in Olinked glycosylation, the glycans are attached to an oxygen atom of serine (Ser), threonine (Thr), or tyrosine (Tyr) residues7. Despite the similarities in residues targeted by glycosylation systems, the differences within the glycans attached to proteins result in glycosylation being the most chemically diverse class of PTMs found in nature.

While eukaryotic glycosylation systems possess glycan diversity, these systems are typically restricted in the number of unique carbohydrates utilized. The resulting diversity stems from how these carbohydrates are arranged into glycans8-12. In contrast, bacterial and archaeal species possess virtually unlimited glycan diversity due to the sheer array of unique sugars generated within these systems2,10,13-17. These differences in the glycan diversity observed across domains of life represent a significant analytical challenge for the characterization and identification of glycosylation events. For eukaryotic glycosylation, the ability to anticipate glycan compositions has facilitated the growing interest in glycobiology; yet, the same is not true for bacterial glycosylation, which is still largely restricted to study by specialized laboratories. As the accessibility of mass spectrometry (MS) instrumentation has increased in the biosciences, MS-based approaches are now the primary method for glycoproteomic analysis.

MS has emerged as the quintessential tool for the characterization of glycoproteins, with both top-down and bottom-up approaches now commonly used to characterize glycoproteins6. While top-down proteomics is used to assess global glycosylation patterns of specific proteins18,19, bottom-up approaches are used to enable the glycan-specific characterization of glycopeptides, even from complex mixtures6,20-23. For the analysis of glycopeptides, the generation of informative fragmentation information is essential for the characterization of glycosylation events24,25. A range of fragmentation approaches is now routinely accessible on instruments, including resonance ion trap-based collision-induced dissociation (IT-CID), beam-type collision-induced dissociation (CID), and electron transfer dissociation (ETD). Each approach possesses different strengths and weaknesses for glycopeptide analysis25,26, with significant progress over the last decade in applying these fragmentation approaches to analyze glycosylation6,20. However, for bacterial glycosylation analysis, the critical limitation has not been the ability to fragment glycopeptides but rather the inability to predict the potential glycan compositions within samples. Within these systems, the unknown nature of diverse bacterial glycans limits the identification of glycopeptides even with glycosylation-focused searching tools now commonplace for the analysis of eukaryotic glycopeptides, such as O-Pair27, GlycopeptideGraphMS28, and GlycReSoft29. To overcome this issue, an alternative searching approach is required, with the use of open searching tools emerging as a powerful approach for the study of bacterial glycosylation 30.

Open searching, also known as blind or wildcard searching, allows the identification of peptides with unknown or unexpected PTMs21,30-32. Open searches utilize a variety of computational techniques, including curated modification searches, multistep database searches, or wide-mass tolerant searching33-37. Although open searching has great potential, its use has typically been hindered by the significant increase in analysis times and loss in sensitivity of the detection of unmodified peptides compared to restrictive searches31,32. The decrease in the detection of unmodified peptide-spectral matches (PSMs) is a result of the increased false-positive PSM rates associated with these techniques, which requires increased stringent filtering to maintain the desired false discovery rates (FDRs)33-37. Recently, several tools have become available that significantly improve the accessibility of open searching, including Byonic31,38, Open-pFind39, ANN-SoLo40, and MSFragger21,41. These tools enable the robust identification of glycosylation events by significantly reducing analysis times and implementing approaches to handle heterogeneous glycan compositions.

This article presents a streamlined method for the identification of bacterial glycopeptides by open searching, using the gram-negative nosocomial pathogen, Acinetobacter baumannii, as a model. A. baumannii possesses a conserved O-linked glycosylation system responsible for the modification of multiple protein substrates, known as the PglL protein glycosylation system42-44. While similar proteins are targeted for glycosylation between strains, the PglL glycosylation system is highly variable due to the biosynthesis of the glycan used for protein glycosylation being derived from the capsule locus (known as the K-locus)44-46. This results in diverse glycans (also known as a K-unit), derived from single or limited polymerized K-units, being added to protein substrates30,44,46. Within this work, the use of the open searching tool, MSfragger, within the software FragPipe, is used to identify glycans across A. baumannii strains. By combining open searching and manual curation, “glycan-focused searches” can be undertaken to further improve the identification of bacterial glycopeptides. Together, this multistep identification approach enables the identification of novel glycopeptides without extensive experience in the characterization of novel glycosylation events.

PROTOCOL:

NOTE: The preparation and analysis of bacterial glycopeptide samples can be divided into four sections (Figure 1). While many reviews and technique articles have focused on sample preparation and the enrichment of glycopeptides, the key focus of this article is the analysis and characterization of glycopeptides with unknown glycan compositions, using the open searching capabilities of MSFragger. For this study, the glycosylation was assessed within three sequenced strains of A. baumannii (Table 1). Proteome FASTA databases of each of these strains are accessible via Uniprot. Refer to Table 2 for the composition of buffers used in this protocol.

1.	Preparation of protein samples for proteomic analysis

1.1.	Isolation of proteome samples of interest

1.1.1.	If using whole cells, ensure that the cells have been washed with a phosphate-buffered saline solution (PBS) to remove potential protein contaminants present in the medium. Snap-freeze whole cells after washing and store them at -80 &#176;C until required.

1.1.2.	If fractionated samples are used (such as membrane preparations), ensure that the reagents used will not interfere with downstream liquid chromatography MS (LC-MS) analysis50.

1.1.3.	If detergents, such as sodium dodecyl-sulfate (SDS), Triton X-100, NP-40, or lauroylsarcosine, have been used, remove these detergents using acetone precipitations, SP3 sample preparation methods51, or commercial proteomic clean-up columns such as S-traps52. Alternatively, substitute incompatible detergents with an MS-compatible or removable detergent such as sodium deoxycholate (SDC) or octyl glucopyranoside.

1.1.4.	Ensure all plasticware and glassware to be used for sample preparation have not been autoclaved.

NOTE: Autoclaved glassware and plastics are typically heavily contaminated with small molecular weight compounds, such as polymers, which are readily detected within the MS.

1.2.	Solubilization of whole-cell samples

1.2.1.	Resuspend ~10 mg of washed, snap-frozen cells in 200 &#181;L of freshly prepared sodium deoxycholate lysis buffer (SDC lysis buffer: 4% SDC in 100 mM Tris, pH 8.5).

NOTE: Proteinase inhibitors can be added to the SDC lysis buffer to limit protein degradation.

1.2.2.	Boil the samples for 10 min at 95 &#176;C with shaking (2000 rpm on a thermomixer), and then leave on ice for 10 min. Repeat this process twice to ensure efficient lysis and solubilization of the samples.

NOTE: Samples can be stored long-term at this point at -80 &#176;C. If stored, resolubilize by heating at 95 &#176;C before further processing.

1.3.	Quantify sample protein concentrations using a bicinchoninic acid (BCA) protein assay53. Store samples on ice while undertaking quantification to limit protein degradation.

NOTE: For total proteome analysis, 20–100 &#181;g of protein is more than sufficient for nano LC-MS, which typically requires less than 2 &#181;g of protein digest per analysis. The preparation of excess peptide allows for replicate analysis or further fractionation if deep proteomic coverage is required. For glycopeptide enrichment-based analysis using hydrophilic interaction chromatography (HILIC), 100–500 &#181;g of protein is required.

1.4.	Reduce and alkylate samples.

1.4.1.	Add 1/10th the volume of 10x reduction/alkylation buffer (100 mM Tris 2-carboxyethyl phosphine hydrochloride; 400 mM 2-chloroacetamide in 1 M Tris, pH 8.5) to samples for a final concentration of 1x and incubate samples in the dark for 30 min at 45 &#176;C with shaking at 1,500 rpm.

NOTE: Check the pH of the 10x reduction/alkylation buffer to ensure a pH of approximately 7.0–8.0 before adding to the samples, as a lower pH will cause the SDC to precipitate.

1.5. Briefly spin down the samples and add the proteases trypsin/Lys-C (~10 &#181;L, resuspended in 100 mM Tris, pH 8.5) for a final protease:protein ratio of 1:100. Incubate the digests overnight at 37 &#176;C with shaking at 1,500 rpm (up to 18 h). To ensure complete protein digestion, use a Trypsin/Lys-C protease:protein ratio of 1:50 to 1:200.

1.6.	Quench digests by adding 1.25 volumes of 100% isopropanol to the samples. Vortex the samples for 1 min to mix and briefly spin them down.

NOTE: Samples can be stored at -20 &#176;C to be further processed later.

1.7. Acidify the samples by adding 0.115 volumes of 10% trifluoroacetic acid (TFA; final concentration of ~1% TFA), vortex the samples, and briefly spin them down.

2. Processing of proteome samples

2.1. Peptide clean-up of proteome samples

2.1.1. Prepare one styrenedivinylbenzene-reverse-phase sulfonate (SDB-RPS) Stop-and-go-extraction (Stage) Tip for each sample as previously described54.

2.1.1.1. Empirically, excise three SDB-RPS discs from a 47 mm2 SDB-RPS membrane using a blunt needle (14 G) for binding to 50 &#181;g of peptide. For larger peptide amounts, increase the number of discs accordingly.

2.1.2.	Prior to using SDB-RPS Stage Tips, prepare the tips by sequentially adding at least ten bed volumes of the following buffers and either spinning the buffer by centrifugation (25 &#176;C, 3 min, 500 &#215; g) or by gently applying pressure using a syringe.

2.1.2.1.	Wet the tips with 150 &#181;L of 100% acetonitrile.

2.1.2.2.	Wash the tips with 150 &#181;L of 30% methanol, 1% TFA in 18.2 M&#937; H2O.

2.1.2.3.	Equilibrate the tips with 150 &#181;L of 90% isopropanol, 1% TFA balanced with 18.2 M&#937; H2O.

2.1.3.	Load the samples (containing 50% isopropanol, 1% TFA) onto the SDB-RPS Stage Tips by centrifugation (25 &#176;C, 3 min, 500 &#215; g) or by gently applying pressure using a syringe.

2.1.4.	Wash the SDB-RPS Stage Tips with the following buffers by centrifugation (25 &#176;C, 3 min, 500 &#215; g) or by gently applying pressure using a syringe.

NOTE: Additional washes or alternative buffers can be used to remove non-peptide contaminants, such as the use of ethyl acetate instead of isopropanol55.

2.1.4.1.	Wash the tips with 150 &#181;L of 90% isopropanol, 1% TFA.

2.1.4.2.	Wash the tips with 150 &#181;L of 1% TFA in 18.2 M&#937; H2O.

2.1.5.	Elute the peptides from the SDB-RPS Stage Tips with 150 &#181;L of 5% ammonium hydroxide in 80% acetonitrile by centrifugation or by gently applying pressure using a syringe. Collect the samples in individual tubes.

NOTE: Prepare 5% ammonium hydroxide in 80% acetonitrile in a plastic container immediately prior to use within a fume hood.

2.1.6.	Dry the eluted peptides by vacuum centrifugation at 25 &#176;C.

NOTE: If undertaking HILIC enrichment, 1–10% of the peptide eluate can be removed at this point, dried, and used as total proteome input control.

2.2.	Enrichment of glycopeptide samples

2.2.1. Prepare Zwitterionic Hydrophilic Interaction Liquid Chromatography (ZIC-HILIC) Stage Tips as previously described54,56.

2.2.1.1. Briefly, excise one C8 disc from a 47 mm2 C8 membrane using a blunt needle (14 G) and pack the disc into a P200 tip to create a frit. Add approximately 5 mm of ZIC-HILIC material, resuspended in 50% acetonitrile, 50% 18.2 M&#937; H2O, onto the frit by gently applying pressure using a syringe.

2.2.2. Prior to using ZIC-HILIC Stage Tips, condition the resin by sequentially adding the following buffers and gently applying pressure using a syringe.

NOTE: To ensure the integrity of the pseudo-water layer on the surface of the ZIC-HILIC resin (required to enrich glycopeptides), the resin must always remain wet. When washing the resin, always leave ~10 &#181;L of solvent above the resin and ensure the washes/samples are pipetted directly into this residual solvent.

2.2.2.1. Equilibrate the resin with 20 bed volumes (200 &#181;L) of ZIC-HILIC elution buffer (0.1% TFA in 18.2 M&#937; H2O).

2.2.2.2. Wash the resin with 20 bed volumes (200 &#181;L) of ZIC-HILIC preparation buffer (95% acetonitrile in 18.2 M&#937; H2O).

2.2.2.3. Wash the resin with 20 bed volumes (200 &#181;L) of ZIC-HILIC loading/wash buffer (80% acetonitrile, 1% TFA balanced with 18.2 M&#937; H2O).

2.2.3. Resuspend the dried digested samples (from step 2.1.6) in ZIC-HILIC loading/wash buffer to a final concentration of 4 &#181;g/&#181;L (e.g., for 200 &#181;g of peptide, resuspend in 50 &#181;L of ZIC-HILIC loading/wash buffer). Vortex briefly for 1 min to ensure the samples are resuspended, and spin down for 1 min at 2,000 &#215; g at 25 &#176;C.

2.2.4. Load the resuspended peptide sample onto a conditioned ZIC-HILIC column.

2.2.4.1. Wash three times with 20 bed volumes (200 &#181;L) of ZIC-HILIC loading/wash buffer (for 60 bed volume washes total) by gently applying pressure using a syringe.

2.2.5. Elute glycopeptides with 20 bed volumes (200 &#181;L) of ZIC-HILIC elution buffer into a 1.5 mL tube by gently applying pressure using a syringe and then dry the eluate by vacuum centrifugation at 25 &#176;C.

3.	LC-MS of proteome/glycopeptide-enriched samples

3.1. Resuspend the samples in Buffer A* (2% acetonitrile, 0.1% TFA) to a final concentration of 1 &#181;g/&#181;L (for example, for 50 &#181;g of peptide, resuspend in 50 &#181;L of Buffer A*).

3.2. Load the samples onto an HPLC/UPLC coupled to an MS to enable the separation and identification of glycopeptides.

NOTE: The column parameters, including inner diameter, length, flow rates, type of chromatography resin, and required peptide injection amounts, should be optimized for the analytical setup and gradient length to be used; for an example of how to undertake optimization of analytical setups, see 57.

3.3. Monitor the collection of the resulting MS data ensuring the data is being collected with the desired parameters.

NOTE: For compositional analysis, CID fragmentation is sufficient. Due to the addition of glycans to glycopeptides, glycopeptide ions are typically observed with a higher m/z and lower charge density than unglycosylated peptides; a mass range from 400 to 2,000 m/z should be analyzed.

3.4. Fragment selected ions using CID, ensuring the collection of low m/z fragment ions that contain oxonium ions important for the characterization of glycans.

NOTE: Fragmentation of glycopeptides using CID is influenced by both the peptide and glycan sequences, as well as the energy applied during fragmentation25,58,59. While a range of different collision energies can be used, an optimal strategy for fragmenting glycopeptides is the use of stepped collision energies combining the use of multiple collision energies25,59,60.

3.5. Use alternative fragmentation methods, if available, such as ETD for site localization or IT-CID, to aid in the determination of glycan compositions.

NOTE: Neither of these fragmentation approaches are essential for compositional analysis, yet can be collected to enable further interrogation of glycopeptides of interest.

4. Analysis of proteome/glycopeptide-enriched samples

4.1. Prefiltering data files to enable searching in FragPipe

4.1.1. If ETD or IT-CID scans have been acquired within datasets, filter these scan events from the datafiles using MSConvert61 prior to searching with FragPipe.

NOTE: For the open searching parameters outlined below, only beam-type CID data are required.

4.2. Performing open searches in FragPipe

4.2.1. Open FragPipe and click the Workflow tab | the workflow pulldown menu; select the Open search option, and click Add files to import the data files to be searched into FragPipe (Figure 2A).

4.2.2. Click the Database tab | Download to launch the download manager, allowing proteome databases to be downloaded from Uniprot using a Uniprot accession number. Click the Add decoys and contaminants option within the download manager to incorporate decoy and contaminant proteins into this database.

4.2.3. For more stringent FDR thresholds, click the Validation tab and modify the Filter and report value from 0.01 to the required FDR.

NOTE: The default FragPipe settings will ensure a 1% FDR at the protein level.

4.2.4. Click the MSfragger tab. Within the Peak matching box, increase the Precursor mass tolerance from the default 500 Da to 2,000 Da to identify large modifications (Figure 2A).

4.2.5. Click the Run tab and define the location of the outputs of FragPipe. Click the Run button to begin the search.

4.3. Using the PSMs identified across datasets (contained within the psm.tsv outputs from FragPipe), identify potential glycans by plotting the frequency of observed delta masses within datasets (Figure 3). Create delta mass plots for data searched with Byonic using R scripts62 accessible via the PRIDE accession PXD01858730 or PXD027820 (this study) for data searched with MSfragger.

NOTE: Minimal postprocessing of the open searching results is undertaken within these scripts, as the main purpose of these scripts is to aid in the visualization of delta mass profiles. Importantly, the observation of abundant delta masses alone is not proof that a modification is a potential glycan, as assigning delta masses as glycans requires further analysis of the corresponding MS2 events.

4.4. To enable the characterization of glycopeptides within samples, focus on high confidence delta mass identifications, corresponding to assignments with high hyperscores.

4.4.1. To aid in assessing glycopeptide spectra, use peptide annotation tools, such as the Interactive Peptide Spectral Annotator63, which enables the assignment of peptide-associated ions within spectra, allowing the manual identification of the glycan-associated ions (Figure 4).

NOTE: Within the datasets presented here, hyperscores of &gt;30 are considered high scoring, as these correspond to scores within the top 50% of all identified glycopeptides (Figure 5).

4.5. With high-confidence glycopeptides assigned, identify commonly observed glycan-associated ions (Figure 4) to improve the identification of glycopeptides.

NOTE: By incorporating glycan-associated ions within searches, known as glycan-focused searches, the quality of glycopeptide assignments can be improved.

4.5.1. Click the MSfragger tab of FragPipe, incorporate the determined delta masses of the observed glycans into the Variable modifications and Mass Offsets sections. Add these masses by typing values into the Variable modifications and Mass Offsets sections with individual masses separated with a /. Add the glycanassociated fragment masses of these glycans into the Glyco/Labile mods section of MSFragger.

NOTE: Figure 2B outlines the key information required for a glycan-focused search of the A. baumannii strain AB3070294.

4.6. Upload all MS data associated with proteomic studies to centralized Proteomic repositories such as the PRIDE or MASSIVE repositories.

NOTE: All data associated with this study have been deposited into the PRIDE proteomic repository and can be accessed via the PRIDE accession: PXD027820 using the Username: reviewer_pxd027820@ebi.ac.uk and password: erNH3WbT.

REPRESENTATIVE RESULTS:

To illustrate the utility of open searching for bacterial glycopeptide analysis, the chemical diversity of Olinked glycans within three strains of A. baumannii—AB3070294, ACICU, and D1279779—was assessed. The O-linked glycoproteomes are highly variable between A. baumannii strains as the glycans used for glycosylation are derived from the highly variable capsule loci44-46. This chemical diversity makes A. baumannii an ideal model system for open searching studies. While the glycoproteomes of the three strains have not previously been assessed, the capsule structures of two of these strains, AB307029464 and ACICU65, are known, with the capsule of D1279779 yet to be elucidated.

Consistent with the capsule of AB3070294, open searching of AB3070294 revealed two dominant delta masses, corresponding to 648.25 Da and 692.28 Da (Figure 3A). These masses match the capsule structures previously determined by Russo et al., -&#946;-d-QuiNAc4NR-&#945;-GlcNAc6OAc-&#945;-d-GalNAcA, where the QuiNAc4NR residue corresponds to 2,4-diamino-2,4,6-trideoxy-glucose, modified with either 3-OH-butyrate or an acetyl group64. Similarly, the ACICU capsule is known to be composed of a tetrasaccharide K-unit, previously identified as Pse5Ac7Ac-&#946;-D-Glcp-&#946;-D-Galp-&#946;-D-Galp-NAc-, corresponding to a predicted mass of 843.31 Da65. This capsule structure is consistent with the most frequently observed delta mass within the ACICU data (Figure 3B). Finally, open searching analysis of the strain D1279779 revealed the presence of multiple delta masses consistent with 203.08, 794.31, and 1588.62 Da (Figure 3C). While the mass 203.08 is consistent with that of a single HexNAc residue, 794.31 and 1588.62 correspond to unknown modifications. It should be noted that the mass 1588.62 is exactly double that of 794.31, suggesting these peptides are decorated with glycan K-unit dimers, as has been previously observed within other Acinetobacter glycoproteomes30,44,46.

Delta mass plots provide a quick and effective way to assess the frequency of observed modifications within samples. However, for complex modifications, such as glycans, the presence of a delta mass alone does not provide the information to define the exact composition of a glycan. To aid in the determination of glycan compositions, the resulting MS/MS data of PSMs assigned to specific delta masses can be used. By focusing on high-confidence glycopeptide assignments (in MSFragger corresponding to PSMs with high hyperscores), manual analysis can be used to further characterize the glycans utilized by a strain for protein glycosylation. It should be noted that high-confidence peptide assignments typically contain robust glycan information that allows the determination of glycan compositions based on Y ions. This information can be used to identify the corresponding fragments where the glycans have remained attached to peptides, as well as to B and oxonium-related ions useful for the assignment of glycans66. Detailed guidelines on how to assign glycan compositions have been previously outlined, and readers are recommended to consult Harvey et al.67. Using tools such as the Interactive Peptide Spectral Annotator63, peptide-associated ions can be easily identified, allowing users to determine the identity of the glycans attached to peptides.

Using the Interactive Peptide Spectral Annotator, glycopeptides identified across these three A. baumannii samples were assessed, revealing potential glycan-associated ions. Consider the MS/MS spectra of the AB3070294 glycopeptide SAGDQAASDIATATDNASAK, decorated with the glycans 648.25 and 692.28 Da (Figure 4A,B); under similar fragmentation conditions, the glycanrelated ions are highly similar, yet shift in mass by 44.02 Da. Analysis of the glycan ions within these PSMs enables confirmation that the delta masses observed for these glycopeptides correspond to trisaccharides containing four different carbohydrates: dHexNAcNAc (228 Da), dHexNAcNBu (272 Da), HexNAcA (217 Da), and HexNAc (203 Da). It should be noted that when assigning glycan fragments, multiple monosaccharides are prone to losing water when fragmented using higher energy C-trap dissociation. This can be seen in the glycan of ACICU, where the monosaccharide Pse5Ac7Ac (316 Da) leads to the generation of two prominent glycan-related fragments: MH+ 299.12 and 317.13, the difference in mass corresponding to the mass of water (18.01 Da) (Figure 4C).

Additionally, when analyzing bacterial glycans, it is common to observe unexpected monosaccharide masses corresponding to sugars not observed within eukaryotes. An example of this can be seen within the glycopeptide PSMs of D1279779, where analysis of the most frequent delta mass 794.31 Da reveals the presence of an unusual monosaccharide dHexNAc (187 Da, observed as an MH+ of 188.09, Figure 4D), which has been previously observed within A. baumannii O-linked glycans44. While high mass accuracy measurements and the characteristic behavior of glycans as labile modifications, which are lost from the peptide backbone, can aid in the determination of potential chemical compositions of glycans, it is advisable to minimize the overinterpretation of MS data. If stereochemistry of specific sugars or the linkage information of a glycan is unknown, it is best practice to use structurally agonistic assignments, including referring to monosaccharides by their specific classes. An example of this is referring to 203.08 Da residues as N-acetylhexosamines (HexNAc) and avoiding the assignment of linkage types. If required, it is recommended that additional techniques are utilized to define the exact chemical identities of an unknown modification, such as the use of Nuclear Magnetic Resonance (NMR).

While open searching approaches enable the rapid identification of modified peptides, it is important to note that this searching approach can overlook potential glycopeptides within datasets. Within open searches, glycopeptides can fail to be identified for several reasons, including insufficient peptide fragmentation information or penalization of the assigned peptide due to the presence of multiple unassigned ions within the MS2 event. The latter is especially true for bacterial glycopeptide PSMs, as these spectra can contain glycan-associated fragments not considered by default open searching parameters. As unmatched features adversely impact the scoring of PSMs, minimizing unmatched ions within MS/MS spectra enables the identification of glycopeptides that were initially excluded due to the FDR-controlled minimal score thresholds. To overcome this limitation, the masses defined from the open searches (Figure 3) and the manually defined glycan-associated ions (Figure 4) can be incorporated into search parameters to improve the identification of glycopeptides. It is important to note that these glycan-associated ions can be identified manually based on de novo determination of the glycan, prior knowledge of common oxonium ions44,68, or the use of tools that can capture reoccurring ions within spectra, such as the SPectral Immonium Ion Detection tool69,76.

To demonstrate this, the masses of atypical glycan fragments identified through open searching analysis were incorporated into the search parameters in MSFragger, and glycan-focused searching undertaken (the glycan-focused settings for strain AB3070294 are shown in Figure 2B). It should be noted that when multiple glycans are being searched together, care should be taken in the selection of Y ion and diagnostic masses to ensure they accurately reflect the fragment ions associated with each delta mass. While this may not always be possible for combinations of Y and diagnostic masses that are mutually exclusive, such as the fragments of the 648.25 and 692.28 glycans of AB3070294 (Figure 4A,B), glycan-focused searching is still possible, albeit this may impact the robustness of the search results. Glycan-focused searches lead to a notable increase in the total number of glycopeptide PSMs identified across all three A. baumannii strains, corresponding to a 37% increase in ACICU, a 117% increase in AB3070294, and a 363% increase in D1279779 (Figure 5A–C). For individual MS events, the inclusion of glycan-specific information typically results in an increase within the observed hyperscore, albeit this increase is highly glycan-dependent (Figure 5D,E). Thus, by refining the search parameters using the masses of glycans revealed through open searching and subsequently incorporating manually curated glycan fragment information into targeted searches, a more detailed analysis of glycopeptides within samples can be obtained.

Figure 1: Overview of the key steps in the preparation and analysis of bacterial glycopeptides. The successful identification of bacterial glycopeptides is dependent on the generation of high-quality samples containing glycopeptides. Glycopeptide-containing samples are then analyzed by LCMS, and subsequently, open searching approaches are used to identify potential glycopeptides based on unique delta masses. Using manual curation, these delta masses can be identified as glycans. Finally, to improve the identification of glycopeptides, glycan information can be incorporated into glycan-focused database searches. Abbreviations: LC-MS = liquid chromatography coupled to mass spectrometry; OD = optical density; SDB-RPS = styrenedivinylbenzene-reverse-phase sulfonate; ZIC-HILIC = Zwitterionic Hydrophilic Interaction Liquid Chromatography; PSMs = peptide-spectral matches; CID = collision-induced dissociation; ETD = electron transfer dissociation.

Figure 2: Overview of how to enable open searching and glycan-focused searches in FragPipe. (A) Open searching can be enabled by loading the Open Workflow within the Workflow tab of FragPipe. To enable the identification of glycans greater than 500 Da in size, increase the Precursor mass tolerance window to 2,000 Da. (B) Glycan-focused searches for atypical glycans require the entry of glycan information in the MSFragger tab to define the expected masses of the modifications (in the Variable modifications and Mass Offsets sections), the Y ions associated with these glycans (in the Y Ion Masses list of the Glyco/Labile section), and the low-mass glycan fragment ions (into the Diagnostic Fragment Masses list of the Glyco/Labile section).

Figure 3: Delta mass plots of open searching results for the three strains of Acinetobacter baumannii (AB3070294, ACICU, and D1279779). Consistent with the diversity of the capsule loci, each A. baumannii strain possesses a unique delta mass profile with prominent modifications of greater than 140 Da in size, denoted by the observed delta masses. (A) Within the AB3070294 delta mass plot, the masses 648.25 and 692.28 correspond to modifications consistent with -&#946;-d-QuiNAc4NR-&#945;-GlcNAc6OAc-&#945;-d-GalNAcA-, where the QuiNAc4NR is modified with either a 3-OH-butyrate or acetyl group64. (B) Within the ACICU delta mass plot, the masses 203.08 and 843.31 correspond to modifications consistent with HexNAc and Pse5Ac7Ac-&#946;-D-Glcp-&#946;-D-Galp-&#946;-D-Galp-NAc, respectively65. (C) Within the D1279779 delta mass plot, the masses 203.08, 794.31, and 1588.62 correspond to HexNAc, HexNAc-217-187-187, and a dimer of HexNAc-217-187-187. Delta masses manually assessed and confirmed in Figure 4 to be glycans denoted by *.

Figure 4: MS/MS characterization of delta masses observed across the three strains of Acinetobacter baumannii. (A, B) AB3070294, (C) ACICU, and (D) D1279779. Interactive Peptide Spectral Annotator-assisted annotated spectra of representative glycopeptides. For each spectrum, the peptide fragment ions are denoted in blue and red, while the manually assigned glycan-associated ions are denoted in green. Glycans have been annotated using the Symbol Nomenclature for Glycans with HexNAc denoted as a square, Hex as a circle, and atypical monosaccharides denoted as trapezoids with the mass of the glycan denoted in the trapezoids. Abbreviation: MS/MS = tandem mass spectrometry.

Figure 5: Comparison of glycopeptides identified across strains of Acinetobacter baumannii using open vs glycan-focused searching. (A–C) Comparison of hyperscores and number of PSM assignments within D1279779, ACICU, and AB3070294 using open and glycan-focused searching. (D–F) Comparison of individual MS2 events assigned to the same peptide sequence using open and glycan-focused searches for D1279779, ACICU, and AB3070294. Abbreviation: PSM = peptide-spectral match.

Table 1. Strain and Uniprot Proteome IDs used within this study.

Table 2: Composition of buffers used in this study.

DISCUSSION:

Open searching is an effective and systematic method for the identification of unknown modifications. While the identification of unknown glycans within bacterial proteome samples has traditionally been a time-consuming and technically specialized undertaking, the recent developments of tools such as MSfragger21,41 and Byonic31,38 now enable the quick and effective identification of delta masses for further characterization as potential glycans attached to peptides. Open searching of both standard and glycopeptide-enriched proteome samples can identify potential glycopeptides (Figure 1). The commonality and abundance of glycopeptides within the proteome of many bacterial systems make the direct detection of these modifications possible without glycopeptide enrichment6. Although glycopeptide enrichment approaches typically still outperform nonenrichment-based methods for many glycosylation systems70, it is notable that not all glycans are equally amenable to enrichment71,72. This fact should be considered when determining the most appropriate approach for identifying glycosylation events using open searching for a given biological sample.

While open searching effectively identifies glycans observed at a high frequency within a sample, it remains ineffective at identifying glycosylation events that rarely occur within datasets. In practical terms, for a unique delta mass of a glycan to be identified, at least 10 PSMs with an identical delta mass must be present within samples. This minimum frequency allows a potential glycan to be distinguishable above background delta mass assignments (Figure 3). While this criterion is typically satisfied by general glycosylation systems targeting multiple substrates for glycosylation, systems where a single protein is targeted for glycosylation may be less amenable to this approach. As the speed and sensitivity of MS instruments improve, it is likely that this will increasingly enable the assessment of lower abundance glycopeptide populations, which will, in turn, enhance the effectiveness of open searching approaches, provided sufficient quality spectra can be generated for rare/low abundant glycoforms.

While MS enables the effective identification of novel glycans, it is important to note that this insight alone rarely provides a complete structural characterization of glycopeptides/glycans, with tools such as NMR spectroscopy still being critical for complete glycan characterization. As observed here, MS provided complementary confirmation of K-units previously determined using NMR from isolated capsules of A. baumannii ACICU and AB307029464,65. However, for the major glycan identified in D1279779, only information about the putative classes of monosaccharides within this glycan was assignable. MS provided no information about the linkage types or the stereochemistry of these sugar units (Figure 4). As new MS fragmentation methods become more widely available, such as ultraviolet photodissociation73,74, more detailed structural characterization of glycopeptides may be possible. However, care should be taken when inferring linkages or stereochemistry information with current instrumentation. In addition to these considerations, it should be noted that questions have been raised recently about the appropriateness of FDR-based controls for open searching75. Thus, while open searching is a powerful approach, these considerations highlight the need for care to be taken in the interpretation of glycan assignments based on open searching information alone.

While this demonstrates that open searching is an effective approach for the unsupervised identification of glycans used for bacterial glycosylation, open searching alone provides access to only a subset of all glycopeptides contained within samples. Due to the labile nature of glycans, glycopeptide PSMs typically contain a diverse range of glycan-associated fragments that, if not accounted for, will adversely impact the scoring of PSMs. To overcome this issue and allow more in-depth identification of glycopeptides, the glycan information obtained through open searching can subsequently be used to inform glycan-focused searches (Figure 2B). In this way, open searching, coupled with the manual determination of glycan-associated fragments, can be used to improve the quality and quantity of glycopeptides assigned within samples (Figure 5). Although the refinement of glycopeptide search parameters is undertaken manually with current versions of tools, such as MSfragger, it is likely that as the field matures, these steps will be done in an automated manner. Studies have already demonstrated computational approaches to identify repeating low molecular weight ions associated with specific PTMs69, as well as strategies to identify oxonium-ions and repeating Y-ion masses associated with unknown glycopeptides76. Thus, it is likely that these steps will be incorporated into new iterations of tools such as FragPipe, making it even easier to identify previously unknown glycosylation events within bacterial and eukaryotic samples.

DISCLOSURES:

The authors have no conflicts of interest.

ACKNOWLEDGMENTS:

N.E.S is supported by an Australian Research Council Future Fellowship (FT200100270) and an ARC Discovery Project Grant (DP210100362). We thank the Melbourne Mass Spectrometry and Proteomics Facility of The Bio21 Molecular Science and Biotechnology Institute for access to MS instrumentation.

REFERENCES:

1	Varki, A. et al. (Eds) Essentials of glycobiology. Cold Spring Harbor Laboratory Press, Cold Spring Harbor, NY (2015).

2	Schaffer, C., Messner, P. Emerging facets of prokaryotic glycosylation. FEMS Microbiology Reviews. 41 (1), 49–91 (2017).

3	Abu-Qarn, M., Eichler, J., Sharon, N. Not just for Eukarya anymore: Protein glycosylation in bacteria and archaea. Current Opinion in Structural Biology. 18 (5), 544–550 (2008).

4	Szymanski, C. M., Yao, R., Ewing, C. P., Trust, T. J., Guerry, P. Evidence for a system of general protein glycosylation in Campylobacter jejuni. Molecular Microbiology. 32 (5), 1022–1030 (1999).

5	Koomey, M. O-linked protein glycosylation in bacteria: snapshots and current perspectives. Current Opinion in Structural Biology. 56, 198–203 (2019).

6	Riley, N. M., Bertozzi, C. R., Pitteri, S. J. A pragmatic guide to enrichment strategies for mass spectrometry-based glycoproteomics. Molecular &amp; Cellular Proteomics: MCP. 20, 100029 (2020).

7	Spiro, R. G. Protein glycosylation: nature, distribution, enzymatic formation, and disease implications of glycopeptide bonds. Glycobiology. 12 (4), 43R–56R (2002).

8	Hu, H., Khatri, K., Klein, J., Leymarie, N., Zaia, J. A review of methods for interpretation of glycopeptide tandem mass spectral data. Glycoconjugate Journal. 33 (3), 285–296 (2016).

9	Moremen, K. W., Tiemeyer, M., Nairn, A. V. Vertebrate protein glycosylation: Diversity, synthesis and function. Nature Reviews Molecular Cell Biology. 13 (7), 448–462 (2012).

10	Bohm, M. et al. Glycosciences.DB: An annotated data collection linking glycomics and proteomics data (2018 update). Nucleic Acids Research. 47 (D1), D1195–D1201 (2019).

11	Kawano, S., Hashimoto, K., Miyama, T., Goto, S., Kanehisa, M. Prediction of glycan structures from gene expression data based on glycosyltransferase reactions. Bioinformatics. 21 (21), 3976–3982 (2005).

12	McDonald, A. G., Tipton, K. F., Davey, G. P. A knowledge-based system for display and prediction of O-glycosylation network behaviour in response to enzyme knockouts. PLOS Computational Biology. 12 (4), e1004844 (2016).

13	Eichler, J., Koomey, M. Sweet new roles for protein glycosylation in prokaryotes. Trends in Microbiology. 25 (8), 662–672 (2017).

14	Scott, N. E. et al. Simultaneous glycan-peptide characterization using hydrophilic interaction chromatography and parallel fragmentation by CID, higher energy collisional dissociation, and electron transfer dissociation MS applied to the N-linked glycoproteome of Campylobacter jejuni. Molecular &amp; Cellular Proteomics: MCP.10 (2), M000031–MCP000201 (2011).

15	Russo, T. A. et al. The K1 capsular polysaccharide of Acinetobacter baumannii strain 307-0294 is a major virulence factor. Infection and Immunity. 78 (9), 3993–4000 (2010).

16	Szymanski, C. M., Wren, B. W. Protein glycosylation in bacterial mucosal pathogens. Nature Reviews Microbiology. 3 (3), 225–237 (2005).

17	Imperiali, B. Bacterial carbohydrate diversity - a brave new world. Current Opinion in Chemical Biology. 53, 1–8 (2019).

18	Čaval, T., Buettner, A., Haberger, M., Reusch, D., Heck, A. J. R. Discrepancies between high-resolution native and glycopeptide-centric mass spectrometric approaches: A case study into the glycosylation of erythropoietin variants. Journal of the American Society for Mass Spectrometry. 32 (8), 2099–2104 (2021).

19	Čaval, T., Heck, A. J. R., Reiding, K. R. Meta-heterogeneity: Evaluating and describing the diversity in glycosylation between sites on the same glycoprotein. Molecular &amp; Cellular Proteomics: MCP. 20, 100010 (2020).

20	Thomas, D. R., Scott, N. E. Glycoproteomics: growing up fast. Current Opinion in Structural Biology. 68, 18–25 (2020).

21	Kong, A. T., Leprevost, F. V., Avtonomov, D. M., Mellacheruvu, D., Nesvizhskii, A. I. MSFragger: Ultrafast and comprehensive peptide identification in mass spectrometry-based proteomics. Nature Methods. 14 (5), 513–520 (2017).

22	Cao, W. et al. Recent advances in software tools for more generic and precise intact glycopeptide analysis. Molecular &amp; Cellular Proteomics: MCP. doi:10.1074/mcp.R120.002090 (2021).

23	Yu, A. et al. Advances in mass spectrometry-based glycoproteomics. Electrophoresis. 39 (24), 3104–3122 (2018).

24	Reiding, K. R., Bondt, A., Franc, V., Heck, A. J. R. The benefits of hybrid fragmentation methods for glycoproteomics. Trends in Analytical Chemistry. 108, 260–268 (2018).

25	Riley, N. M., Malaker, S. A., Driessen, M., Bertozzi, C. R. Optimal dissociation methods differ for N- and O-glycopeptides. Journal of Proteome Research. 19 (8), 3286–3301 (2020).

26	Mao, Y. et al. Systematic evaluation of fragmentation methods for unlabeled and isobaric mass tag-labeled O-glycopeptides. Analytical Chemistry. 93 (32), 11167–11175 (2021).

27	Lu, L., Riley, N. M., Shortreed, M. R., Bertozzi, C. R., Smith, L. M. O-Pair Search with MetaMorpheus for O-glycopeptide characterization. Nature Methods. 17 (11), 1133–1138 (2020).

28	Choo, M. S., Wan, C., Rudd, P. M., Nguyen-Khuong, T. GlycopeptideGraphMS: Improved glycopeptide detection and identification by exploiting graph theoretical patterns in mass and retention time. Analytical Chemistry. 91 (11), 7236–7244 (2019).

29	Maxwell, E. et al. GlycReSoft: a software package for automated recognition of glycans from LC/MS data. PLoS One. 7 (9), e45474 (2012).

30	Ahmad Izaham, A. R., Scott, N. E. Open database searching enables the identification and comparison of bacterial glycoproteomes without defining glycan compositions prior to searching. Molecular &amp; Cellular Proteomics: MCP. 19 (9), 1561–1574 (2020).

31	Bern, M., Kil, Y. J., Becker, C. Byonic: Advanced peptide and protein identification software. Current Protocols in Bioinformatics. Chapter 13, Unit 13.20 (2012).

32	Na, S., Bandeira, N., Paek, E. Fast multi-blind modification search through tandem mass spectrometry. Molecular &amp; Cellular Proteomics: MCP. 11 (4), M111 010199 (2012).

33	Creasy, D. M., Cottrell, J. S. Error tolerant searching of uninterpreted tandem mass spectrometry data. Proteomics. 2 (10), 1426–1434 (2002).

34	Craig, R., Beavis, R. C. TANDEM: Matching proteins with tandem mass spectra. Bioinformatics. 20 (9), 1466–1467 (2004).

35	Ahrn&#233;, E., Nikitin, F., Lisacek, F., M&#252;ller, M. QuickMod: A tool for open modification spectrum library searches. Journal of Proteome Research. 10 (7), 2913–2921 (2011).

36	Shortreed, M. R. et al. Global identification of protein post-translational modifications in a single-pass database search. Journal of Proteome Research. 14 (11), 4714–4720 (2015).

37	Chick, J. M. et al. A mass-tolerant database search identifies a large proportion of unassigned spectra in shotgun proteomics as modified peptides. Nature Biotechnology. 33 (7), 743–749 (2015).

38	Roushan, A. et al. Peak filtering, peak annotation, and wildcard search for glycoproteomics. Molecular &amp; Cellular Proteomics: MCP. 20, 100011 (2020).

39	Chi, H. et al. Comprehensive identification of peptides in tandem mass spectra using an efficient open search engine. Nature Biotechnology. doi:10.1038/nbt.4236 (2018).

40	Bittremieux, W., Laukens, K., Noble, W. S. Extremely fast and accurate open modification spectral library searching of high-resolution mass spectra using feature hashing and graphics processing units. Journal of Proteome Research. 18 (10), 3792–3799 (2019).

41	Polasky, D. A., Yu, F., Teo, G. C., Nesvizhskii, A. I. Fast and comprehensive N- and O-glycoproteomics analysis with MSFragger-Glyco. Nature Methods. 17 (11), 1125–1132 (2020).

42	Harding, C. M. et al. Acinetobacter strains carry two functional oligosaccharyltransferases, one devoted exclusively to type IV pilin, and the other one dedicated to O-glycosylation of multiple proteins. Molecular Microbiology. 96 (5), 1023–1041 (2015).

43	Iwashkiw, J. A. et al. Identification of a general O-linked protein glycosylation system in Acinetobacter baumannii and its role in virulence and biofilm formation. PLoS Pathogens. 8 (6), e1002758 (2012).

44	Scott, N. E. et al. Diversity within the O-linked protein glycosylation systems of Acinetobacter species. Molecular &amp; Cellular Proteomics: MCP. 13 (9), 2354–2370 (2014).

45	Kenyon, J. J., Hall, R. M. Variation in the complex carbohydrate biosynthesis loci of Acinetobacter baumannii genomes. PLoS One. 8 (4), e62160 (2013).

46	Lees-Miller, R. G. et al. A common pathway for O-linked protein-glycosylation and synthesis of capsule in Acinetobacter baumannii. Molecular Microbiology. 89 (5), 816–830 (2013).

47	Iacono, M. et al. Whole-genome pyrosequencing of an epidemic multidrug-resistant Acinetobacter baumannii strain belonging to the European clone II group. Antimicrobial Agents and Chemotherapy. 52 (7), 2616–2625 (2008).

48	Hamidian, M. et al. Insights from the revised complete genome sequences of Acinetobacter baumannii strains AB307-0294 and ACICU belonging to global clones 1 and 2. Microbial Genomics. 5 (10), e000298 (2019).

49	Farrugia, D. N. et al. The complete genome and phenome of a community-acquired Acinetobacter baumannii. PLoS One. 8 (3), e58628 (2013).

50	Keller, B. O., Sui, J., Young, A. B., Whittal, R. M. Interferences and contaminants encountered in modern mass spectrometry. Analytica Chimica Acta. 627 (1), 71–81 (2008).

51	Batth, T. S. et al. Protein aggregation capture on microparticles enables multipurpose proteomics sample preparation. Molecular &amp; Cellular Proteomics: MCP. 18 (5), 1027–1035 (2019).

52	HaileMariam, M. et al. S-Trap, an ultrafast sample-preparation approach for shotgun proteomics. Journal of Proteome Research. 17 (9), 2917–2924 (2018).

53	Smith, P. K. et al. Measurement of protein using bicinchoninic acid. Analytical Biochemistry. 150 (1), 76–85 (1985).

54	Rappsilber, J., Mann, M., Ishihama, Y. Protocol for micro-purification, enrichment, pre-fractionation and storage of peptides for proteomics using StageTips. Nature Protocols. 2 (8), 1896–1906 (2007).

55	Harney, D. J. et al. Proteomic analysis of human plasma during intermittent fasting. Journal of Proteome Research. 18 (5), 2228–2240 (2019).

56	Scott, N. E. Characterizing glycoproteins by mass spectrometry in Campylobacter jejuni. Methods in Molecular Biology. 1512, 211–232 (2017).

57	Bian, Y. et al. Robust microflow LC-MS/MS for proteome analysis: 38000 runs and counting. Analytical Chemistry. 93 (8), 3686–3690 (2021).

58	Diedrich, J. K., Pinto, A. F., Yates, J. R., 3rd. Energy dependence of HCD on peptide fragmentation: stepped collisional energy finds the sweet spot. Journal of the American Society for Mass Spectrometry. 24 (11), 1690–1699 (2013).

59	Liu, M. Q. et al. pGlyco 2.0 enables precision N-glycoproteomics with comprehensive quality control and one-step mass spectrometry for intact glycopeptide identification. Nature Communications. 8 (1), 438 (2017).

60	Hinneburg, H. et al. The art of destruction: Optimizing collision energies in quadrupole-time of flight (Q-TOF) instruments for glycopeptide-based glycoproteomics. Journal of the American Society for Mass Spectrometry. 27 (3), 507–519 (2016).

61	Chambers, M. C. et al. A cross-platform toolkit for mass spectrometry and proteomics. Nature Biotechnology. 30 (10), 918–920 (2012).

62	R Core Team. R: A Language and Environment for Statistical Computing. R Foundation for Statistical Computing, http://www.r-project.org/index.html (2020).

63	Brademan, D. R., Riley, N. M., Kwiecien, N. W., Coon, J. J. Interactive peptide spectral annotator: A versatile web-based tool for proteomic applications. Molecular &amp; Cellular Proteomics: MCP. 18 (8 suppl 1), S193–S201 (2019).

64	Russo, T. A. et al. The K1 capsular polysaccharide from Acinetobacter baumannii is a potential therapeutic target via passive immunization. Infection and Immunity. 81 (3), 915–922 (2013).

65	Senchenkova, S. N. et al. Structure of the capsular polysaccharide of Acinetobacter baumannii ACICU containing di-N-acetylpseudaminic acid. Carbohydrate Research. 391, 89–92 (2014).

66	Domon, B., Costello, C. E. A systematic nomenclature for carbohydrate fragmentations in FAB-MS/MS spectra of glycoconjugates. Glycoconjugate Journal. 5 (4), 397-409 (1988).

67	Harvey, D. J., Dwek, R. A., Rudd, P. M. Determining the structure of glycan moieties by mass spectrometry. Current Protocols in Protein Science. Chapter 12, Unit 12.7 (2006).

68	Medzihradszky, K. F., Kaasik, K., Chalkley, R. J. Characterizing sialic acid variants at the glycopeptide level. Analytical Chemistry. 87 (5), 3064–3071 (2015).

69	Kelstrup, C. D., Frese, C., Heck, A. J., Olsen, J. V., Nielsen, M. L. Analytical utility of mass spectral binning in proteomic experiments by SPectral Immonium Ion Detection (SPIID). Molecular &amp; Cellular Proteomics:MCP. 13 (8), 1914–1924 (2014).

70	Ahmad Izaham, A. R. et al. What are we missing by using hydrophilic enrichment? Improving bacterial glycoproteome coverage using total proteome and FAIMS analyses. Journal of Proteome Research. 20 (1), 599–612 (2021).

71	Neue, K., Mormann, M., Peter-Katalinic, J., Pohlentz, G. Elucidation of glycoprotein structures by unspecific proteolysis and direct nanoESI mass spectrometric analysis of ZIC-HILIC-enriched glycopeptides. Journal of Proteome Research. 10 (5), 2248–2260 (2011).

72	Mysling, S., Palmisano, G., Hojrup, P., Thaysen-Andersen, M. Utilizing ion-pairing hydrophilic interaction chromatography solid phase extraction for efficient glycopeptide enrichment in glycoproteomics. Analytical Chemistry. 82 (13), 5598–5609 (2010).

73	Escobar, E. E. et al. Precision mapping of O-Linked N-acetylglucosamine sites in proteins using ultraviolet photodissociation mass spectrometry. Journal of the American Chemical Society. 142 (26), 11569–11577 (2020).

74	Madsen, J. A. et al. Concurrent automated sequencing of the glycan and peptide portions of O-linked glycopeptide anions by ultraviolet photodissociation mass spectrometry. Analytical Chemistry. 85 (19), 9253–9261 (2013).

75	Lysiak, A., Fertin, G., Jean, G., Tessier, D. Evaluation of open search methods based on theoretical mass spectra comparison. BMC Bioinformatics. 22 (Suppl 2), 65 (2021).

76	Pabst, M. et al. A general approach to explore prokaryotic protein glycosylation reveals the unique surface layer modulation of an anammox bacterium. ISME Journal. doi:10.1038/s41396-021-01073-y (2021).