## Tabelle1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
15 mL tubes | Greiner Bio One | 188271
3-(trimethylsilyl) propionic acid-2,2,3,3-d4 sodium salt (TSP) | Alfa Aesar | A1448
5 mL tubes, round bottom | Greiner Bio One | 115101
Ammonia Solution 32% | Roth | A990.1
Bruker 600 MHz NMR spectrometer, equipped with a TXI probe head | Bruker | -
Centrifuge, refrigerated, e.g. 5430 R | Eppendorf | 5428000010
Chloroform ≥99% p.a. | Roth | 3313.1
Cryocool | Thermo Scientific | SCC1 | heat transfer fluid for SpeedVac System
Deuterium Oxide (D₂O) | Cambridge Isotope Laboratories | DLM-10-PK
Dimethyl sulfoxide-d6 (d6-DMSO) | Cambridge Isotope Laboratories | DLM-6-1000
Drying Chamber | Binder | 9090-0018
DURAN culture tubes, 13 x 100mm, GL 14, 9 mL | VWR International | 212-0375
Edwards Deep vacuum oil pump RV5 | Thermo Scientific | 16234611 | part of the SpeedVac System
Eppendorf 1.5 mL tubes | Greiner Bio One | 616201
Gilson pipetting robot GX-241 Aspec | Gilson Inc. | 26150008
L-arginine | AppliChem | A3675
Methanol ≥99% | Roth | 8388.4
Milli-Q water aparatus | Millipore | ZIQ7000T0
Oasis MCX 1cc/30 mg, 1 mL cartridges | Waters | 186000252 | https://www.waters.com/waters/en_US/Waters-Oasis-Sample-Extraction-SPE-Products/
Phosphate Buffered Saline (PBS) | Lonza | LONBE17-512F
Precellys 24 tissue homogenizer | Bertin Instruments | P000669-PR240-A | https://www.bertin-instruments.com/product/sample-preparation-homogenizers/precellys24-tissue-homogenizer/
Precellys tubes (pulping tubes) | VWR International | 432-0351
Precellyse 1.4 mm zirconium oxide beads | VWR International | 432-0356
Reacti-Therm/ReactiVap Heating, Stirring, and Evaporation Modules | Thermo Scientific | TS-18820 | https://www.thermofisher.com/order/catalog/product/TS-18820
Rotor for 1.5 mL tubes, FA-45-30-11 | Eppendorf | 5427753001
Savant Refrigerated Cooling Trap | Thermo Scientific | 15996161 | part of the SpeedVac System
Savant SpeedVac vacuum concentrator SPD210 | Thermo Scientific | 15906181 | part of the SpeedVac System; equipped with rotor for 1.5 ml tubes
Screw caps for glas vials with PTFE sealing, DN9 | Dr. R. Forche Chromatographie | CT11B3011
Seasand | Roth | 8441.3
Short thread glas vials 1.5 mL, ND9 | Dr. R. Forche Chromatographie | VT1100309
Sodium azide (NaN₃) | Roth | K305.1
Sodium hydroxide (NaOH) | VWR | BDH7363-4
Sodium phosphate dibasic (Na₂HPO₄) | VWR | 80731-078
TopSpin 4.0 (Software) | Bruker | - | https://www.bruker.com
ω-NG-asymmetric dimethylarginine (ADMA) | Santa Cruz Biotechnology | sc-208093
ω-NG-monomethylarginine (MMA) | Santa Cruz Biotechnology | sc-200739A
ω-NG-NG'-symmetric dimethylarginine (SDMA) | Santa Cruz Biotechnology | sc-202235A