## alphaSortSections
Name of Material/ Equipment | Company | Catalog Number | Comments/Description | As refered to in text | Link
Tissue Preparation
Autoclavable Biohazard Bags | FisherBrand | 22-044562 |  | biohazard bags | https://www.fishersci.com/shop/products/fisherbrand-polyethylene-biohazard-autoclave-bags-without-sterilization-indicator-8/22044562?searchHijack=true&searchTerm=22044562&searchType=RAPID&matchedCatNo=22044562
Cell Culture Buffers: Dulbecco's Phosphate-Buffered Salt Solution 1x | Corning | MT21030CV |  | PBS | https://www.fishersci.com/shop/products/corning-cellgro-cell-culture-buffers-dulbecco-s-phosphate-buffered-salt-solution-1x-8/MT21030CV?searchHijack=true&searchTerm=21-030-cv&searchType=RAPID&matchedCatNo=21-030-cv
Disposable Scalpels | Exel International | 14-840-00 |  | scalpel | https://www.fishersci.com/shop/products/exel-international-disposable-scalpels-3/1484000?keyword=true
High Precision 45° Angle Broad Point Tweezers/Forceps | Fisherbrand | 12-000-132 |  | forceps | https://www.fishersci.com/shop/products/high-precision-45-angle-broad-point-tweezers-forceps/12000132#?keyword=
Kimwipes Delicate Task Wipers, 1-Ply | Kimberly-Clark Professional Kimtech Science | 06-666 |  | task wiper | https://www.fishersci.com/shop/products/kimberly-clark-kimtech-science-kimwipes-delicate-task-wipers-7/06666
Parafilm M Laboratory Wrapping Film | Bemis | 13-374-12 |  | parafilm | https://www.fishersci.com/shop/products/curwood-parafilm-m-laboratory-wrapping-film-4/1337412
Petri Dish (35 mm x 10 mm) | Fisherbrand | FB0875711YZ |  | small petri dish | https://www.fishersci.com/shop/products/fisherbrand-petri-dishes-specialty-6/FB0875711YZ?keyword=true
Petri Dish (60 mm x 15 mm) | Fisherbrand | FB0875713A |  | large petri dish | https://www.fishersci.com/shop/products/fisherbrand-petri-dishes-clear-lid-12/FB0875713A?keyword=true
Surgical Scissors | Roboz | NC9411473 |  | scissors | https://www.fishersci.com/shop/products/scissors-327/NC9411473?searchHijack=true&searchTerm=RS-5915SC&searchType=RAPID&matchedCatNo=RS-5915SC
Laser/microscope
650/60 nm BrightLine single-band bandpass filter | Semrock |  |  | CARS filter - CH2 vibrations (645nm/60nm filter)
Control box IX2-UCB | Olympus |  |  | Control Box
D700/30m | Chroma |  |  | CARS filter - deuterated band | https://www.chroma.com/products/parts/d700-30m
DeepSee Insight | Spectra-Physics |  |  | Laser | https://www.spectra-physics.com/f/insight-x3-tunable-laser
Digital Handheld Optical Power and Energy Meter Console | ThorLabs | PM100D |  | power meter | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3341
Fluoview Software | Olympus |  |  | Microscope Control software
Frosted Microscope Slides | FisherBrand |  |  | microscope slides | https://www.fishersci.com/shop/products/fisherbrand-frosted-microscope-slides-4/22265446
FV1000 | Olympus |  |  | Microscope
Incubation Chamber | Tokai Hit | GM-800 |  | incubation chamber
Integrating Sphere Photodiode Power Sensor | ThorLabs | S142C |  | photodiode | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3341
Power supply FV31-PSU | Olympus |  |  | Power Supply
Precision 4063, 80MHz Dual Channel Function Generator | BK Precision |  |  | function generator
ProScan – Precision Microscope Automation | Prior Scientific Instruments |  |  | stage controller | https://www.prior.com/microscope-automation/inverted-microscope-systems/proscan-linear-stage-highest-precision-microscope-automation
SecureSeal Imaging Spacers | Grace Biolabs | 654004 |  | spacer | https://gracebio.com/product/secureseal-imaging-spacers-654004/
SRS Detection Kit | APE |  |  | SRS detector
UPLSAPO 20X NA:0.75 | Olympus |  |  | 20X Objective | https://www.olympus-lifescience.com/en/objectives/uplsapo/
Lipid/Drug Imaging
35 mm Dish, No. 0 Uncoated Coverslip, 14 mm Glass Diameter | MatTek Corporation | NC9711297 |  | Glass bottom dish | https://www.fishersci.com/shop/products/glass-bottom-mircrowell-dish/nc9711297
Cotton-tipped applicators | FisherBrand |  |  | Cotton-tipped applicator
Distriman Postive Displacement Pipette | Gilson |  |  | Postive Displacement Pipette | https://www.fishersci.com/shop/products/gilson-distriman-positive-displacement-repetitive-pipette/F164001G#?keyword=
Distriman Postive Displacement Pipette Tips | Gilson |  |  | Tips for pipette | https://www.fishersci.com/shop/products/gilson-distritip-syringes-6/f164100g?keyword=true
Data Analysis
FIJI | Open-source |  |  | FIJI/ImageJ | https://imagej.net/software/fiji/
Jupyter-Lab | open-source |  |  | JupyterLab | https://jupyter.org/
Rstudio | Open-source |  |  | Rstudio | https://www.rstudio.com/

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=