Screen Recordings:

63290_screenshot_1

- 3.3 Use the edge of the media droplet to find the focal plane 0:00 – 0:13

- 3.4 Locate embryos and bring into focus 0:14 – 0:43

- 3.4 Select one embryo for imaging and zoom in 0:44 – 1:03

63290_screenshot_2

- 3.5 Set start and end point for acquiring a z-stack of the embryo 0:00 – 0:26

63290_screenshot_3

- 3.6 Adjust laser power, digital offset, pinhole, pixel resolution, and pixel dwell time 0:00 – 0:53

63290_screenshot_4

- 3.7 Acquire a z-stack of the embryo 0:00 – 2:31

- 3.8 Open the 3D z-stack image 2:32 – 2:43

63290_screenshot_5

- 3.8 Identify a subcellular region of interest (ROI) 0:00 – 0:23

- 3.8 Draw a rectangular ROI 0:24 – 0:57

63290_screenshot_6

- 3.9 Adjust laser power, digital offset, pinhole, pixel resolution, and pixel dwell time 0:00 – 0:52

- 3.9 Acquire a preactivation time-lapse movie 0:52 – 2:09

63290_screenshot_7

- 3.10 Switch on the 405 nm laser 0:00 – 0:04

- 3.10 Adjust laser power, digital offset, pinhole, pixel resolution, and pixel dwell time 0:05 – 0:27

- 3.10 Acquire an activation time-lapse movie 0:28 – 0:41

63290_screenshot_8

- 3.11 Reopen preactivation file and reuse acquisition settings 0:00 – 0:07

- 3.11 Acquire a postactivation time-lapse movie 0:08 – 1:24

63290_screenshot_9

- 3.12 Switch on the 514 nm laser 0:00 – 0:05

- 3.12 Adjust laser power, digital offset, pinhole, pixel resolution, and pixel dwell time 0:06 – 0:27

- 3.12 Acquire a deactivation time-lapse movie 0:28 – 0:41

63290_screenshot_10

- 3.13 Reopen preactivation file and reuse acquisition settings 0:00 – 0:10

- 3.13 Acquire a post-deactivation time-lapse movie 0:11 – 1:25