7.1

7.1.1 (Switch the objective lens to 10X, use the stage joystick to move the bMFA to the top-left corner) 00:00-00:18

7.1.2 (Go to Acquire, click Scan Large Image) 00:19-00:26

7.1.3 (Choose 10X as Objective. Set the Field option, for example 5X3 for. Select “Current position is at top-left corner”) 00:26-00:47

7.1.4 (Click Scan) 00:47-01:06

7.1.5 (Click File, and save the adhesion map) 01:06-01:25

7.2

7.2.1 (Switch the objective lens to 10X, use the stage joystick to center the device under the microscope) 00:00-00:13

7.2.2 (Click View, Acquisition Controls, ND Acquisition) 00:19-00:23

7.2.3 (Set the path to save the file and type the file name) 00:23-00:42

7.2.4 (Check Large Image function, set Scan Area, for example 5X3. Check Time function, set the Interval as 5 min, and Duration as 60 min) 00:42-01:13

7.2.5 (Click Run Now) 01:13-01:21