## Sheet1
Chemicals, Reagents, and Consumables
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
2,5-Dihydroxybenzoic acid (DHB) matrix | Supelco | 39319
Acetic acid | Fisher Chemical | A38S-500
Acetonitrile Optima LC/MS grade | Fisher Chemical | A955-500
Ammonium bicarbonate | Sigma-Aldrich | 9830
Borane pyridine | Sigma-Aldrich | 179752
Bruker peptide calibration mix | Bruker Daltonics | NC9846988
Capillary | Polymicro | 1068150019 | to make nanoflow column (75 µm inner diameter x 360 µm outer diameter)
Cryostat cup | Sigma-Aldrich | E6032 | any cup or mold should work
Microcentrifuge Tubes | Eppendorf | 30108434
Formaldehyde | Sigma-Aldrich | 252549
Formaldehyde - D2 | Sigma-Aldrich | 492620
Formic acid Optima LC/MS grade | Fisher Chemical | A117-50
Gelatin | Difco | 214340 | place in 37 °C water bath to melt
Hydrophobic barrier pen | Vector Labs | 15553953
Indium tin oxide (ITO)-coated glass slides | Delta Technologies | CB-90IN-S107 | 25 mm x 75 mm x 0.8 mm (width x length x thickness)
LC-MS vials | Thermo | TFMSCERT5000-30LVW
Methanol Optima LC/MS Grade | Fisher Chemical | A456-500
Parafilm | Sigma-Aldrich | P7793 | Hydrophobic film
pH-Indicator strips | Supelco | 109450
Red phosphorus clusters | Sigma-Aldrich | 343242
Reversed phase C18 material | Waters | 186002350 | manually packed into nanoflow column
Wite-out pen | BIC | 150810
ZipTip | Millipore | Z720070
Instruments and Tools
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Automatic matrix sprayer system- M5 | HTX Technologies, LLC
Centrifuge - 5424 R | Eppendorf | 05-401-205
Cryostat- HM 550 | Thermo Fisher Scientific | 956564A
Desiccant | Drierite | 2088701
Forceps | WPI | 501764
MALDI stainless steel target plate | Bruker Daltonics | 8280781
Pipet-Lite XLS | Rainin | 17014391 | 200 µL
Q Exactive Plus Hybrid Quadrupole-Orbitrap | Thermo Fisher Scientific | IQLAAEGAAPFALGMBDK
RapifleX MALDI-TOF/TOF | Bruker Daltonics
SpeedVac - SVC100 | Savant | SVC-100D
Ultrasonic Cleaner | Bransonic | 2510R-MTH | for sonication
Ultrasonic homogenizer | Fisher Scientific | FB120110 | FB120 Sonic Dismembrator with CL-18 Probe
Vaccum pump- Alcatel 2008 A | Ideal Vacuum Products | P10976 | ultimate pressure = 1 x 10-4 Torr
Vortex Mixer | Corning | 6775
Water bath (37C) - Isotemp 110 | Fisher Scientific | 15-460-10
Data Analysis Software
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Expasy | https://web.expasy.org/translate/
FlexAnalysis | Bruker Daltonics
FlexControl | Bruker Daltonics
FlexImaging | Bruker Daltonics
PEAKS Studio | Bioinformatics Solutions, Inc.
SCiLS Lab | https://scils.de/
SignalP 5.0 | https://services.healthtech.dtu.dk/service.php?SignalP-5.0
tBLASTn | http://blast.ncbi.nlm.nih.gov/Blast.cgi?PROGRAM=tblastn&BLAST_PROGRAMS=tblastn&PAGE_TYPE=BlastSearch&SHOW_DEFAULTS=on&LINK_LOC=blasthome