Dear Dr. Krishnan,

We are grateful for the constructive comments we received on our manuscript titled “Measuring properties of the membrane periodic skeleton of the axon initial segment using cultured rat hippocampal neurons and 3D-structured illumination microscopy (3D-SIM)”. We sincerely thank both reviewers for their time and thorough examination.

Please find below our point-by-point response to each comment.

Sincerely,

Amr Abouelezz

Editorial comments:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

Amends in lines 47 and 247

2. Please provide an institutional email address for each author.

These are listed along with author names and affiliations, lines 7, 9, and 12.

3. Please reword the lines to avoid the issue of plagiarism:35-36. Please refer to the ithenticate report attached.

Rephrased.

4. Please revise the Introduction to include all of the following:
a) A clear statement of the overall goal of this method
b) The rationale behind the development and/or use of this technique
c) The advantages over alternative techniques with applicable references to previous studies
d) A description of the context of the technique in the wider body of literature
e) Information to help readers to determine whether the method is appropriate for their application

Rewrote the introduction to address these points.

5. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials.
For example:

We do not use the symbols mentioned, and have avoided all commercial language.

6. Please adjust the numbering of the Protocol to follow the JoVE Instructions for Authors. For example, 1 should be followed by 1.1 and then 1.1.1 and 1.1.2 if necessary. Please refrain from using bullets or dashes.

Reformatted the protocol to contain numbered steps.

7. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.” However, notes should be concise and used sparingly. Please include all safety procedures and use of hoods, etc.

Added “Note” in line 147.

8. The Protocol should be made up almost entirely of discrete steps without large paragraphs of text between sections. Please simplify the Protocol so that individual steps contain only 2-3 actions per step and a maximum of 4 sentences per step.

Rewritten.

9. Please note that your protocol will be used to generate the script for the video and must contain everything that you would like shown in the video. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

Added detailed instructions.

10. Line 58: Are the rat hippocampal cells isolated or purchased commercially. If isolated, please include an ethics statement before your numbered protocol steps, indicating that the protocol follows the animal care guidelines of your institution.

Added ethics statement (line 70).

11. Please include a one-line space between each protocol step and then highlight up to 3 pages of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.

Added space and highlighted essential steps for the video.

12. Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

The figure is not a reprint from the original publication listed, but is from the same data. The publication is open-access and does not require a license.

13. As we are a methods journal, please ensure that the Discussion explicitly covers the following in detail in 3-6 paragraphs with citations:
a) Critical steps within the protocol
b) Any modifications and troubleshooting of the technique
c) Any limitations of the technique
d) The significance with respect to existing methods
e) Any future applications of the technique

Edited the Discussion section.

14. Please do not use the &-sign or the word “and” when listing authors in the references. Authors should be listed as last name author 1, initials author 1, last name author 2, initials author 2, etc. Title case and italicize journal titles and book titles. Do not use any abbreviations. Article titles should start with a capital letter and end with a period and should appear exactly as they were published in the original work, without any abbreviations or truncations.

We use the journal’s own EndNote style file.

15. Figure 2: Please include scale bars in all the images of the panel and define the magnification in the figure legends.

Added.

16. Please ensure that the Table of Materials includes all the supplies (reagents, chemicals, instruments, equipment, software, etc.) used in the study. Please sort the table in alphabetical order.

Sorted alphabetically.







____________________________________
Reviewers' comments:
Reviewer #1:
Manuscript Summary:
The authors present a protocol to visualize and measure the localization and periodicity of MPS/AIS components in 3D-SIM images. 3D-SIM provides sufficient resolution and due to its robustness, it is an ideal tool to map the localization of the previously identified MPS/AIS components.

Major Concerns:
At the current form, the protocol is aiming more experienced researchers, who already know how to culture neurons, use a SIM setup and do basic image analysis. In order to be more useful for a less experienced researcher, the imaging and image analysis part should be more detailed. The authors should elaborate on potential pitfalls.

We now added more detail about the imaging and image analysis to make the protocol more accessible and elaborated on potential pitfalls.

Minor Concerns:
-Line 84: The authors state that it is important to check the SIM reconstructions for known artifacts. The authors can add a few sentences here to discuss these artifacts and how to deal with them.

We added a few lines about artefacts and included a reference to a freely available tool that can be used to check for their presence and evaluate the quality of the data (SIMcheck).

-Line 87: The authors mention an alignment algorithm. Is that a system specific tool? It should be clarified.

Clarified.

-Line 92: Elaborate on how to measure the distance between individual peaks (using a peak finder script or fitting multiple Gaussians…). It is not obvious to a beginner.

Explained in more detail.

-Line 95: The authors use pearson's correlation to test colocalization. The authors should discuss how to interpret the results of these measurements.

A brief explanation included.


Reviewer #2:
Manuscript Summary:
In their manuscript, Micinski et al. described a method to visualize and analyze the relative localization of MPS proteins with the periodic actin rings in the AIS region of the axon. This work is addressing an important technical question in neuroscience and cell biology. However, the protocol is too general in its current shape and doesn't provide sufficient practical information to guide the experiment. I provide my several major concerns below.

Major Concerns:
1. Fluorophores and phalloidin concentration is critical for the success of the actin ring staining. So could the author specify What kind of tags are used for the phalloidin? 647? 647N?

Specified.

2. Hard-setting mounting media are generally believed to require more laser power to get the similar fluorophore density (Wegel et al, 2016, scientific report). Have you ever tried vector shield liquid mounting medium?

We have only tried vector shield liquid media in different contexts. We find that ProLong Gold gave a good balance of ease of use and storage, preserving the sample integrity, high refractive index, and cost. In some of our experiments using ProLong Gold we get excellent signal-to-noise ratio with low laser power (<1%). It is possible that we make up for the increased laser power requirement by stronger staining.

3. Line 77-78: Essential setting parameters of the microscope should be listed.

Added more details about the microscope settings and ways to adjust them. Also added a reference that offers a tool for reconstructions in the absence of a proper OTF.

4. line 76: Channel alignment parameters should be derived prior to the experiment using the 100-200 nm fluorescent spheres (TetraSpeck beads, Invitrogen).

Indeed. Now clarified in text.

5. Line81-82 As the periodic pattern is very specific, which is the 190 nm lattices, Grid size, rotation number, and z-stack step size should all be given for the optimization of different wave-length fluorophores. you can check Wegel et al, 2016, scientific report for some information and Wang et al, Journal of Cell Biology, 2020 for more information.

Added information about the z-stack step size. As the grid size and rotation number are parameters that are out of our control and instrument-specific, we opted for not specifying these. We are not aware of how changes in these parameters would affect the capabilities of the instrument, and how much this is relevant in the context of commercial 3D-SIM setups.

6. line 91: can you specify the software you used?

Specified.

7. Line 95: more detailed steps for the colocalization analysis should also be provided.

More details now included.

Minor Concerns:
Figure 1: I guess you should also describe this step in more detail as well.
Line 134: SIM is also capable of imaging actin ring dynamics in live axons (Wang et al, 2020 Journal Cell Biology).

Added.