#### Supplemental file 2: Quantification of dsDNA from spheroids in an XFe96 spheroid microplate

The following steps describe a protocol for quantifying intra-spheroidal dsDNA using the Quant-iT PicoGreen dsDNA Assay Kit. As nuclear dsDNA in spheroids is linearly correlated with cell seeding density or spheroid volume (Figure 9), nuclear dsDNA content is a possible approach to normalize XF data. dsDNA is preferred over protein normalization, particularly where spheroid adhesion to assay culture plates is aided by poly-D-lysine and where pretreatments may impact protein synthesis.

This protocol assumes the final XFe assay well volume to be ~ 240 µL. Adjust the protocol as necessary for other volumes, e.g., spheroids within cell culture growth plates. Users may wish to prepare a standard curve of monolayer cells for DNA quantification to allow estimation of cell number within spheroids.

- Carefully aspirate 190 µL of XF assay medium from each well of the XFe96 spheroid microplate, leaving ~50 µL of assay medium/well.

- Add 50 µL/well of spheroid lysis buffer (supplemented with 20 mg/mL proteinase K), place the plate on ice, and leave to lyse for a minimum of 10–30 min.

NOTE: Shake the assay plate on a plate shaker, if necessary, to help enhance lysis. Larger spheroids may require elongated incubation, and lysis can be confirmed under the microscope. The process of freeze-thawing will also help aid spheroid lysis.

- Add an equal volume (100 µL/well) of 1x Tris-EDTA buffer (10 mM Tris-HCl + 1 mM EDTA, pH 7.4) to reduce sample viscosity.

- Carefully mix lysates within wells by pipette aspiration. Alternatively, use a plate shaker set at 500 rpm.

- Generate a standard curve of lambda DNA in 100 µL of XF assay medium from 2 mg/mL–2 ng/mL DNA.

- Add 100 µL of spheroid lysis buffer to match sample volumes and mix.

NOTE: Final standard curve will be in the range of 1 mg/mL–1 ng/mL after dilution.

- Transfer 20 µL of the spheroid lysate and standards into separate wells of a suitable 96-well microplate for recording fluorescence (preferably black).

- Dilute PicoGreen DMSO stock solution 200-fold to achieve final volume required to complete assay e.g., to achieve analysis of 10 samples at 100 µL final volume, dilute 4 µL of PicroGreen DMSO stock solution in 796 µL of 1x TE buffer.

- Add 80 µL/well of PicoGreen working solution and incubate at room temperature for 2–5 min, protected from light, with gentle intermittent shaking to equilibrate.

- Measure well fluorescence on a fluorescent-based microplate reader with an excitation wavelength of 485nm and emission wavelength of 520nm (485EX–520EM).