Dear Dr. Subramanian,

 Your manuscript, JoVE63377 "Simultaneous visualization of the dynamics of crosslinked and single microtubules by TIRF microscopy," has been editorially and peer reviewed, and the following comments need to be addressed. Note that editorial comments address both requirements for video production and formatting of the article for publication. Please track the changes within the manuscript to identify all of the edits.

 After revising and uploading your submission, please also upload a separate rebuttal document that addresses each of the editorial and peer review comments individually.

 Your revision is due by Nov 19, 2021.

 To submit a revision, go to the JoVE submission site and log in as an author. You will find your submission under the heading "Submission Needing Revision". Please note that the corresponding author in Editorial Manager refers to the point of contact during the review and production of the video article.

 Best,

 Vidhya Iyer, Ph.D.
 Review Editor
 JoVE
 vidhya.iyer@jove.com
 617.674.1888
 Follow us: Facebook | Twitter | LinkedIn
 About JoVE
 ____________________________________

We thank the editor and the reviewers for reviewing the manuscript, and for their overall positive assessment of our protocol. Their suggestions and comments have been very useful in improving the clarity of our instructions.

Please revise the manuscript to thoroughly address the reviewers' concerns and all the editorial comments. Additionally, please describe the changes that have been made or provide explanations if the comment is not addressed in a rebuttal letter. We may send the revised manuscript and the rebuttal letter back to peer review.

Editorial comments:
 Changes to be made by the Author(s):

Thank you for the formatting clarifications. All the points raised below have now been addressed in the revised manuscript. 

 1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. Please define all abbreviations at first use.
 2. Please provide an email address for each author.
 3. The Protocol should contain only discrete action items that direct the reader to do something without large paragraphs of text between sections or references to figures and tables that are

- not accompanied by other actions.

- Ensure that you refer to figures, tables, and video in the text.

If you want to draw the reader’s attention to the tables with solutions, buffers etc, introduce just one note in the beginning of the protocol and say something like “See Table 1, Table 2, and Table 4 for buffers, protein reagents, and chemical reagents, respectively.”

- Delete the blank headings like 1.1 and 1.4 that have only have the table references but no action steps.  Leave the table and figure references in the step if you also have an action step like you have for 1.3. In this case, please remember to cite all tables and figures in the order of appearance and renumber your tables and figures if you move the reference to the beginning of the protocol.

We have now done this.

4. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript (this includes the figures and the legends) and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
 For example: milli-Q; Hellmanex III detergent; Vectabond; Kimwipes; Jena Bio; Cytoskeleton XYZ; TLA120.2 rotor; Beckman-Coulter 343776; Valap etc

We have now done this.

5. Please transfer all materials in step 3.1.1 to the appropriate table and delete this section from the text.

We have now done this.

6. Please convert centrifuge speeds to centrifugal force (x g) instead of revolutions per minute (rpm), e.g., step 3.2.6, 3.2.8….

We have now done this.

7. Please note that your protocol will be used to generate the script for the video and must contain everything that you would like shown in the video. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. Please ensure the inclusion of specific details (e.g., button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

We have now done this.

8. Please format the manuscript as: paragraph Indentation: 0 for both left and right and special: none, Line spacings: single. Please include a single line space between each step, substep and note in the protocol section. Please use Calibri 12 points and one-inch margins on all the side. Please include a ONE LINE SPACE between each protocol step and then HIGHLIGHT up to 3 pages of protocol text for inclusion in the protocol section of the video.

We have now done this.

9. In case you would like to include the polymerization steps in the video and still ensure that you don’t exceed three pages of highlighted text, please combine some of the shorter highlighted Protocol steps so that individual steps contain 2-3 actions and maximum of 4 sentences per step and don’t highlight references to and placeholders for figures and tables.

We have highlighted steps 3.3 through 6.6 for inclusion in the video.

10. Please include table legends in the figure and table legends section after the representative results section.

We have now done this.

11. Consider combining some of the smaller, related tables IF POSSIBLE to reduce the number of tables. If you do this, remember to change table references.

Tables 2, 3, and 4 have been combined into Table 2, and Tables 5, 6, 7, and 8 have been renumbered, respectively, to Tables 4, 3, 5, and 6.

12. Please obtain explicit copyright PERMISSION to reuse figures or tables or videos from a previous publication, in this case, your video from the Nature Chemical Biology 2021 paper. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

We have requested copyright permission, and it will be uploaded as soon as it is received.

13. As we are a methods journal, please revise the Discussion to explicitly cover the following in detail in 3-6 paragraphs with citations:
 a) Critical steps within the protocol
 b) Any modifications and troubleshooting of the technique
 c) Any limitations of the technique
 d) The significance with respect to existing methods
 e) Any future applications of the technique

We have now added more details about challenges, limitations, and ways to extend the protocol. These modifications also address concerns and comments of reviewer 1.

14. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source (ITALICS). Volume (BOLD) (Issue), FirstPage–LastPage (YEAR).] For 6 and more than 6 authors, list only the first author then et al. Please include volume and issue numbers for all references, and do not abbreviate the journal names. Make sure all references have page numbers or if early online publication, include doi.

The references section has been adjusted to match the requested citation style.

____________________________________
 Reviewers' comments:
 Reviewer #1:
 Manuscript Summary:
In this protocol, Mani et al describe the procedures of imaging microtubule dynamic instability of single and crosslinked microtubules simultaneously using TIRF microscopy. Currently, many laboratories are using TIRF microscopy to study microtubule dynamics in vitro. However, the protocol presented here differentiates form conventional protocols by the formation of microtubule-seeds in the presence of a microtubule bundling protein (in this specific case: PRC1), which in turn results with a fraction of the surface-immobilized microtubules forming microtubule bundles. Addition of fluorescently labeled free tubulin dimers and microtubule associate proteins of interest to this imaging chamber allow to study regulation of microtubule dynamic stability both of single and crosslinked microtubules. The variation of the protocol presented here is physiologically relevant because in the cell different population of microtubules (single and crosslinked) coexist in very close proximity distances. Importantly, authors describe this protocol with high experimental details, so I highly recommend this manuscript for publication in JoVE. However, there are few points that authors should address for publication:

We thank the reviewer for their overall positive assessment of our manuscript, and for recommending it for publication. 

 1. PRC1 favors the formation of microtubule bundles with antiparallel orientation. This is the common microtubule orientation found in the midzone of the mitotic spindle. However, in interphase, microtubules can be bundled by other MAPs with uniform orientation (i.e microtubules in axons). Authors need to describe and discuss the orientation properties of PRC1-mediated microtubule bundles and the limitations that this can cause in data interpretation. To overcome this limitation, the authors can speculate the use of alternative MAPs as microtubule-bundle tools that potentially could generate uniform-oriented microtubule bundles.

We have now added the following lines in the Introduction (Lines 68-71):

“We describe a method to simultaneously view the collective activity of multiple MAPs on single microtubules, and on microtubule bundles crosslinked by the mitotic spindle-associated protein PRC1, which preferentially binds to and cross-links anti-parallel microtubules.”

In the Discussion, we speculate on the use of alternate MAPs to generate bundles of parallel microtubules (Lines 468-488):

“In order to extend this experimental method for the in vitro reconstitution of multiple microtubule-based structures, the following key issues need to be addressed: (i) PRC1 preferentially crosslinks microtubules that are oriented anti-parallel to each other. While such bundles are found at the cell center during mitosis, bundles of parallel microtubules are a common feature in other microtubule-based structures such as neuronal axons and the mitotic spindle. The protocol described above can be readily adapted to generate cross-linked parallel microtubules using recombinant crosslinkers such as Kinesin-1 and TRIM46. (ii) In these reconstitution assays, differences in fluorescence intensity can be used to distinguish between single microtubules and pairs of microtubules. Under our experimental conditions, intensity analyses indicate that most bundles contain two cross-linked microtubules, and line scan analyses provide information on their relative positioning. However, when there are more than two or three filaments in a bundle, the spatial resolution of standard TIRF-based imaging systems hinders identification of the ends and polarity of individual microtubules (~25 nm diameter). Moreover, while it is possible to identify the plus-ends of cross-linked anti-parallel microtubules from the direction of their growth, distinguishing plus-ends of cross-linked parallel microtubules growing in the same direction presents a challenge. An extension of the experiment described here is to mark the ends of microtubules using standard microtubule tip-binding proteins to position individual microtubules. For bundles with tens of microtubules, complementing the high temporal resolution of TIRF-based assays with techniques that have high spatial resolution, such as Atomic Force Microscopy, promises to yield new insights into the dynamics of individual microtubules within a bundle.”

2. What is the number of expected microtubules in PRC1-mediated microtubule bundles? I guess that the experimental conditions (low PRC1 concentration) were selected to preferentially generate microtubules bundles containing 2 microtubules coexisting with single microtubules. Do the authors find microtubule bundles formed with more than 2 microtubules using their experimental conditions? If so, authors should explain how they differentiate among microtubule bundles containing different number of microtubules.

Under our experimental conditions, the majority of bundles do indeed contain 2 anti-parallel microtubules, based on intensity analyses. This is optimized through titrations of PRC1 and non-biotinylated microtubule concentrations.

We have indicated the limitations of TIRF-based experiments and analyses in identifying the relative positions and orientations of individual microtubules within a bundle containing more than 2 or 3 microtubules, in Lines 476-488 in the Discussion:

“Under our experimental conditions, intensity analyses indicate that most bundles contain two cross-linked microtubules, and line scan analyses provide information on their relative positioning. However, when there are more than two or three filaments in a bundle, the spatial resolution of standard TIRF-based imaging systems hinders identification of the ends and polarity of individual microtubules (~25 nm diameter). Moreover, while it is possible to identify the plus-ends of cross-linked anti-parallel microtubules from the direction of their growth, distinguishing the ends of cross-linked parallel microtubules growing in the same direction is hindered by the spatial resolution of optical microscopy. An extension of the experiment described here is to use polarity-marked microtubules or microtubule tip-binding proteins to position individual microtubules. For bundles with tens of microtubules, complementing the high temporal resolution of TIRF-based assays with techniques that have high spatial resolution, such as Atomic Force Microscopy, promises to yield new insights into the dynamics of individual microtubules within a bundle.”

We have also added the following instructions in Lines 380-383 of Representative Results:
“Adjust LASER intensity for the excitation channels correspond to microtubule fluorescence, to ensure that differences in fluorescence intensity between single microtubules and bundles can be captured within the dynamic range of the detector.”

3. Purified PRC1 is a critical component responsible to form microtubule bundles in this protocol. The authors do not describe the source of this protein. Is it commercially available or is it purified in their lab? If purified, they should describe the purification protocol. If this protocol is out of the scope of this paper, at least they should reference articles which describe the purification protocol of PRC1 highly detailed.

We have now cited a reference with a detailed protocol for the expression and purification of PRC1 in step 5.9 of the protocol:

“Recombinant PRC1 can be expressed and purified from bacterial cells as preciously described. 13”

Reference 13: Subramanian, R. et al. Insights into antiparallel microtubule crosslinking by PRC1, a conserved nonmotor microtubule binding protein. Cell. 142 (3), 433-443, doi:10.1016/j.cell.2010.07.012, (2010).

4. It will be very useful if the authors include a representative example of this assay when no additional MAPs (no CLASP1 and Kif4A) are added. It would be very useful for other researches if authors describe their quantification strategy used to analyze the movies generated using this protocol.

We have now added a representative video (Video 1) showing the dynamics of single and cross-linked microtubules with no additional MAPs (no CLASP1 or Kif4A) present.

We have also added a paragraph about our quantification strategy in the Representative Results section (Lines 392-398):

“For quantitative analysis of microtubule dynamics, open microscopy files in the FIJI software, and select single microtubules and bundles for analysis. Use the following criteria to exclude single microtubules and bundles from further analysis: exclude microtubules or bundles (i) found at the edges of the field of view, (ii) obscured by protein aggregates, or (iii) whose filaments move in the z-direction out of the TIRF range. Parameters of microtubule dynamics, such as length, growth rate, rescue frequency, and catastrophe frequency, can be obtained by constructing and analyzing kymographs for each single microtubule or microtubule pair.”


 Reviewer #2:
 Manuscript Summary:
 This manuscript describes a clever approach to simultaneously visualize different microtubule populations by TIRF microscopy, in particular ones that are crosslinked versus single ones. Most of the protocol is very detailed, the complicated mixing steps are well explained, and the tables are very helpful. I think this topic is well suited for a JoVE article.

We thank the reviewer for their overall positive assessment of our manuscript.

 Major Concerns:
 None.

 Minor Concerns:
1. The manuscript would benefit from a short overview, probably in the introduction, about what the major steps or the protocol are and why they are being done. I was a bit lost about the direction this was taking as I read the manuscript and had to discover from context why certain steps were being done.

We agree with the reviewer that providing a short overview of the experiment at the beginning adds more clarity to the protocol. We have now added a paragraph in the introduction (Lines 71-78) summarizing the various steps of the entire protocol:

“Briefly, this protocol consists of the following steps: (i) Preparation of stock solutions and reagents; (ii) Cleaning and surface treatment of cover-slips used to create the imaging chamber for microscopy experiments; (iii) Preparation of stable microtubule “seeds” from which polymerization is initiated during the experiment; (iv) Specification of TIRF microscope settings to visualize microtubule dynamics; (v)  Immobilization of microtubule seeds and generation of crosslinked microtubule bundles in the imaging chamber; (vi) Visualization of microtubule dynamics in the imaging chamber through TIRF microscopy, upon addition of soluble tubulin, MAPS, and nucleotides.”

2. It would be helpful to have a description somewhere which steps can be done ahead of time and for how long. For example, how long ahead of time can the coverslips be cleaned? And I would like the note after 2.2.6 to come earlier. Otherwise, if you follow the procedure step by step, you will suddenly learn that you should have prepared those aliquots ahead of time.

We have now provided information about how far in advance each reagent can be prepared and stored. This information is contained in a new column labeled “Recommended Storage Duration” in Tables 1 and 2. Further, we have highlighted which steps can be done ahead of time in Steps 2, 3.1, 5.1.

3. There is a possible confusion about slides versus coverslips. If I understand correctly, the imaging chamber is assembled from different sizes of coverslips and that apart from 3.3.1 there are not traditional glass slides used. However, the text refers to "slides" multiple times, in cases that seem to refer to either coverslips or the imaging chamber. The authors should make sure that their nomenclature is consistent throughout.

We now use consistent nomenclature throughout the manuscript. We refer to both sets of glassware used to prepare imaging chambers (24x60 mm #1.5 coverslips and 18x18 mm #1.5 coverslips) as coverslips, and the glassware used to visualize and check microtubules after polymerization (Microscope Slides, Diamond White Glass, 25 x 75mm, 90° Ground Edges, WHITE Frosted), as microscope slide. Coverslips are pictured in Figure 1F.

 4. The following instances require a bit more detail:

 2.1.1. It would be helpful to know what this slide holder looks like. It is not part of the reagent/materials list.

The slide holder where the imaging chamber is placed for the experiment is shown in Figure 1H.

 2.1.2. How is excess liquid removed by vacuum? In an evacuated chamber?

We have clarified: “Rinse all coverslips five to six times in ultrapure water of resistivity 18.2 MΩ-cm, removing excess liquid after each rinse with a pipette tip attached to a vacuum tube (Figure 1C).”

2.1.3 What does "containers sealed" refer to? There is no mention of containers before.

The slide-washing racks and slide-staining jars are pictured in Figure 1A-1B. We have clarified what we mean by sealed containers with the line: “Fill beakers and slide-staining jars with water, seal with parafilm, and sonicate for 10 minutes.”

2.1.4 How big are the beakers/volume of ethanol used? How are the coverslips held while being dipped? Via tweezers or gloved hands or in the slide holder?

We have clarified: “Fill two 150 mL beakers with 200-proof ethanol. Use tweezers to dip each cover slip into one beaker filled with ethanol and then the other.”

 2.1.5 How do you dry with nitrogen gas and what is the incubator? Is it heated? How long a drying time is needed?

We have clarified: “Transfer coverslips to slide-drying rack, spray with nitrogen gas stream, and incubate at 37°C until completely dry (~15 minutes).”

We added the model of benchtop incubator to our Materials list.

 2.1.6 It would be helpful to have a bit more context here. If the reader doesn't have access to the exact same plasma cleaner, the reference to "once purple light is visible" is not helpful. Consider explaining why this is done so that a reader has a chance to accomplish the same thing with a different brand of plasma cleaner.

We have clarified: “Once dry, place coverslips in a single layer inside the plasma cleaner. Form vacuum seal, then set the Radio Frequency (RF) level of the plasma cleaner to Low. Once plasma is generated, leave coverslips in plasma cleaner for five minutes.”

 2.2.1: In what type of container are the coverslips incubated in? Are they still in a holder or are they transferred individually? If individually, how are they grabbed to move around?

We have clarified: “Immediately before use, dissolve 400 µL of 3-Aminopropyltriethoxysilane in 40 mL of acetone. Use tweezers to move individual plasma-cleaned coverslips into slide-washing rack and slide staining jars. Submerge coverslips in 3-Aminopropyltriethoxysilane solution and incubate for five minutes”

 2.2.3. What is this rack, how are they sprayed with nitrogen, and where are they incubated?

The slide-drying rack is pictured in Figure 1D.

We have clarified: “Transfer coverslips to slide-drying rack, spray with nitrogen gas stream, and incubate at 37°C until dry (~20 minutes).”

We added the model of benchtop incubator to our Materials list.


 2.2.7: What type of centrifuge is being used?

We have clarified “benchtop microcentrifuge.” We added the model used to our Materials list.

2.2.11: What is this "tip rack"?

Step 2.2.9 now describes the preparation of a hydration chamber from an empty tip box, as pictured in Figure 1E, and we have clarified that the tip rack mentioned is part of the hydration chamber.

Step 2.2.9: “Prepare a hydration chamber. One way to construct a hydration chamber is by placing wet paper towels beneath the tip rack in the bottom of an empty 10µL tip box (Figure 1E).”

2.2.15: Viewers would benefit from seeing this step in the video.

We have now rewritten step 2.2.15 for more clarity: “To construct imaging chamber, stick three strips of double-sided tape on 24x60 mm coverslip, on side labeled ‘b’. To the other side of tape strips, attach a 18x18 mm coverslip with its side labeled ‘P’ facing the larger coverslip. This forms two lanes for microscopy experiments, with treated surfaces facing each other (Figure 2 and Figure 1G).”

Additionally, this step is now displayed in Figure 2 and Figure 1G.

Line 213: What are old seeds? I.e., does this refer to the time they were stored at -80°C or time they spent after being thawed?

We have now clarified: “NOTE: If seeds fail to polymerize, troubleshoot by supplementing initial dilution with 0.5 µM GMPCPP.”

 5.1 "Tape a prepared glass slide to a slide holder" Is this "slide" one of the imaging chambers? And I suspect that the "slide holder" in this step is different from the slide holder in step 2.1.1. Please clarify.

We have now used consistent nomenclature throughout the manuscript. The slide-holders mentioned in 2.1.1 are now referred to as slide-staining jars and slide-washing rack to distinguish them from the slide-holder mentioned in 5.1. These items are pictured in Figure 1.

In compliance with data protection regulations, you may request that we remove your personal registration details at any time. (Remove my information/details). Please contact the publication office if you have any questions.