## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
AG-501-X8 Resin | BioRad | #1436424 | Storage Room temperature
100 mM sodium acetate buffer, pH 4.8 |  |  | Dissolve 0.82 g of sodium acetate in 80 mL of water. Adjust pH to 4.8 with acetic acid and complete the volume to 100 mL with water—storage at room temperature.
APTS stock solution | Merck | 09341-5MG | Dissolve 5 mg of APT in 48 mL acetic acid 0.2 M. Storage at -20 °C.
Capillary | Sciex Separations, Les Ulis, France
Chromeleon 6.80 SR8 Build 2623 | Thermofisher |  | select :File>import/restore>ANDI/chromatography in the open window: select "add" select cdf file > import > next Choose the folder where your file will downloaded in Chromeleon software> finish click on QNT-Editor> parameter "Min Area" select "Range" 0.05 [Signal]*min.
Excel | Microsoft |  | Open Excel> New file> save the file > File menu click on Import > In the open window choose "csv." as type file > select your asc file > a new window appears Step 1: choose Macintosh or Window and then used default setting for the steps 2 and 3. > Y values appear in column A> Manually add a Time column by incrementing 0.25 second to each cell that corresponds to the frequency (4Hz) for acquisition data . Then plot the graph.
Free-Dry apparatus | Christ | alpha 2-4 LO plus | before the freezing-drying process, samples are stored at -80 °C for 1 h.
Isoamylase | Megazyme | E-ISAMY | 180 U/mg of protein
Maltoheptaose | Merck | M7753
N-Linked carbohydrate separation buffer | Sciex Separations, Les Ulis, France | 477623 | Storage at 4 °C
Pullulanase | Megazyme | E-PULKP | 30 U/mg of protein
Sodium cyanoborohydride | Sigma-Aldrich | 296813-100ML | 1 M Sodium cyanoborohydride in THF
Vaccum-evaporator | Eppendorf | Concentrator 5301 | Set the temperature at 30 °C. Centrifuge until the samples are dried

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=