Dear Editor

We would like to thank the Reviewers for their insightful comments and questions. We have addressed the points raised by the Reviewers below (responses in Bold) and made appropriate changes to the manuscript (highlighted in red font) where appropriate.

Editorial Changes
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

Completed

2. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials.
For example: Form2 Stereolithography printer, Instron ElectroPuls E10000, GraphPad Prism, Excel, ElectroPuls® E10000, etc.

All commercial language has been removed and is only referenced in the Table of Materials.

3. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.” However, notes should be concise and used sparingly.

Completed

4. For SI units, please use standard abbreviations when the unit is preceded by a numeral throughout the protocol. Please include a single space between the numeral and the unit. Abbreviate liters to L to avoid confusion. Examples: 10 mL, 8 µL, 7 cm, etc. For time units, please use abbreviated forms for durations of less than one day when the unit is preceded by a numeral throughout the protocol. Do not abbreviate day, week, month, and year. Examples: 5 h, 10 min, 100 s, 8 days, 10 weeks, etc.

Completed

5. The Protocol should be made up almost entirely of discrete steps without large paragraphs of text between sections. Please simplify the Protocol so that individual steps contain only 2-3 actions per step and a maximum of 4 sentences per step.

Completed

6. Please revise the text to avoid the use of any personal pronouns (e.g., "we", "you", "our" etc.).

Completed

7. Please note that your protocol will be used to generate the script for the video and must contain everything that you would like shown in the video. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. Please add more specific details (e.g., button clicks for software actions, numerical values for settings, etc.) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.
Line 72: Please specify the method of euthanasia used in this study.

Added to now line 76

Step 1.1.1: How was the 2D rendering generated? Please provide all associated steps.

Steps 1.1.1.1 – 1.1.1.4 added for clarification.

Step 2.1: How are the femurs harvested? Please provide all associated steps.

Steps 2.2 and 2.3 added for clarification.

Step 4.1: What loading protocol was used here? How can this protocol be created? Please provide all associated steps.

Step 4 revised with additional sub-steps.

Step 5.5: How was the zero position of the actuator set? How was the load cell balanced?

This was added to step 4.3 of the software set up and is now appropriately referenced.

8. Please include a one-line space between each protocol step and then highlight up to 3 pages of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.

Spaces added between main steps of protocol.

9. Please include a scale bar for all images taken with a microscope to provide context to the magnification used. Define the scale in the appropriate Figure Legend.

Scale bars added to figures 3 – 6 and corresponding legends modified.

10. As we are a methods journal, please also include in the Discussion the following in detail along with citations:
a) Critical steps within the protocol

Sentence added to first paragraph of Discussion to highlight critical steps.

b) Any limitations of the technique

This protocol is limited to murine samples and the need for a 3D printer, but both of these are now addressed in the last paragraph of the Discussion.

11. Please do not use the &-sign or the word “and” when listing authors in the references. Authors should be listed as last name author 1, initials author 1, last name author 2, initials author 2, etc. Title case and italicize journal titles and book titles. Do not use any abbreviations. Article titles should start with a capital letter and end with a period and should appear exactly as they were published in the original work, without any abbreviations or truncations.

Completed
12. Please remove the embedded Table from the manuscript.

Table removed

Reviewer #1:
Major Concerns:
1. Can this method be done without a 3D printer? not every lab will have access to a 3D printer.

The guides can be machined. However, 3D printing companies are easily accessible, where you submit drawings or printing files and the parts are shipped back to the customer. These companies also provide a more financially economical solution, compared to machining these pieces, so we would still recommend 3D printing. This is now addressed as a limitation in the discussion.

2. Section 1.1.3. What was the height, width, and length of the guides? A Table of guide dimensions for different strains, sexes, and ages would be helpful.

This protocol was developed only using male and female C57BL/6J mice, from age 24 to 29 weeks. The guide dimensions were added to step 1.1.4.

3. Section 2.7. Can you wrap the proximal end of the femur (femoral neck) in PBS-soaked gauze during the entire process?

The proximal end of the femur could be wrapped in PBS-soaked gauze for the majority of the process, such as during the hardening of the bone cement, but would need to be removed during testing. Testing only takes a few moments, from removing the sample from the PBS bath, previously step 2.7, to fixing into the testing frame to completing the test, and the sample does not dry in this time.

4. Section 5.3. Why is the sample not preloaded?

Samples are not preloaded to avoid damaging the samples.  

Minor Concerns:
1. Line 148: "Do not preload YOUR sample…"

This has been corrected and now reads “Do not preload the sample…” in order to avoid personal pronouns.


Reviewer #2:
Major Concerns:
1) Human hip fractures typically occur during sideways falls. The optimum orientation for mouse femurs to mimic the forces contributing to human femoral neck fractures is unclear. Compared to the standard experimental orientation with the femur shaft positioned vertically, no evidence is presented for the author's statement "… this mode of bending loading on the femoral neck simulates the location and types of fractures clinically encountered."

This is addressed in the discussion paragraph, as the manner of which the samples broke (Figure 6) mimics “clinically relevant modes of femoral neck fractures; the intertrochanteric and transcervical neck fractures13” (Line 388).

2) To compare orientations, one should compare contralateral femurs from individual mice, with one femur tested in each orientation. Studies performed at different laboratories might give different results due to differences in mouse phenotype variability.

Thank you. We agree. Phenotype variability may cause some needed modifications to this protocol, as skeletal properties may be affected. A sentence in the second to last paragraph of the discussion has been added to mention this limitation/future adaption (Lines 347-354)

3) The optimum orientation would nicely discriminate femoral neck strength in ovariectomized mice versus control mice, mice treated with drugs known to influence human femoral neck fractures, and mice with various genetic bone phenotypes. Such data would greatly help choose optimum experimental parameters.

Correct, studies examining bone fragility in ovariectomized mice would be an excellent use of this protocol. However, since JOVE is a methods journal we used male and female C57Bl/6J mice to develop and describe the protocol.

4) There are several additional published studies examining mouse femoral neck strength that has not been cited in Table 1.

Thank you for this suggestions. Five additional publications have been added to the table.

5) The statistical analyses performed are not described, nor the levels of significance indicated by asterisks. Male-female differences are underwhelming.

Figure legends modified to indicate levels of significance by asterisks and describe statistical tests.

6) For comparisons of cantilever bending orientations, can photographs be obtained of the femoral necks after a fracture? Such photographs might distinguish among orientations and provide information for comparisons to human hip fractures.

X-ray images were taken after fracture and included in manuscript (Figure 6) and show evidence of clinically relevant femoral neck fractures (as addressed in Reviewer #2 Comment 1). As the Reviewer correctly points out, they can also be used distinguish orientation effects on the mode of failure.

Minor Concerns:
Line 19: Vertebral compression strength testing of mouse vertebrae is also commonly employed.
This is correct. Vertebral compression fractures are often used. However, as stated in the first line of the abstract, this protocol is designed to generate and assess reproducible femoral neck fractures, which is not a common method in mouse testing.

Line 25: Unclear how the new protocol streamlines strength testing compared to the standard protocol.
Line 26 reworded to state that the “new protocol streamlined testing by reducing variability in alignment… and improved reproducibility”

Reviewer #3:
Major issues
* The Discussion should be expanded with a paragraph about the limitations of the method presented. For instance, it requires a 3D printer and possible µCT/X-ray and ImageJ to ensure optimal alignment - what other alternative methods are available and described in detail for readers without that equipment available (another example of a femoral neck testing set-up: Brent el al. MethodsX, 2020)? It should also be added whether the femoral bone can be used to other mechanical tests after the neck test has been performed (e.g. can 3-point bending be performed afterward and is not affected by the fractured proximal part of the bone?).

Limitations and further testing suggestions have been added to the second to last paragraph of the discussion (previously the last paragraph).

* The 3D printing STL template file should be made available as Supplementary Material, if possible.

Absolutely, this will be uploaded with the resubmission.

* Table 1 should be expanded. There are several other articles that have utilized the femoral neck tests. Just to name a few: Brent et al. Bone 2018, Vegger et al. Journal of Bone and Mineral Metabolism 2017, Duch et al. High Altitude Medicine & Biology 2021).

Thank you for the important suggestion. These publications have been added to the Table 1, along with 2 other publications.

* Please clarify max load and stiffness %, what are the numbers relative to?

We believe you are referring to the percentages reported in Table 1. These percentages are coefficients of variation, representing the ratio between the standard deviation of the data and the mean. The caption for Table 1 has been revised to clarify this.

* Table 1: Kamal et al. Bone (2015): In Figure 6 in their paper, the authors show the femoral shaft is angled at 9 degrees - but Table 1 states NR. Please revise or clarify?

Yes, Kamal et al. set their femoral shaft angle to 9°, where as in this protocol we set the angle to 20°. But Kamal et al. does not report the coefficient of variation of the femoral angle they achieved with their potting methods, which is what we are referring to in Table 1.

Minor issues:
* P 1, L38: Mouse models of bone… the sentence is quite long and hard to read. Please revise.

Sentence revised and split into two sentences.

* Figure 1 legend: "Calculated" should be calculated.

Corrected. Thank you!


Reviewer #4:
Minor concerns:
Line 59: The authors note why a 20 degree angle was chosen for the setup (here and in the discussion), but it is not clear if this is physiologically relevant, especially in the quadrupedal mouse. This should be mentioned and discussed, and would benefit from suitable references for support.

The 20 deg angle was not chosen for physiological relevance, but based on previous publications by Voide et al. (Voide, R., van Lenthe, G. H. & Muller, R. Femoral stiffness and strength critically depend on loading angle: a parametric study in a mouse-inbred strain. Biomed Tech (Berl). 53 (3), 122-129, (2008)). This is referenced in the introduction and a sentence in line 61 has been added to emphasize this.

Line 71: An age range of 5 weeks was given for the mice. This is quite a range and could contribute to overall variability. Why was a consistent age not chosen? It is noted that C57BL/6J mice were used. Did these come from a vendor or in-house breeding colony? I am asking as the "J" implies stock from Jackson Labs.

Excess mice not used for other experiments were used for this publication. The age range from 24 to 29 weeks, all considered adults, did not show any significant effects of age on biomechanical outcomes. This can be added as a supplemental figure, if deemed necessary. These mice were bred in house, but are the off-spring of Jackson Lab C57Bl/6 mice. The “J” has been removed from the manuscript. 

Line 86: It would be stronger if more details were provided form many of the methods. "Using a 3D modeling software program, create the mounting guides." Doesn't really explain how to do it.

Step 1.2 has been elaborated on to give more detail.

Line 116-119: It would appear that the bone is left in the air while the hardening agent sets and before rehydrating. How long does this step take? There is a concern that if the bone dries completely, rehydrating the bone will not necessarily return all mechanical properties to "normal."

Hardening takes about 10 minutes and does not result in the bone completely drying. 

Line 123: 2 concerns here. First, you indicate that as long as the load cell has 1 N resolution, it is fine. However, the loads reported here are fairly low (<25N). For a 1 kN load cell, this means you are operating near the bottom 2-3% of the overall range which is certainly not ideal and can decrease the sensitivity of the load cell (being in the middle 50% of a load cell's range is better in practice). Another concern is that if the load cell is on the base of the fixture and not where the load is being applied to the femoral head, you now have eccentric axial loading meaning that both a load and bending moment are being applied and measured by the load cell. This makes the test more difficult to interpret.

Thank you for this excellent comment an insightful question. We agree that a smaller load cell is preferable and that mounting it in line with the actuator loading post is more ideal and have identified this in the discussion and limitations (line 353-360). A versed biomechanics engineer can correct the eccentric loading by recognizing the importance of mounting the load cell in line with the actuator. To make the method accessible to non-engineers, especially since most testing frames have the load cells mounted on the base, we chose the approach we described. Because the eccentricity is too small (<3 mm), we considered the eccentric load & moment issues to be negligible, especially that the load cell we used is an axial load cell. However, Step 3.1 states that users can, and should when possible, choose to mount the load cell on the stage or actuator.
With respect to the resolution question, the resolution for our load cell was 1/500 of the engaged transducers. Since the forces measured were below 250N, the test only engaged one transducer and the resolution of the values measured was approximately 0.5N.

Line 126: Again, details are lacking here. The goal would be to allow an investigator to read this paper and easily replicate the setup. It is not clear how that can happen when this step says "Attach a fixture that will firmly hold the aluminum segments with the samples."

Thank you for calling out this ambiguity. Two sentences and an associated figure follow this sentence, which provides enough guidance for an investigator to reproduce this set-up. The first sentence has been modified to provide additional clarity.

Line 138: Why was a loading rate of 0.5 mm/sec chosen? This is rather fast for a monotonic test to fail but is actually slow for a fall. Please clarify.

This rate was based on a literature search and what loading rates have already been published. This is now referenced in the discussion, line 321. Additionally, femoral neck fractures in humans result from falls, therefore a fast loading rate is more appropriate approximation of this clinical scenario. 

Line 163: Here, it is indicated that yield load is an outcome. However, it is not reported here and the curve shown doesn't really seem to have a yield point (failure looks pretty brittle). Without stress/strain data, is there a recommended method for determining where yield occurs?

A note has been added after step 6.3 describing how to find the yield point based on the guidelines of the Bone Mechanics Handbook, 2001 (reference 4). Again, because we are describing a method that non-engineers might attempt to use, we chose not to report this outcome. 

Line 174/175: Please expand on how one can interrogate tissue quality using CT.

µCT outcome parameters added to this sentence (now line 209-211).

Line 182: It is reported that males were stiffer and stronger than females. How was this tested?

Explanation of statistical tests and corresponding p-values added to this paragraph.

Line 185: If you are suggesting that lower BMD in females is the driver behind lower stiffness/strength and higher deformation, these data really need to be reported. What about differences in geometry (i.e. couldn't this also be important to structural-level properties)?

The statistical significance between the BMD of the male and female mice used in this study has been added to third paragraph of the Results section. The female mice showed significantly lower BMD when undergoing DEXA scans.

Line 194: Beyond stiffness, there seems to be a fairly strong linear relationship between angle and displacement/work that may be made weaker by what appears to be an outlier. It might make sense to look for significance in the relationship using a Pearson's test. Also, the x- and y-axes on the graphs in Figure 8 should all go to zero or show broken axes.

The x- and y- axes in Figure 8 have been adjusted with broken axes. As for the points that appear as outliers, a ROUT outlier test was performed on all data sets and outcome measures with Q = 1% and no outliers were identified for any of the plots in Figure 8. Additionally, as per your suggestion, Pearson’s tests were performed and no significance was found between any relationships, except for stiffness (p = 0.0126). This has been added to the Figure 8 caption.


Reviewer #5:
Major Concerns:
none

Minor Concerns:
The authors selected a 20-degree angle (L 59- 61) to maximize stiffness while minimizing the maximal bending moment along the femoral shaft as a method to increase the likelihood of femoral neck fractures. The femoral shaft is again emphasized in L 256 to 258; "the midshaft angle relative to the loading axis can affect the stresses experienced by the femoral neck and the probability that the fracture occurs at the femoral neck". However, the authors have apparently not considered that additional variation may be attributed to the length of the femoral shaft tested. What is the basis for the selection of 7 mm of the proximal femur above the potted shaft (L 106)? Would further variation be reduced if the placement of the shaft above the potting cement was based on a percentage (maybe 70%) of the femur length? This could be a critical source of variation if comparisons are to be made among femurs that vary in length. The mouse femoral shaft is not a uniform shape, however, the anatomical shape structure remains relatively consistent as the overall length varies due to mouse size. This concept is maybe beyond the scope of the current protocol, however, the authors might consider a mention of the inferences for future efforts.

7mm was selected, as this placed the guides distal to the 3rd trochanter, and it was found that this increased the reproducibility by placing the guides along a more consistent region of the femoral shaft, in terms of cross-sectional geometry. A sentence has been added to the second to last paragraph (previously the last paragraph) of the discussion, mentioning this as a limitation and that future users of this protocol may need to adapt this protocol to their specific mouse strain.

L191 - 194. As sex differences were noted, a more rigorous test would be to test relationships within sex, albeit the number of observations is limited. Examination of the sex distributions in Figure 8 infers a lack of heteroscedasticity of the variances. With larger numbers, would you expect to detect differences in the optimum test angle between male and female mice?

The optimum test angle selected for this protocol was determine based upon previous literature published by Voide et al. (2008) and was not the focus of this protocol development. We would not expect a difference in optimal test angle between males and females. In Table 1, we do report coefficients of variations for the biomechanical outcomes for the male and female cohorts, separately.