TITLE:

A Step-By-Step Method to Detect Neutralizing Antibodies Against AAV Using a Colorimetric Cell-Based Assay

AUTHORS AND AFFILIATIONS:

Sebastian Bass-Stringer1,2, Colleen J. Thomas2,3, Clive N. May3, Paul Gregorevic4*, Kate L. Weeks1,5,6*, Julie R. McMullen1,2,5,6,7*

1Baker Heart and Diabetes Institute, Melbourne, Vic, Australia

2Department of Physiology, Anatomy and Microbiology, La Trobe University, Melbourne, Vic, Australia

3Florey Institute of Neuroscience and Mental Health, University of Melbourne, Melbourne, Vic, Australia

4Department of Physiology, Centre for Muscle Research (CMR), The University of Melbourne, Melbourne, Vic, Australia

5Department of Diabetes, Central Clinical School, Monash University, Melbourne, Vic, Australia

6Baker Department of Cardiometabolic Health, The University of Melbourne, Melbourne, Vic, Australia

7Department of Physiology and Department of Medicine Alfred Hospital, Monash University, Melbourne, Vic, Australia

Email addresses of the authors:

Sebastian Bass-Stringer		(sebastian.bass@baker.edu.au)

Colleen J. Thomas			(colleen.thomas@latrobe.edu.au)

Clive N. May				(clive.may@unimelb.edu.au)

Paul Gregorevic			(pgre@unimelb.edu.au)

Kate L. Weeks				(kate.weeks@baker.edu.au)

Julie R. McMullen			(julie.mcmullen@baker.edu.au)

*Email addresses of the corresponding authors:

Julie R. McMullen			(julie.mcmullen@baker.edu.au)

Kate L. Weeks				(kate.weeks@baker.edu.au)

Paul Gregorevic			(pgre@unimelb.edu.au)

SUMMARY:

A comprehensive laboratory protocol and analysis workflow are described for a rapid, cost-effective, and straightforward colorimetric cell-based assay to detect neutralizing elements against AAV6.

ABSTRACT:

Recombinant adeno-associated viruses (rAAV) have proven to be a safe and successful vector for transferring genetic material to treat various health conditions in both the laboratory and the clinic. However, pre-existing neutralizing antibodies (NAbs) against AAV capsids pose an ongoing challenge for the successful administration of gene therapies in both large animal experimental models and human populations. Preliminary screening for host immunity against AAV is necessary to ensure the efficacy of AAV-based gene therapies as both a research tool and as a clinically viable therapeutic agent. This protocol describes a colorimetric in vitro assay to detect neutralizing factors against AAV serotype 6 (AAV6). The assay utilizes the reaction between an AAV encoding an alkaline phosphatase (AP) reporter gene and its substrate NBT/BCIP, which generates an insoluble quantifiable purple stain upon combination.

In this protocol, serum samples are combined with an AAV expressing AP and incubated to permit potential neutralizing activity to occur. Virus serum mixture is subsequently added to cells to allow for viral transduction of any AAVs that have not been neutralized. The NBT/BCIP substrate is added and undergoes a chromogenic reaction, corresponding to viral transduction and neutralizing activity. The proportion of area colored is quantitated using a free software tool to generate neutralizing titers. This assay displays a strong positive correlation between coloration and viral concentration. Assessment of serum samples from sheep before and after administration of a recombinant AAV6 led to a dramatic increase in neutralizing activity (125 to >10,000-fold increase). The assay displayed adequate sensitivity to detect neutralizing activity in >1:32,000 serum dilutions. This assay provides a simple, rapid, and cost-effective method to detect NAbs against AAVs.

INTRODUCTION:

Adeno-associated viruses (AAV) are increasingly used as vectors for the delivery of gene therapies to trial treatments for various health conditions that impact the cardiovascular, pulmonary, circulatory, ocular, and central nervous systems1-5. The popularity of AAV vectors as a leading gene therapy platform stems from their positive safety profile, long-term transgene expression, and wide-ranging tissue-specific tropisms1,6. Successful outcomes in animal studies have paved the way for over fifty AAV gene therapy clinical trials that have successfully reached their efficacy endpoints7, as well as the release of the first commercially available AAV gene therapy drug approved by the US Food and Drug Administration8.  Following initial successes, AAV has continued to gain traction in the basic and clinical research sectors as a vector of choice and is currently the only in vivo gene therapy approved for clinical use in the US and Europe9. Nonetheless, the presence of pre-existing neutralizing antibodies (NAbs) against AAV vector capsids remains a hindrance to both preclinical research and the efficacy of clinical trials. NAbs are present in both naïve human and animal populations and inhibit gene transduction following in vivo administration of an AAV vector1. AAV seropositivity is an exclusion criterion for most gene therapy trials, and therefore preliminary screening for host immunity is crucial in both the laboratory and the clinic. Establishing an assay that can detect the presence of NAbs against AAV is an essential step in the pipeline of any AAV gene therapy-based research project. This report focuses on AAV6 which has been of interest to researchers due to its efficient and selective transduction in striated muscle (heart and skeletal muscle)1,10-12. Gene therapy is considered a promising strategy for targeting the heart because it is difficult to specifically target the heart without invasive open-heart procedures.

Neutralizing activity is usually determined using either a cell-based in vitro or in vivo transduction inhibition assay. In vivo NAb assays usually involve administering serum from a test subject (e.g., human or large animal) into mice, followed by an AAV with a reporter gene, followed by testing for the expression of the reporter gene or corresponding antigen. In vitro assays determine NAb titers by incubating serum or plasma from a human or large animal in serial dilutions with a recombinant AAV (rAAV) that expresses a reporter gene. Cells are infected with the serum/virus mixture, and the extent to which the reporter gene expression is inhibited is assessed compared with controls. In vitro assays are widely used for NAb screening due to their comparatively lower cost, rapidity in testing, and greater capacity for standardization and validation13,14 compared with in vivo assays. In vivo assays are often reported to have greater sensitivity15,16, but the same claim has been made concerning in vitro assays14,17.

To date, in vitro NAb assays have mainly used luminescence (luciferase) as the reporter gene to detect neutralization. Although a light-based method has merit in many contexts, a colorimetric/chromogenic NAb assay may be advantageous in some circumstances. Colorimetric assays to assess neutralization have been successfully employed for other viruses such as influenza and adenovirus18,19. Their attractiveness stems from their simplicity, lower cost, and the requirement for only everyday laboratory apparatus and tools20. NAb assays that use a luminescence-based reporter gene require costly substrate kits, a luminometer, and corresponding software for analysis21. This colorimetric assay has the advantage of only requiring a light microscope and a very cheap substrate. Reporting of the sensitivity of colorimetric versus luminescent assays has yielded conflicting results. One study suggested luminescence-based ELISA assays display greater sensitivity and comparable reproducibility to colorimetric assays22, while another found colorimetric-based ELISA assays to confer greater sensitivity23. Here, a detailed protocol for an in vitro NAb assay against AAV that utilizes the chromogenic reaction between an AAV encoding an alkaline phosphatase (AP) reporter gene and a nitro blue tetrazolium /5-bromo-4-chloro-3-indolyl phosphate (NBT/BCIP) substrate is provided. This step-by-step protocol was developed based on a previous report that utilized an hPLAP (human placental alkaline phosphatase) reporter gene (AAV6-hPLAP) to detect neutralizing activity against AAV24. This assay is cost-effective, time-efficient, easy to set up, and requires minimal technical skills, laboratory equipment, and reagents. Moreover, the simplicity of this assay gives it the potential to be optimized for broad applications across different types of cells, tissues, or viral serotypes.

PROTOCOL:

All aspects of animal care and experimentation were conducted following Florey Institute of Neuroscience and Mental Health guidelines and the Australian Code for the Care and Use of Animals for Scientific Purposes following Reference25. 1.5-3-year-old Merino ewes were used for the study. A schematic overview of the assay protocol is provided in Figure 1.

- Initial preparation

  - For assessment in sheep: collect blood in 8 mL serum separator clot activator tubes (see Table of Materials), leave the blood sample at room temperature (RT) for 20-30 min, and subsequently spin down at 2,100 x g for 15 min. The clear supernatant that forms at the top of the tubes is serum.

    - Aliquot the clear aqueous phase into microcentrifuge tubes and store at -80 °C.

NOTE: The serum at -80 °C  remains stable for ~5 years. Blood was collected from the carotid vein using a 16 G needle (tip cut-off) and syringe from conscious animals.

  - Heat inactivate fetal bovine serum (FBS) by placing it in a water bath at 56 °C for 30 min and swirl intermittently. For precision, place a thermometer in a second bottle containing an equivalent volume of water and add it to the heat bath at the same time as the FBS bottle. Begin timing when the thermometer reaches 56 °C.

  - Employ proper aseptic technique and cell culture practice for all subsequent steps performed in the cell culture hood26,27. Spray 70% ethanol on all objects and the hood before use and clean with 1% sodium hypochlorite upon completion.

  - Make complete Dulbecco's Modified Eagle Medium (DMEM) by combining high glucose (4.5 g/L) DMEM (89%) with heat-inactivated FBS (10%) and Penicillin Streptomycin (1%). Combine and filter using a sterile vacuum filtration system (0.22 μm pore size, polyethersulfone membrane) (see Table of Materials). Store complete DMEM wrapped in foil at 4 °C.

  - Establish HT1080 cells (see Table of Materials) and passage in a 75 cm2 square flask as described in Reference28. Create multiple frozen stocks of cells. Do not use cells after 20 passages as further passaging may influence the assay results.

- Day 1 – Plating of cells

  - Passage HT1080 cells when they reach ~80% confluency.

  - Pre-warm complete DMEM (prepared in step 1.4), 0.05% trypsin-EDTA, and 1x phosphate-buffered saline (PBS) to 37 °C in a water bath. Remove the growth medium from passaged cells using an aspiration system.

NOTE: All aspiration in this protocol uses a vacuum system with a tube attached to a sterile 5 mL serological pipette.

  - Wash the cells in 10 mL of pre-warmed (37 °C) 1x PBS and trypsinize cells for 3-4 min in 4 mL of pre-warmed 0.05% trypsin-EDTA to detach the cells from the flask.

  - Inactivate the trypsin by adding 6 mL of pre-warmed complete DMEM and pipette the cells into a 50 mL tube. Calculate the number and concentration of viable cells using a hemocytometer and the trypan blue exclusion method29.

  - Dilute the cells to a concentration of 1 x 105 cells/mL in pre-warmed complete DMEM. Seed 100 μL of cells/well into clear 96-well flat-bottomed plates (1 x 104 cells per well). Incubate the plate at 37 °C, 5% carbon dioxide (CO2) overnight for 16-22 h.

- Day 2 – Infecting the cells

  - Remove plate/s from the incubator and use a light microscope to confirm that cells are evenly dispersed within the wells and that the confluency is ~50%. If cells are not within a range of 45%-55% confluency, repeat the 'Day 1' protocol and adjust initial cell concentration accordingly.

  - Generate serial dilutions of the serum samples of interest in 1.5 mL microcentrifuge tubes using pre-warmed complete DMEM as the diluent. Table 1 demonstrates the generation of a dilution cascade for triplicate samples.

    - To perform the assay in triplicate, prepare a 7.5 x 106 vector genomes (vg)/μL of working solution of AAV6-hPLAP (see Table of Materials) by diluting a virus stock solution in 1x PBS.

    - Add 66 μL of the 7.5 x 106 vg/μL of virus working solution to each tube containing 264 μL of serum/media dilution (330 μL of total volume/dilution, see Table 1).

NOTE: This is a robust assay that does not require perfect culture conditions. However, to accurately quantitate and ensure each assay run is reliable, it is necessary to include the following: (1) a no serum control, (2) a no serum or virus control, and (3) a NAb positive control sample on all plates under the same experimental conditions. The volume described (330 μL) accounts for triplicate samples +10% of the serum and virus mixture. Performing replicates is highly recommended for the accurate determination of neutralizing activity.

  - Mix the virus/serum dilutions by pipetting and place the tubes containing the virus/serum mixtures in an incubator at 37 °C, 5% CO2 for 30 min to allow potential neutralization to occur.

  - Pipette 100 μL of the virus/serum mixture to each well on the 96-well plate containing 1 x 104 cells/well for each dilution.

NOTE: This will generate a final viral concentration of 15k viruses/cell multiplicity of infection (MOI) in each well. Table 2 provides an example 96-well sample plate layout for assessing samples to a 1/512 dilution.

  - Wrap the 96-well plate containing cells, serum, and AAV-hPLAP in foil and place in an incubator at 37 °C, 5% CO2 overnight for 16-24 h to allow AAV entry into the cells.

- Day 3 - Fixing and adding substrate to the cells

  - Pre-warm an aliquot of 1x PBS to 37 °C (~25 mL/96-well plate). Cool, separate aliquots of PBS (~25 mL/96-well plate) and double-distilled H2O (DDW, ~25 mL/96-well plate) to 4 °C. Dissolve a pellet of BCIP/NBT (see Table of Materials) in 10 mL of DDW in a 50 mL conical centrifuge tube by vortexing (10 mL is enough for 2 x 96 well plates).

  - Aspirate the media from the wells of the 96-well plate using a serological pipette or similar attached to a suction-based aspiration system or fume hood vacuum. Gently place the tip of the serological pipette into the well and remove the media taking caution not to disrupt the adhered cells.

    - Add 50 μL of 4% PFA to each well using a pipette. Wrap the plate in foil and leave it at RT for 10 min to fix the cells.

CAUTION: Paraformaldehyde (PFA) is a probable carcinogen and is toxic from skin or eye contact or inhalation. Handle in a fume hood with proper personal protective equipment as well as a facemask. Make fresh 4% PFA diluted in PBS (~7 mL required per 96-well plate) and allow to cool to RT.

  - Wash and aspirate the cells with 200 μL of RT 1x PBS. Repeat this step twice.

NOTE: A multichannel pipette is an efficient option for the pipetting steps.

  - Pipette 200 μL of pre-warmed PBS into each well, wrap the plate in foil and incubate at 65 °C for 90 min to denature endogenous alkaline phosphatase activity30.

  - Aspirate wells and wash cells with 200 μL of cold (4 °C) PBS. Aspirate again, wash in 200 μl of cold DDW, and aspirate again.

  - Pipette 50 μL of the dissolved BCIP/NBT (prepared in step 4.1) into each well.

  - Wrap the plate in foil and incubate at RT for 2-24 h.

NOTE: Be consistent with incubation time between runs; the time flexibility allows users to photograph wells either on day 3 or the following day.

  - Using a light microscope camera, take photos of each well using a 4x objective lens, ensuring the same exposure, white balancing, and light settings are used consistently for all assays performed.

    - Position each well identically and ensure the edges of the well are not visible in the photos. Save photos in TIF format or similar.

NOTE: Specific settings will vary between microscopes, but quantitation will be most effective if the background lighting is high and consistent throughout the wells (Figure 1B).

- Quantitation to determine the neutralizing activity using ImageJ

  - Download and install the freely available software "ImageJ" (see Table of Materials).

  - Open the image to be analyzed in ImageJ by selecting File > Open (Figure 2).

  - If using colored images, convert to grayscale by selecting Image > Type > 8-bit.

  - Click on Image > Adjust > Threshold. Adjust the threshold until all colored areas are colored in red, but the background is not. Upon adding NBT/BCIP, the colored product will deposit in the area around the cells expressing hPLAP.

NOTE: It is recommended to use the same threshold setting for all images captured on the same plate.

  - Click on Analyze > Set Measurements and tick the Area, Limit to Threshold, Area Fraction, and Display label checkboxes and click on Ok.

  - To determine the signal reading (percentage of coloration) of a given well, click on Analyze > Measure. The '% Area' column of the pop-up window displays the signal reading.

  - Perform quantitation for all sample replicates. Exclude any contaminated wells, wells showing uneven cell distribution, or wells varying in cell density or lighting.

NOTE: See Supplementary Figure 1 for examples of wells that should be considered for exclusion. Typically, 3-4 wells may require exclusion from a 96-well plate. Figure 2 provides a visual representation of the quantitation process using ImageJ.

- Determination of Transduction Inhibition (TI50) titer

  - Determine the average readout from replicates (using the steps described in step 5) for the following: (1) Media-only control (baseline signal reading). (2) Virus + media only control (maximum signal reading). (3) Virus + serum samples of interest.

  - Calculate the percentage of inhibition using the following formula:                                       
100 - [(Test sample signal readout (virus + serum sample of interest) - baseline signal readout (media only control)) / (maximum signal readout (media and virus only) - baseline signal readout)) x 100] = % Transduction inhibition13.

  - Calculate the % transduction inhibition from all replicates of each dilution for all samples using the formula in 6.2. Determine the average transduction inhibition between the technical replicates for each dilution for all samples and controls.

  - Calculate the 50% transduction inhibition titer (TI50 titer) of a sample of interest by determining the lowest dilution of the sample that yields 50% or greater transduction inhibition of hPLAP activity. e.g., if a 1/8 dilution of a sample has greater than 50% transduction inhibition based on the calculation performed in 6.2 (and a 1/4 dilution does not), report the TI50 titer as 1/8.

- Determination of neutralized AAV particles

  - Calculate the number of neutralized AAV particles per μL of serum for a given sample by employing the following formula:

((MOI x cell count/well) / (volume of serum / dilution factor of TI50 titer)) / 2  = neutralized AAV particles / μL of serum9.

NOTE: Dividing by 2 accounts for the TI50 measuring 50% of neutralized particles. For a sample that gives a TI50 titer of 1/4 (25% serum, 75% diluent) in which the assay used 80 L of undiluted serum and an MOI of 15k plated onto 1 x 104 cells, the following calculation would be used: ((15000 x 10000) / (80/4)) / 2 = 3.75x106 neutralized particles / μL of serum.

REPRESENTATIVE RESULTS:

Transduction assay to establish the optimal viral dosage for plate coverage

HT1080 cells, a well-established fibrosarcoma cell line, were selected for this assay. A concentration of 1 x 104 HT1080 cells/well provided ~50% cell confluency in each well of a 96-well plate. To determine the optimal viral concentration for the assay, an rAAV encoding an hPLAP (human placental alkaline phosphatase) reporter gene (AAV6-hPLAP)31 was added in triplicate at a range of concentrations of vg containing particles per cell (MOI: 0, 150, 500, 1500, 5000, 15000, 50000 & 150000 (Figure 3A)). An MOI of 15000 (1.5 x 108 vg/well) conferred 36% plate coloration and was selected as the optimal viral dosage. A positive correlation was observed between coloration and viral concentrations for all MOI between 0 and 1,50,00 (n = 6, r = 0.995, P<0.001). This concentration adequately displayed the reporter gene signal above the background in the presence of high concentrations of NAbs (low plate coloration) while not losing sensitivity due to color saturation in the absence of NAbs (high coloration, Figure 3B).

The efficacy of the assay, when exposed to neutralizing elements, was trialed using serial dilutions of an anti-AAV6 mouse monoclonal antibody (mAb) in triplicate. The standard approach of using the first dilution to display 50% or more transduction inhibition (TI50) was applied to determine the neutralizing titer of a given sample (step 6). Assessing log10 dilutions, the anti-AAV6 mAb displayed a TI50 titer of ~10 ng/mL (1 ng total mAb), while a concentration of 500 ng/mL (50 ng total Ab) and above completely inhibited reporter gene expression (Figure 3C).

Assessment of NAbs against AAV6 in sheep samples

Serum was collected from the carotid vein using a 16 G needle (tip cut-off) and syringe from conscious naïve healthy adult sheep (1.5-3-year-old Merino ewes) (n = 11) and screened to determine the TI50 titer using the colorimetric NAb assay. Two-fold serial dilutions ranging from a 1/2 to a 1/512 dilution were assessed for each serum sample in duplicate or triplicate. The 1/2 dilution contained a total of 40 μL of serum, which corresponded to a concentration of 1.88 x 106 AAV particles per μL of serum. The degree of AAV neutralization varied within the naïve sample population, with TI50 titer values ranging from as low as 1/2 (blue line) to as high as 1/80 (green line, 1.88 x 106 to 7.5 x 107 neutralized AAV particles/μL of serum) (Figure 4A).

Subsequently, direct cardiac injection (n = 5) of AAV6 was performed at doses ranging between 5 x 1012 and 3 x 1013 vg to naïve sheep. Briefly, sheep were anesthetized as previously described32. The heart was exposed from the left lateral position. The pericardium was opened, and AAV was administered via 10-40 ~20 μL injections into the left ventricular myocardium (anterior) in the region around the second branch of the left anterior descending coronary artery (LAD). The pericardium, intercostal muscle, subcutaneous tissue, and skin were closed, and the anesthetic was removed. Serum was collected from all animals before and six to eight weeks after AAV administration from the pre-cannulated right jugular vein using a 16 G needle cut-off and syringe (~5 mL serum/animal). The colorimetric NAb assay was employed to determine the change in NAb titer following AAV6 administration. Post-AAV serum samples were screened in triplicate as 2- to 4-fold serial dilutions ranging from a 1/2 to a 1/32768 dilution. Assay results indicated that AAV inhibition TI50 titer values before AAV administration ranged from 1/4 to 1/80 (3.75 x 106 to 7.5 x 107 neutralized AAV particles/μL of serum; Figure 4B). Following AAV cardiac injection, a clear and consistent contrast in the NAb titer was observed compared with pre-AAV serum titers (Figure 4B, Table 3). The lowest AAV dose (5 x1 012 vg) displayed a 1/2048 TI50 titer (dashed blue line, 1.92 x 109 neutralized AAV particles/μL serum) and the remainder of the doses (1-3 x 1013 vg) displayed TI50 titers ranging from 1/12000 to >1/32768 (1.13 x1 010 to >3 x 1010 neutralized AAV particles/μL of serum).

FIGURES AND TABLE LEGENDS:

Figure 1: Schematic diagram of NAb assay protocol. (A) Visual representation of the NAb assay illustrating the primary steps involved in the three-day protocol. Briefly, cells are grown and plated overnight. The following day, serial dilutions of serum are prepared, incubated with AAV, and then incubated with the cells overnight. The next day, cells are fixed, washed, incubated, combined with the substrate, and incubated again, followed by imaging and quantitation. (B) Representative images of a minimum signal control (complete AAV inhibition), a maximum signal control (no inhibition), and an ovine serum sample with ~50% signal inhibition. Scale bar = 0.5 mm.

Figure 2: Steps for determining percentage coloration using ImageJ software. (A) Open the image to be analyzed with ImageJ software. (B) Convert the image to 8-bit grayscale. (C) Open the threshold window. (D) Adjust the maximum threshold so all colored areas are covered, but the background area is not (this threshold should be consistent across an entire plate). (E) Select the 'Analyze' dropbox, click on 'Set measurements' and tick 'Area', 'Area fraction', 'Limit threshold' and 'Display label', and click on 'OK'. (F) Click on 'Measure' to measure the covered area. The % area indicates the proportion of the image that was colored. This can then be used with the control samples to determine the TI50 titer.

Figure 3: Optimization of viral dose and assessment of assay efficacy against an anti-AAV6 monoclonal antibody (mAB). (A) The proportion of coloration (% of total area) for individual wells at different multiplicities of infection (MOI) and representative images (below) displaying the corresponding chromogenic reaction between the alkaline phosphatase (hPLAP) and NBT/BCIP for each viral dose (left). Percentage plate coverage is also shown in tabulated form (right). Each data point represents a technical replicate (n = 3 replicates per MOI). (B) A representation of the correlation between coloration and MOI is shown in Figure 3A. The red dotted line represents the highest concentration tested that did not affect the linear correlation between coloration and viral concentration.  (C) Neutralizing activity against AAV6 from an anti-AAV6 monoclonal antibody at log10 dilutions. 50% inhibition of AAV6 transduction (TI50) is observed at a ~10 ng/mL concentration. n = 3 replicates per dilution. Data represent mean ± SEM.

Figure 4:  Example of neutralizing antibody (Nab) assay results using ovine serum samples. (A)  Adeno-Associated Virus (AAV) neutralizing serum samples were collected from 11 naïve sheep, measured in 2-fold serial dilutions ranging from 1/2 to 1/512. Colored lines represent samples with low and high neutralizing activity; grey lines represent the nine additional samples. The dotted line represents 50% transduction inhibition (TI50) and the corresponding TI50 titers for the low (blue) and high (green) representative samples. (B) AAV neutralizing activity of serum samples collected from five sheep before and after receiving a dose of AAV via direct cardiac injection. Neutralizing activity was assessed in 2-fold serial dilutions ranging from 1/2 to 1/32768. Each color represents serum from a different animal, filled lines represent pre-AAV administration and dotted lines represent post-AAV administration. n = 2-3 replicates per dilution for each sample. Data represent mean ± SEM.

Table 1: Volumes of serum and diluent required to generate serial dilutions of serum in triplicate.

Table 2: Example 96-well plate layout for assessing naïve serum samples in dilutions ranging from 1/2 to 1/512. Higher dilutions are incorporated into the assay if assessing a sample known to be positive for AAV NAbs (post-administration samples) or if a higher titer is required. MO (-C): Media-only control. VO (+C): Virus and media only control. mAb: Monoclonal antibody against AAV (NAb positive control).

Table 3: Impact of AAV exposure on neutralizing activity. Neutralizing activity for sheep was assessed before and after receiving a direct cardiac injection of a rAAV6 at varying doses. The dose received pre and post TI50 titers and fold change following administration are displayed.

Supplementary Figure 1: Visual examples of different reasons for excluding sample wells. (A) The presence of contamination can be seen by clumps in the center. (B) High cell density. (C) Uneven lighting of well (left image), corresponding thresholding of the same well displaying excess coverage in the bottom right corner (right image). (D) Technical replicate images, the image on the left representing results with normal cell density, the image on the right reflecting results with low cell density. (E) Cells are unevenly distributed across a well.

Supplementary Figure 2: Simplified plasmid map displaying hPLAP insert. CMV: Cytomegalovirus promoter. hPLAP: human placental alkaline phosphatase. SV40: Simian virus 40 polyadenylation signal. ITR: Inverted terminal repeat sequences.

DISCUSSION:

This report describes a colorimetric assay that assesses the extent of AAV neutralization in a given serum sample by evaluating a chromogenic reaction corresponding to the degree of in vitro viral transduction. The development of the protocol was based on the known chromogenic reaction between the enzyme alkaline phosphatase and NBT/BCIP, which has been widely utilized as a staining tool for the detection of protein targets in applications such as immunohistochemistry and as a reporter tool for evaluating viral transduction24,33-35. Its merit stems from its time and cost-effectiveness, accessibility, ease of setting up and performing while still demonstrating a high degree of efficacy. The rAAV6 employed in this assay (AAV-hPLAP) carries the reporter gene human placental alkaline phosphatase (hPLAP) and is driven by a cytomegalovirus (CMV) promoter34 (Supplementary Figure 2). NBT/BCIP is an hPLAP substrate that is initially dephosphorylated by alkaline phosphatase and sequentially undergoes oxidization to form a dimer, resulting in an insoluble product that is a vibrant purple color36.

In selecting the optimal MOI for this assay, the aim was to establish a viral concentration that would sufficiently express the AAV reporter gene through virus-cell binding, and in conjunction with the NBT/BCIP substrate, provide coloration within a range that could be accurately measured. An MOI of 15,000 was selected, as it was the highest concentration tested that did not affect the linear correlation between coloration and viral concentration. Higher concentrations (50,000 and 1,50,000 MOI) caused the concentration-color response curve to plateau, indicating color saturation (Figure 3B). Assessment of viral MOIs between 0 and 15,000 (n = 6) and their corresponding level of coloration resulted in r = 0.995 (P < 0.001), validating the sensitivity of the assay by establishing a very strong positive correlation between viral concentration and reporter-gene driven coloration. Given potential variability in factors such as cell culture conditions, laboratory technicians, techniques, and equipment, as well as variations in viral batches, it is recommended that any new user perform a preliminary trial assessment of the optimal MOI when establishing a NAb assay.

The MOI chosen for a given NAb assay is a major contributing factor in the overall titer observed for a given serum sample. If an MOI of 5,000 instead of 15,000 had been selected, a 3-fold difference in titer value would be anticipated. This has historically been problematic in the field of AAV gene therapy, as different preclinical and clinical trials have implemented AAV NAb assays with MOI values ranging from less than 1,000 to as high 25,00037, meaning any kind of cross-study comparison of NAb titers for a given AAV serotype is of little to no value. It has recently been suggested that reporting titers as neutralized AAV particles per μL of serum can provide more comparable values across different studies9,38. Numerous other factors may contribute to variation in titers between studies, such as the choice of the cell line, reporter gene, incubation times, and culture conditions. To facilitate the standardization of AAV NAb assays, both the titer values and neutralized AAV particles/μL of serum have been reported.

It is essential to include a serial dilution of a known NAb sample on every plate to act as both a positive control and a common sample between plates. This is important to identify any possible variability between separate runs. A neutralizing monoclonal antibody against the AAV of interest is an ideal positive control and standard, but a serum sample that is positive for NAbs is also acceptable.  The efficacy of the assay was validated by demonstrating that a monoclonal antibody specific to intact AAV6 particles (ADK6) can quantitatively inhibit transduction in a concentration-dependent manner.

Based on the manufacturer's material datasheet, the BCIP/NBT substrate system produces the insoluble blue-purple product within ~10 min and is very stable. However, it is noted that procedures may affect the length of incubation time. Based on prior reports, time frames of 1-24 h have been used30,39. For this assay, incubation times must be consistent between runs. The time flexibility allows users to photograph wells either on day 3 of the protocol or the following day.

Preclinical trials using large animal models provide a crucial stepping-stone between the laboratory and the clinic due to the physiological resemblance that animals such as sheep and pigs share with humans1,40,41. Historically, most candidate AAV gene therapies that have made it to clinical trials have undergone preliminary trials in large animals1. Multiple studies have demonstrated that both humans and a range of large animals, including sheep, pigs, dogs, rabbits, and non-human primates, can harbor neutralizing antibodies against AAV6 as well as many other AAV serotypes 42,43. This highlights the importance of preliminary screening for NAbs before trials in both large animal models and humans. NAb status of serum samples from sheep that had no previously known exposure to AAV was assessed, of which 10 of 11 displayed TI50 titers <1/30 (<3 x 107 neutralized AAV particles/μL of serum). In contrast, one displayed a TI50 titer of 1/80 (7.5 x 107 neutralized AAV particles/μL of serum). Five of the sheep went on to receive direct cardiac muscle injection of rAAV. Amongst all samples, administration of AAV dramatically changed the neutralizing activity, with fold change increases ranging from 125 to a >10,000 fold in TI50 titer values between pre and post AAV exposure (Table 3).  Of note, the lowest AAV6 dose administered (5 x 1012 vg) corresponded to the lowest post-AAV TI50 titer value (TI50 titer 1/2000) and fold change increase (125 fold). In comparison, no clear evidence of pre-existing NAbs within the 11 naïve sheep was observed at levels that would prevent AAV transduction (all TI50 titer values <1/100). Data from the 5 sheep that received a direct AAV injection would suggest a cut-off for NAb positivity would be >1/1000 (based on pre-and post-AAV values). The stark difference between the pre-and post-NAb titer and the capacity to detect titers >1/32,000 provides further validation of the efficacy and sensitivity of the assay. Establishing a cut-point at which a sample is deemed positive for neutralizing activity is an essential subsequent step when determining a threshold for NAb positive animals. This can be determined by assessing the variability in a group (~n ≥ 30) of naïve samples from a specific population of interest. This allows for establishing criteria to choose a statistically derived cut-point in which a sample is deemed positive for neutralizing activity. Alternatively, positive control samples from animals both pre-and post-AAV administration, as shown in Figure 4B, can indicate the positive titer range for neutralizing activity. Recommendations regarding establishing cut-point thresholds and validation and optimization of in vitro neutralizing assays have been described extensively in the literature44-47.

The technique involves certain limitations. The use of the microscope camera to image wells is helpful because it provides very high-quality images that can accurately differentiate the degree of neutralization. However, microscopy can be labor intensive and may not be practical if processing many (>100) samples. A high-resolution flatbed or plate scanner may provide a more rapid approach to imaging the wells if the quality and lighting of images can be maintained. High MOI's have been reported to reduce assay detection sensitivity. It has been suggested that high AAV doses may evade neutralizing activity or that AAV transduction may occur in the presence of NAbs48-50. This assay uses a moderately high MOI (15,000); however, the sensitivity does not appear to be impeded as it can detect neutralizing activity at very high dilutions (>1:32,000) (Figure 4B). Lastly, as this assay uses a viral vector, appropriate approval by a governing body is generally required to use recombinant AAV; this will differ from country to country.

In summary, this in vitro assay provides a rapid, cost-effective, easily accessible, and simple method to detect the presence of neutralizing antibodies against rAAV6. This assay can be adjusted and optimized to perform with different AAV serotypes with relative ease. The AAV6-hPLAP vector can be provided for this assay upon request.

ACKNOWLEDGMENTS:

This study was funded by a National Health and Medical Research Council Project Grant to JRM and CJT (ID 1163732) and in part by the Victorian Government's Operational Infrastructure Support Program. SB is supported by a joint Baker Heart and Diabetes Institute-La Trobe University Doctoral Scholarship. KLW is supported by The Shine On Foundation and a Future Leader Fellowship from the National Heart Foundation of Australia (ID 102539). JRM is supported by a National Health and Medical Research Council Senior Research Fellowship (ID 1078985).

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

1.	Bass-Stringer, S. et al. Adeno-associated virus gene therapy: Translational progress and future prospects in the treatment of heart failure. Heart, Lung and Circulation. 27 (11), 1285-1300 (2018).

2.	Casey, G. A., Papp, K. M., MacDonald, I. M. Ocular gene therapy with adeno-associated virus vectors: current outlook for patients and researchers. Journal of Ophthalmic and Vision Research. 15 (3), 396-399 (2020).

3.	Lykken, E. A., Shyng, C., Edwards, R. J., Rozenberg, A., Gray, S. J. Recent progress and considerations for AAV gene therapies targeting the central nervous system. Journal of Neurodevelopmental Disorders. 10 (1), 16 (2018).

4.	Guggino, W. B., Cebotaru, L. Adeno-Associated Virus (AAV) gene therapy for cystic fibrosis: Current barriers and recent developments. Expert Opinion on Biological Therapy. 17 (10), 1265-1273 (2017).

5.	Perrin, G. Q., Herzog, R. W., Markusic, D. M. Update on clinical gene therapy for hemophilia. Blood. 133 (5), 407-414 (2019).

6.	Wang, D., Tai, P. W. L., Gao, G. Adeno-associated virus vector as a platform for gene therapy delivery. Nature Reviews Drug Discovery. 18 (5), 358-378 (2019).

7.	Kuzmin, D. A. et al. The clinical landscape for AAV gene therapies. Nature Reviews Drug Discovery. 20 (3), 173-174 (2021).

8.	Russell, S. et al. Efficacy and safety of voretigene neparvovec (AAV2-hRPE65v2) in patients with RPE65-mediated inherited retinal dystrophy: A randomised, controlled, open-label, phase 3 trial. Lancet. 390 (10097), 849-860 (2017).

9.	Weber, T. Anti-AAV Antibodies in AAV gene therapy: Current challenges and possible solutions. Frontiers in Immunology. 12, 658399 (2021).

10.	Weeks, K. L. et al. Phosphoinositide 3-kinase p110alpha is a master regulator of exercise-induced cardioprotection and PI3K gene therapy rescues cardiac dysfunction. Circulation: Heart Failure. 5 (4), 523-534 (2012).

11.	Gregorevic, P. et al. Systemic delivery of genes to striated muscles using adeno-associated viral vectors. Nature Medicine. 10, (8), 828-834 (2004).

12.	Bernardo, B. C. et al. Gene delivery of medium chain acyl-coenzyme A dehydrogenase induces physiological cardiac hypertrophy and protects against pathological remodelling. Clinical Science (London). 132 (3), 381-397 (2018).

13.	Meliani, A. et al. Determination of anti-adeno-associated virus vector neutralizing antibody titer with an in vitro reporter system. Human Gene Therapy Methods. 26 (2), 45-53 (2015).

14.	Falese, L. et al. Strategy to detect pre-existing immunity to AAV gene therapy. Gene Therapy. 24 (12), 768-778 (2017).

15.	Wang, D. et al. Adeno-Associated virus neutralizing antibodies in large animals and their impact on brain intraparenchymal gene transfer. Molecular Therapy - Methods & Clinical Development. 11, 65-72 (2018).

16.	Wang, M. et al. Prediction of adeno-associated virus neutralizing antibody activity for clinical application. Gene Therapy. 22 (12), 984-992 (2015).

17.	Kruzik, A. et al. Detection of biologically relevant low-titer neutralizing antibodies against adeno-associated virus require sensitive in vitro assays. Human Gene Therapy Methods. 30 (2), 35-43 (2019).

18.	Lehtoranta, L., Villberg, A., Santanen, R., Ziegler, T. A novel, colorimetric neutralization assay for measuring antibodies to influenza viruses. Journal of Virological Methods. 159 (2), 271-276 (2009).

19.	Johnston, P. B., Grayston, J. T., Loosli, C. G. Adenovirus neutralizing antibody determination by colorimetric assay. Proceedings of the Society for Experimental Biology and Medicine. 94 (2), 338-343 (1957).

20.	Xiaoli Zhu, T. G. Nano-Inspired Biosensors for Protein Assay with Clinical Applications.  https://doi.org/10.1016/C2016-0-01779-5, 237-264 (Elsevier, 2019).

21.	Jungmann, A., Muller, O., Rapti, K. Cell-based measurement of neutralizing antibodies against adeno-associated virus (AAV). Methods in Molecular Biology. 1521, 109-126 (2017).

22.	Samineni, S. et al. Optimization, comparison, and application of colorimetric vs. chemiluminescence based indirect sandwich ELISA for measurement of human IL-23. Journal of Immunoassay and Immunochemistry. 27 (2), 183-193 (2006).

23.	Siddiqui, J., Remick, D. G. Improved sensitivity of colorimetric compared to chemiluminescence ELISAs for cytokine assays. Journal of Immunoassay and Immunochemistry. 24 (3), 273-283 (2003).

24.	Arnett, A. L., Garikipati, D., Wang, Z., Tapscott, S., Chamberlain, J. S. Immune responses to rAAV6: The Influence of canine parvovirus vaccination and neonatal administration of viral vector. Frontiers in Microbiology. 2, 220 (2011).

25.	National Health and Medical Research Council, A. (ed National Health and Medical Research Council) (Canberra, Australia, 2013).

26.	Coecke, S. et al. Guidance on good cell culture practice. A report of the second ECVAM task force on good cell culture practice. Alternatives to Laboratory Animals. 33 (3), 261-287 (2005).

27.	Database, J. S. E. in General Laboratory Techniques   (ed Journal of Visualized Experiments) (2018).

28.	Stratagene. AAV-HT1080 Cells, <https://www.chem-agilent.com/pdf/strata/240109.pdf> (2003).

29.	Strober, W. Trypan blue exclusion test of cell viability. Current Protocols in Immunology. 111 (A3), B1-A3 B3 (2015).

30.	Bieber, S. et al. Extracorporeal delivery of rAAV with metabolic exchange and oxygenation. Scientific Reports. 3, 1538 (2013).

31.	Winbanks, C. E., Beyer, C., Qian, H., Gregorevic, P. Transduction of skeletal muscles with common reporter genes can promote muscle fiber degeneration and inflammation. PLoS One. 7 (12), e51627 (2012).

32.	Thomas, C. J. et al. Evidence that the MEK/ERK but not the PI3K/Akt pathway is required for protection from myocardial ischemia-reperfusion injury by 3',4'-dihydroxyflavonol. European Journal of Pharmacology. 758, 53-59, (2015).

33.	Barger, A. et al. Use of alkaline phosphatase staining to differentiate canine osteosarcoma from other vimentin-positive tumors. Veterinary Pathology. 42 (2), 161-165 (2005).

34.	Gregorevic, P. et al. Evaluation of vascular delivery methodologies to enhance rAAV6-mediated gene transfer to canine striated musculature. Molecular Therapy. 17 (8), 1427-1433 (2009).

35.	Sharma, A., Ghosh, A., Hansen, E. T., Newman, J. M., Mohan, R. R. Transduction efficiency of AAV 2/6, 2/8 and 2/9 vectors for delivering genes in human corneal fibroblasts. Brain Research Bulletin. 81 (2-3), 273-278 (2010).

36.	Smejkal, G. B., Kaul, C. A. Stability of nitroblue tetrazolium-based alkaline phosphatase substrates. Journal of Histochemistry & Cytochemistry. 49 (9), 1189-1190 (2001).

37.	Falese, L. et al. Strategy to detect pre-existing immunity to AAV gene therapy. Gene Therapy. 24 (12), 768-778 (2017).

38.	Orlowski, A. et al. Successful transduction with AAV Vectors after selective depletion of anti-aav antibodies by immunoadsorption. Molecular Therapy – Methods & Clinical Development. 16, 192-203 (2020).

39.	Goossens, K. et al. Differential microRNA expression analysis in blastocysts by whole mount in situ hybridization and reverse transcription quantitative polymerase chain reaction on laser capture microdissection samples. Analytical Biochemistry. 423 (1), 93-101 (2012).

40.	Entrican, G., Wattegedera, S. R., Griffiths, D. J. Exploiting ovine immunology to improve the relevance of biomedical models. Molecular Immunology. 66 (1), 68-77 (2015).

41.	Walters, E. M., Prather, R. S. Advancing swine models for human health and diseases. Molecular Medicine. 110 (3), 212-215 (2013).

42.	Rapti, K. et al. Neutralizing antibodies against AAV serotypes 1, 2, 6, and 9 in sera of commonly used animal models. Molecular Therapy. 20 (1), 73-83 (2012).

43.	Tellez, J. et al. Characterization of naturally-occurring humoral immunity to AAV in sheep. PLoS One. 8 (9), e75142 (2013).

44.	Gupta, S. et al. Recommendations for the validation of cell-based assays used for the detection of neutralizing antibody immune responses elicited against biological therapeutics. Journal of Pharmaceutical and Biomedical Analysis. 55 (5), 878-888 (2011).

45.	Gupta, S. et al. Recommendations for the design, optimization, and qualification of cell-based assays used for the detection of neutralizing antibody responses elicited to biological therapeutics. Journal of Immunological Methods. 321 (1-2), 1-18 (2007).

46.	Shankar, G. et al. Recommendations for the validation of immunoassays used for detection of host antibodies against biotechnology products. Journal of Pharmaceutical and Biomedical Analysis. 48 (5), 1267-1281 (2008).

47.	ed Center for Drug Evaluation and Research (CDER)  & Center for Biologics Evaluation and Research (CBER), U.S. Department of Health and Human Services Food and Drug Administration, 2019.

48.	Baatartsogt, N. et al. A sensitive and reproducible cell-based assay via secNanoLuc to detect neutralizing antibody against adeno-associated virus vector capsid. Molecular Therapy - Methods & Clinical Development. 22, 162-171 (2021).

49.	Watano, R., Ohmori, T., Hishikawa, S., Sakata, A., Mizukami, H. Utility of micro mini pigs for evaluating liver-mediated gene expression in the presence of neutralizing antibody against vector capsid. Gene Therapy. 27 (9), 427-434 (2020).

50.	Majowicz, A. et al. Therapeutic hFIX activity achieved after single AAV5-hFIX treatment in Hemophilia B patients and NHPs with pre-existing anti-AAV5 NABs. Molecular Therapy - Methods & Clinical Development. 14, 27-36 (2019).