## Feuil1
Parameter | Previous work | This work
ESI capillary voltage | 3.0 kV | 2.7 kV
Cone voltage | 60 V | 80 V
Source offset | 10 V | 20 V
Desolvation temperature | 300 °C | 350 °C
Cone gas | 0 L/h | 20 L/h
Fragmentation energy1 | 190 V → 175 V → –10 V | 195 V → 180 V → –10 V
1 Given as “pre-array gradient” → “pre-array bias” → “array offset” voltage gradient
2 Previous work: Ollivier et al. Analytical Chemistry. 93 (31), 10871-10878 (2021).