- 63460_screenshot_1

o 4.5.1 (Open “Intan Technologies RHD2000 Interface” software) 00:00-00:02

o 4.6.1 (Set up the software filters. | Click Amplifier Sampling Rate | Set 20.0 kS/s) 00:03-00:07

o 4.6.2 (Click Change Bandwidth | Set Amplifier Lower Bandwidth at 0.10 Hz | Set Amplifier Upper Bandwidth at 20000 Hz) 00:08-00:14

o 4.6.3 (Check Software/DAC High-Pass Filter | Set Notch Filter Setting at 60 Hz) 00:15-0:19

- 63460_screenshot_2

o 4.7.1 (Open Spike Scope | Check neural signals using voltage threshold) 00:00-00:06

o 4.7.2 (Click Stop | Click Record) 00:07-00:14

- 63460_screenshot_3

o 5.1 (Load the acquired data using Matalab | Check raw data) 00:00-00:08

o 5.2 (Run spike sorting code which contains “Wave-Clus” algorithm | Check sorted spikes and raster plot) 00:09-00:23

- 63460_screenshot_4

o 5.3 (Plot counting spikes | check evoked spikes during light stimulation) 00:00-00:09