## Sheet1
Name | Company | Catalog/Model Number
Amplifiers | Molecular Devices, Sunnyvale, CA, USA | Axoclamp 2B & Axoclamp 900A
Audible baseline monitors | Ampol US LLC, Sarasota, FL, USA | BM‐A‐TM
Bath Chiller (Isotemp 500LCU) | ThermoFisher Scientific | 13874647
Borosilicate glass capillaries (Pinning) | Warner Instruments | G150T‐6
Borosilicate glass capillaries (Sharp Electrodes) | Warner Instruments | GC100F‐10
Borosilicate glass capillaries (Trituration) | World Precision Instruments (WPI), Sarasota, FL, USA | 1B100‐4
BSA: Bovine Serum Albumin | Sigma | A7906
CaCl2: Calcium Chloride | Sigma | 223506
Collagenase (Type H Blend) | Sigma | C8051
Cover Glass (2.4 × 5.0 cm) | ThermoFisher Scientific | 12‐548‐5M
Data Acquision Digitizer | Molecular Devices, Sunnyvale, CA, USA | Digidata 1550A
Dissection Dish (Glass Petri with Charcoal Sylgard bottom) | Living Systems Instrumentation, St. Albans City, VT, USA | DD-90-S-BLK
Dithioerythritol | Sigma | D8255
DMSO: Dimethyl Sulfoxide | Sigma | D8418
Elastase (porcine pancreas) | Sigma | E7885
Endoplasmic Reticulum Tracker (ER-Tracker Red, BODIPY TR Glibenclamide) | ThermoFisher Scientific | E34250
Fiber optic light sources | Schott, Mainz, Germany & KL200, Zeiss | Fostec 8375
Flow Control Valve | Warner Instruments | FR‐50
Fluorescence system interface, ARC lamp & power supply, hyperswitch and PMT | Molecular Devices, Sunnyvale, CA, USA | IonOptix Systems
Forceps (Fine-tipped, sharpened) | FST | Dumont #5 & Dumont #55
Function Generator | EZ Digital, Seoul, South Korea | FG‐8002
Fura-2 AM dye | Invitrogen, Carlsbad, CA, USA | F14185
Glucose | Sigma‐Aldrich (St. Louis, MO, USA) | G7021
HCl: Hydrochloric Acid | ThermoFisher Scientific (Pittsburgh, PA, USA) | A466250
Headstages | Molecular Devices | HS-2A & HS-9A
HEPES: (4-(2-hydroxyethyl)-1-piperazineethanesulfonic acid) | Sigma | H4034
Inline Solution Heater | Warner Instruments | SH‐27B
KCl: Potassium Chloride | Sigma | P9541
MgCl2: Magnesium Chloride | Sigma | M2670
Microforge | Narishige, East Meadow, NY, USA | MF‐900
Micromanipulator | Siskiyou | MX10
Micropipette puller (digital) | Sutter Instruments, Novato, CA, USA | P‐97 or P‐1000
Microscope (Nikon-inverted) | Nikon Instruments Inc, Melville, NY, USA | Ts2
Microscope (Nikon-inverted) | Nikon Instruments Inc | Eclipse TS100
Microscope objectives | Nikon Instruments Inc | 20X (S‐Fluor) and 40X (Plan Fluor)
Microscope platform (anodized aluminum; diameter, 7.8 cm) | Warner Instruments | PM6 or PH6
Microscope Stage (Aluminum) | Siskiyou, Grants Pass, OR, USA | 8090P
Microsyringe Pump Controller | World Precision Instruments (WPI), Sarasota, FL, USA | SYS-MICRO4
MTA: 2-Methylthioadenosine diphosphate trisodium salt | Tocris | 1624
NaCl: Sodium Chloride | Sigma | S7653
NaOH: Sodium Hydroxide | Sigma | S8045
Nuclear Stain (NucBlue Live ReadyProbes Reagent; Hoechst 33342) | ThermoFisher Scientific | R37605
Oscilloscope | Tektronix, Beaverton, Oregon, USA | TDS 2024B
Papain | Sigma | P4762
Phase contrast objectives | Nikon Instruments Inc | (Ph1 DL; 10X & 20X)
Plasma Membrane Stain (CellMask Deep Red) | ThermoFisher Scientific | C10046
Plexiglas superfusion chamber | Warner Instruments, Camden, CT, USA | RC‐27
Scissors (3 mm & 7 mm blades) | Fine Science Tools (or FST), Foster City, CA, USA | Moria MC52 & 15000‐00
Scissors (Vannas style; 9.5 mm & 3 mm blades) | World Precision Instruments | 555640S, 14364
Stereomicroscopes | Zeiss, NY, USA | Stemi 2000 & 2000‐C
Syringe filter (0.22 µm) | ThermoFisher Scientific | 722-2520
Temperature Controller (Dual Channel) | Warner Instruments | TC-344B or C
Valve Control System | Warner Instruments | VC‐6
Vibration Isolation Table | Technical Manufacturing, Peabody, MA, USA | Micro‐g