# Submission ID #:  63496

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://www.jove.com/account/file-uploader?src=19366328

# Title:   Three-dimensional Characterization of Interorganelle Contact Sites in Hepatocytes Using Serial Section Electron Microscopy

# Authors and Affiliations:

Gary Hong Chun Chung1, Paul Gissen1,2, Christopher J. Stefan1, Jemima J. Burden1

1MRC Laboratory for Molecular Cell Biology, University College London

2NIHR Great Ormond Street Hospital Biomedical Research Centre, University College London

# Corresponding Authors:

# Jemima J. Burden					(j.burden@ucl.ac.uk)

# Email Addresses for All Authors:

Gary Hong Chun Chung				(gary.chung@ucl.ac.uk)

Paul Gissen						(p.gissen@ucl.ac.uk)

Christopher J. Stefan					(c.stefan@ucl.ac.uk)

# Jemima J. Burden					(j.burden@ucl.ac.uk)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? YES

Can you record movies/images using your own microscope camera? YES

Authors: Please record all the SCOPE shots using your microscope camera and upload them to your project page: https://www.jove.com/account/file-uploader?src=19366328

Videographer: Use the SCOPE kit and film all the SCOPE shots as a backup.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? YES

Videographer: Please film the screen for all SCREEN shots

3. Filming location: Will the filming need to take place in multiple locations?   YES

How far apart are the locations? One floor and one room apart

Current Protocol Length

Number of Steps:  20

Number of Shots:  51

# Introduction

- Introductory Interview Statements

Videographer: Obtain headshots for all authors.

REQUIRED:

  - Jemima J. Burden: This protocol allows 3D reconstruction of organelles in a simple and robust manner whilst being accessible to laboratories that do not have specialist volume electron microscopes.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 4.1.1.

  - Jemima J. Burden: This technique is extremely flexible, providing excellent xy resolution whilst being able to re-image samples if necessary. It is also compatible with tilt tomography when very high z resolution is required.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 4.3.2.

OPTIONAL:

  - Gary Hong Chun Chung: This technique allows interrogation of organelle morphology and interorganelle contacts. Therefore, it can be extended to examine any pathological conditions with organelle defects.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 6.1.1.

  - Gary Hong Chun Chung: This approach can provide insight into organelle interactions and cellular trafficking events. This method can also be applied to other tissues, organoid models, and cell culture systems in addition to hepatocytes.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 2.1.1.

  - Jemima J. Burden: First-time users may find serial sectioning and pick up challenging without loss. It is recommended to be proficient at regular ultrathin sectioning before applying this protocol to a precious sample.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 2.5.1.

Ethics Title Card

  - Procedures involving animal subjects have been in accordance with the UK Home Office guidelines, and the tissue harvesting was carried out in accordance with the UK Animal (Scientific Procedures) Act 1986.

# Protocol

- Trimming and Serial Sectioning of Embedded Samples

  - Begin by carefully trimming the resin-embedded tissue using a razor blade with the sample locked in the trimming adaptor [1]. Transfer the specimen arc, together with the chuck and the sample, to the specimen arm of the microtome [2] and position the specimen arc so that the arc's travel range runs from top to bottom [3].

    - Talent trimming the resin-embedded tissue using a razor blade with the sample locked in the trimming adaptor.

    - Talent transferring the specimen arc, together with the chuck and the sample, to the specimen arm of the microtome.

    - Talent positioning the specimen arc.

  - Then, secure the specimen arc in place [1]. Place and lock the diamond knife in the knife holder, ensuring that the knife's cutting angle is set appropriately [2]. Lock the knife holder into the stage securely [3].

    - Talent securing the specimen arc in place.

    - Talent placing and locking the diamond knife in the knife holder.

    - Talent locking the knife holder into the stage.

  - With the stage uplighting on [1], cautiously move the knife towards the specimen, continually adjusting the knife's lateral angle, specimen tilt, and specimen rotation by adjusting the relevant knobs until the block face is aligned to the knife's edge [2].

    - Talent turning off stage downlighting

    - Talent turning on stage uplighting.

    - Talent zoom into block face and aligning the knife to the block. Moving the sample up and down, bringing the knife towards the specimen and adjusting the alignment until the block face is aligned to the knife's edge.

  - Set the top and bottom of the cutting window of the specimen arm [1]; and leave the specimen just below the knife-edge [2]. Fill the knife boat with clean double distilled water [3] and ensure the water surface is level with the knife's edge and slightly concave [4]. Then start cutting sections [5].

    - Talent setting the top and bottom of the cutting window of the specimen arm.

    - Talent placing the specimen below the knife-edge.

    - Talent filling the knife boat with clean double distilled waterand turn on stage downlighting.

    - The water surface is level with the knife's edge and slightly concave.

    - Start cutting sections.

  - Stop the cutting just after the sample has passed the knife's edge [1]. Use an empty slot grid to estimate the number of sections to collect on each grid [2]. Using an eyelash in each hand, gently break the ribbon into smaller ribbons that can fit in the length of the slot grid [3]. Make a mental note of their relative positions within the sample.

    - Talent stopping the cutting after the sample has passed the knife's edge.

    - Talent using an empty slot grid to assess the number of sections on each grid.

    - Talent breaking the ribbon into smaller ribbons using an eyelash in each hand.

  - Using a glass applicator rod, hover a drop of chloroform over the sections to flatten them out [1]. Pick up the first empty slot grid with the first numbered forceps [2] and gently dip it in the Triton X-100 (pronounce as "Triton-X-hundred") [3], and then two times in the distilled water [4].

    - Talent hovering a drop of chloroform over the sections with a glass applicator rod.

    - Talent picking up the first empty slot grid with the first numbered forceps.

    - Talent dipping the slot grid in the Triton X-100.

    - Talent dipping the slot grid in the distilled water two times.

  - Use a piece of filter paper to remove the excess water from the forceps edge [1].

    - Talent removing the excess water from the forceps edge with a piece of filter paper.

  - Using forceps, gently lower approximately two-thirds of the formvar-coated slot grid into the water of the knife boat [1]. Ensure that the formvar side is facing down, and the long right-hand edge of the slot is at the surface of the water and parallel to the water's edge [2].

    - Talent lowering approximately two-thirds of the formvar-coated slot grid into the water of the knife boat with an eyelash in one hand and the forceps in the other hand.

    - A shot of the slot grid showing the formvar side is facing down, and the long right-hand edge of the slot is at the surface of the water and parallel to the water's edge.

  - Gently waft the grid in the water towards the ribbons so that upon the return stroke, the sections drift towards the grid [1]. Continue to do this in smaller and smaller wafts until the right-hand edge of the ribbon lines up with the right-hand edge of the slot [2].

    - Talent wafting the grid in the water towards the ribbons.

    - The right-hand edge of the ribbon lines up with the right-hand edge of the slot.

  - Then, with the last waft, gently bring the grid up to pick the sections up into the slot grid [1].

    - Talent bringing the grid up to pick the sections up into the slot grid with the last waft.

- Grid Staining

  - Stain the sections with Reynolds' lead citrate on parafilm on the bench [1] and place several pellets of sodium hydroxide under a Petri dish lid to provide a carbon dioxide-free environment [2]. Then, carefully, pipette 40-microliter drops of Reynolds' lead citrate on the parafilm, one drop for each grid [3].

    - Talent staining the sections with Reynolds' lead citrate on parafilm on the bench.

    - Talent placing several pellets of sodium hydroxide under a Petri dish lid.

    - Talent pipetting Reynolds' lead citrate on the parafilm, one drop for each grid.

  - Invert each grid onto the lead citrate drop and leave protected by the Petri dish lid for 7 to 10 minutes [1]. While the grids are staining, place five approximately 300-microliter drops of distilled water for each grid  on the parafilm [2].

    - Talent inverting each grid onto the lead citrate drop.

    - Talent preparing a larger second piece of parafilm on the bench with five 300-microliter drops of distilled water for each grid.

  - At the end of the lead citrate incubation, transfer each grid to a droplet of distilled water to wash for 1 minute without breathing directly on the grids. Repeat this four more times [1].

    - Talent transferring each grid to a droplet of distilled water to wash without breathing directly on the grids.

  - Use numbered crossover forceps to pick up the first grid [1], touch the edge of the grid to filter paper to wick away most of the water [2], and allow to dry in the forceps for at least 20 minutes. Repeat this for each grid [3].

    - Talent picking up the first grid with numbered crossover forceps.

    - Talent touching the edge of the grid to filter paper.

    - Talent drying the grid in the forceps.

- Imaging Acquisition by TEM

  - At low magnification, observe the order, location, and position of the serial sections [1]. Navigate to the middle section of the series on the grid [2]. Browse the sample [3] and identify a region of interest [4].

    - Talent observing in the microscope.

    - SCOPE: The middle section of the series on the grid being navigated.

    - WIDE: Talent browsing the sample with the monitor visible in the frame.

    - SCREEN: The region of interest being identified.

Videographer: Please film the screen for all SCREEN shots

  - Then, observe the sample at the desired magnification [1]. Consider collecting the series at a slightly lower magnification, as sections are often not perfectly aligned, and images may need to be cropped later [2].

    - SCOPE: The sample at the desired magnification.

    - SCOPE: The sample at a slightly lower magnification.

  - Next, take reference images at lower magnifications [1]. This will help to appreciate the context of the region of interest, its rough location at different magnifications in relation to section boundaries, and landmark features within the sample. Use these to sign-post the region of interest in other sections [2].

    - Talent taking reference images at lower magnifications.

    - The rough location of the region of interest at different magnifications in relation to section boundaries and landmark features within the sample.

  - For screen referencing, use reusable adhesive putty, stickers, or a piece of overhead projector paper, taped to the screen to place temporary markers on the screen. This will allow routine reimaging of the same features of the region of interest in the center of the image throughout the dataset [1].

    - Talent placing temporary markers on the screen.

- Segmentation and 3D Reconstruction

  - Specify the voxel measurements [1] and select the Segmentation Tab to start segmentation [2]. Click New in the segmentation editor panel to define new objects in the material list [3]. Right-click to change the color of the object [4] and double-click to rename the object [5].

    - SCREEN: The voxel measurements being specified.

    - SCREEN: The Segmentation Tab being selected, segmentation starts.

    - SCREEN: New being clicked in the segmentation editor panel, new objects in the material list being defined.

    - SCREEN: Menu being opened and the color of the object being changed.

    - SCREEN: The object being renamed.

  - For manual segmentation, choose the segmentation tool below the material list and select the default Brush tool to highlight the pixels [1].

    - SCREEN: The segmentation tool below the material list being chosen and the default Brush tool being selected. The pixels will be highlighted.

# Results

- Results: Segmentation and 3D Reconstruction Reviewing the Morphology of Endoplasmic Reticulum and the Associated ER-mitochondria Contacts

  - The electron microscopy tomogram of two apposed hepatocytes is shown here [1]. Higher magnification imaging allows the observation of the morphological details of the different organelles with nanometer resolution [2].

    - LAB MEDIA: Figure 4C.

    - LAB MEDIA: Figure 4C.

  - The representative image shows the segmented version of the same tomogram [1]. Trace of the endoplasmic reticulum [2], mitochondria [3], and the intermembrane contacts between the ER and the mitochondria of different spaces are shown here [4].

    - LAB MEDIA: Figure 4C. Video Editor: Only show the right image.

    - LAB MEDIA: Figure 4C. Video Editor: Only show the right image. Emphasize the yellow region, "ER," and the straight yellow lines.

    - LAB MEDIA: Figure 4C. Video Editor: Only show the right image. Emphasize the cyan circle.

    - LAB MEDIA: Figure 4C. Video Editor: Only show the right image. Emphasize the blue and magenta (or pink) regions, "ER-mitochondria contacts," the straight magenta lines, "Intermembrane…", and the straight blue line.

  - The representative image shows a tilted orthoslice overlaid with segmentation traces [1] and its relative position within the whole mitochondrion [2].

    - LAB MEDIA: Figure 4D.

    - LAB MEDIA: Figure 4D. Video Editor: Emphasize the white arrowhead and the white dotted rectangle in the inset image.

  - 3D Reconstruction of the segmented organelles and the endoplasmic reticulum–mitochondria contacts at different angles are shown here [1].

    - LAB MEDIA: Figure 4E.

# Conclusion

- Conclusion Interview Statements

  - Jemima J. Burden: It is important to remember the order of the sections and ribbons on the grids when they are being picked up.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 2.5.2., 2.5.3.

  - Jemima J. Burden: As this protocol is compatible with tilt tomography when very high z resolution is needed, it helps to resolve small or convoluted structures.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 6.4.1.

  - Gary Hong Chun Chung: This technique is perfect for the initial assessment of the spatial relationship between different organelles and, therefore, particularly useful in the progressing field of membrane contacts and membrane homeostasis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.