Protocol Name: A Reporter Assay to Analyze Intronic microRNA Maturation in Mammalian Cells

Guilherme Henrique Gatti da Silva and Patricia Pereira Coltri

Screen shot summary

In this summary we show the script (in red font) followed by the description of screen shot pictures (attached in separate files).

  - Next, perform the luminescence readings using equipment such as Synergy and measure expressed luciferase as relative light units [1] and then export the results to a spreadsheet for further statistical analysis [2].

    - SCREEN: Expressed luciferase is being measured.

Slide 1: GEN5 software opening page [In this screen, go to Protocol > Create New]

Slide 2: GEN5 software “Create New Protocol”

Slide 3: On the left-hand side, there are shortcuts to the Procedure, Plate Layout and Export

Slide 4: One can also use the shortcut on the upper menu [“Procedure”]

Slide 5/slide 6/slide7: Choose the “Plate type”

Slide 8/ slide 9/ slide 10: On the upper menu (or left-hand side menu) choose Protocol> Plate layout. A Plate layout wizard box will open.

Slide 11: On the wizard box, choose “Blank” and “Samples”

Slide 12/ slide 13: Follow the wizard to assemble the plate, by clicking “Ok” on the bottom right corner.

Slide 14: Click on “Blank” and on the corresponding well on the plate to assign wells to the blank. Repeat it to each sample used. When the plate is ready, click “Ok” on the bottom right corner.

    - SCREEN: Results are being exported.

Slide 15/ slide 16: Go to Protocol> Report/Export Builders to export data to Excel software.

Picture 7: Exported results (example)

  - Perform normalization of firefly-luciferase activity by the control Renilla and plot that as relative light units in a graphic while repeating for groups with and without doxycycline induction [1-TXT].

    - SCREEN: Normalization is being performed and plotted.

Picture 8: Normalization file (example)