## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
2,3,5-triphenyltetrazolium chloride | Sigma | T8877 | For TTC staining
Animal Mini Ventilator | Havard | Type 845 | For artificial ventilation
Animal ultrasound system VEVO2100 | Visual Sonic | VEVO2100 | Measurement for Doppler flow velocity and AS plaque
Batson’s #17 Anatomical Corrosion Kit | Polyscience Inc | 7349 | For vasculature casting
buprenorphine | Isoreag | 1134630-70-8 | For reduce the pain of mice after surgery
C57BL/6J mice + D29A1A2:D27 | Animal Center of South Medical University | - | For the generation of mouse RVI model
Camera | Sangnond |  | For taking photograph
Cold light illuminator | Olympus | ILD-2 | Light for operation
electrocardiograph | ADI Instrument | ADAS1000 | For recording electrocardiogram
hair removal cream | Reckitt Benchiser | RQ/B 33 Type 2 | Remove mouse hair
Heat pad- thermostatic surgical system (ALC-HTP-S1) | SHANGHAI ALCOTT BIOTECH CO | ALC-HTP-S1 | Heating
Hematoxylin-eosin dye | Leagene | DH0003 | Hematoxylin-eosin staining
Heparin sodium salt | Macklin | H837056 | For heparization
Isoflurane | RWD life science | R510-22 | Inhalant anaesthesia
Lab made spatula |  |  | Work as a laryngoscope
Lab made tracheal cannula |  |  | For intubation
Matrx VIP 3000 Isofurane Vaporizer | Midmark Corporation | VIP 3000 | Anesthetization
Medical nylon suture (5-0) | Ningbo Medical Needle Co. | 5-0 | For chest close
Microsurgical elbow tweezers | RWD life science | F11021-11 | For surgery
Microsurgical scissors | NAPOX | MB-54-1 | For arteriotomy
Millar Catheter | AD Instruments, Shanghai | 1.0F | Measurement of pressure gradient
MS400D ultrasonic probe | Visual Sonic | MS400D | Measurement for Doppler flow velocity and AS plaque
needle forceps | Visual Sonic | F31006-12 | For surgery
nitroglycerin | BEIJING YIMIN MEDICINE Co |  | For dilating coronary artery
Ophthalmic scissors | RWD life science | S11022-14 | For surgery
Pentobarbital sodium salt | Merck | 25MG | Anesthetization
PowerLab Multi-Directional Physiological Recording System | AD Instruments, Shanghai | 4/35 | Pressure recording
Precision electronic balance | Denver Instrument | TB-114 | Weighing scale
Silk suture (8-0) | Ningbo Medical Needle Co. | 6-0 | coronary artery ligation
Small animal microsurgery equipment | Napox | MA-65 | Surgical instruments
tissue forceps | Visual Sonic | F-12007-10 | For surgery
tissue scissor | Visual Sonic | S13052-12 | Open chest for hemodynamic measurement
Transmission Gel | Guang Gong pai | 250ML | preparation for Echocardiography measurement
Vascular Clamps | Visual Sonic | R31005-06 | For blocking blood from aorta

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=