## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1.5 mL clear microfuge tubes | ThermoFisher Scientific | 90410
1.5 mL tube magnetic rack | ThermoFisher Scientific | 12321D
1.5 mL tube-compatible cold centrifuge | Eppendorf | 5404000537
10 cm sterile tissue culture plates | ThermoFisher Scientific | 150464
10X T4 DNA Ligase buffer | New England Biolabs | B0202S
15 mL conical tubes | VWR | 89039-656
1X TE buffer | ThermoFisher Scientific | 12090015
200 µL PCR tubes | Eppendorf | 951010022
2X quick ligase buffer | New England Biolabs | M2200 | Ligase Buffer
5X KAPA HiFi buffer | Roche | 7958889001 | 5X high fidelity PCR buffer
7-Amino-Actinomycin D (7-AAD) | Fisher Scientific | BDB559925
96-well magnetic rack | ThermoFisher Scientific | 12027 or 12331D
96-well plate | VWR | 82006-636
AMPure XP beads | Beckman Coulter | A63881 | polystyrene‒magnetite beads; Due to potential variability between AMPure XP bead lots, it is recommended that your AMPure bead solution be calibrated. See manufacturer’s instructions
Antibody to protein of interest | varies
ATP | ThermoFisher Scientific | R0441
BioMag Plus Concanavalin A beads | Polysciences | 86057-10 | ConA-conjugated paramagnetic microspheres
BSA
Calcium Chloride (CaCl2) | Fisher Scientific | AAJ62905AP
Cell sorter | BD FACSAria II cell sorter |  | Requires training
Cell-specific media for cell culture | Varies
Chloroform | ThermoFisher Scientific | C298-500 | Chloroform is a skin irritant and harmful if swallowed; handle in a chemical fume hood using gloves, a lab coat, and goggles
Computer with 64-bit processer and access to a super computing cluster |  |  | For computational analyses of resulting sequencing datasets
DNA spin columns | Epoch Life Sciences | 1920-250
dNTP set | New England Biolabs | N0446S
EGTA | Sigma Aldrich | E3889
Electrophoresis equipment | varies
Ethanol | Fisher Scientific | 22032601 | 100% vol/vol ethanol is highly flammable; handle in a chemical fume hood using gloves, a lab coat, and goggles
Ethylenediaminetetraacetic acid (EDTA) | Fisher Scientific | BP2482100
FBS | Sigma Aldrich | F2442
Glycerol | Fisher Scientific | BP229-1
Glycogen | VWR | 97063-256
HEPES | Fisher Scientific | BP310-500
Heterologous S. cerevisiae DNA spike-in | homemade |  | Prepared from crosslinked, MNase-digested, and agarose gel extracted genomic DNA purified of protein/RNA and diluted to 10 ng/mL. We recommend yeast genomic DNA, but other organisms can be used if needed.
Hydrochloric Acid (HCl) | Fisher Scientific | A144-212 | Hydrochloric Acid is very corrosive; handle in a chemical fume hood using gloves, a lab coat, and goggles
Ice Bucket | varies
Illumina Sequencing platform (e.g., NextSeq500) | Illumina
Incubator with temperature and atmosphere control | ThermoFisher Scientific | 51030284
KAPA HotStart HiFi DNA Polymerase with 5X KAPA HiFi buffer | Roche | 7958889001 | hotstart high fidelity polymerase
Laminar flow hood | Bakery Company | SG404
Manganese Chloride (MnCl2) | Sigma Aldrich | 244589
Micropipette set | Rainin | 30386597
Minifuge | Benchmark Scientific | C1012
NEB Adaptor | New England Biolabs | E6612AVIAL | Adaptor
NEB Universal primer | New England Biolabs | E6611AVIAL | Universal Primer
NEBNext Multiplex Oligos for Illumina kit | New England Biolabs | E7335S/L, E7500S/L, E7710S/L, E7730S/L | Indexed Primers
Negative control antibody | Antibodies-Online | ABIN101961
Nuclease Free water | New England Biolabs | B1500S
PCR thermocycler | Eppendorf | 2231000666
Phase lock tubes | Qiagen | 129046
Phenol/Chloroform/Isoamyl Alcohol (PCI) | ThermoFisher Scientific | 15593049 | Phenol is harmful if swallowed or upon skin contact; handle in a chemical fume hood using gloves, a lab coat, and goggles
Phsophate buffered saline (PBS) | ThermoFisher Scientific | 10814010
Pipette aid | Drummond Scientific | # 4-000-100
Polyethylene glycol (PEG) 4000 | VWR | A16151
Potassium Chloride (KCl) | Sigma Aldrich | P3911
Potassium Hydroxide (KOH) | Fisher Scientific | P250-1 | CAUTION KOH is an eye/skin irritant as a solid and corrosive in solution. Handle in a chemical fume hood using gloves, a lab coat, and goggles
Protease Inhibitors | ThermoFisher Scientific | 78430
ProteinA/G-MNase | Epicypher | 15-1016 | pA/G-MNase
ProteinA-MNase, purified from pK19pA-MN | Addgene | 86973
Proteinase K | New England Biolabs | P8107S
Qubit 1X dsDNA HS Assay Kit | ThermoFisher Scientific | Q33230
Qubit Assay tubes | ThermoFisher Scientific | Q32856
Qubit Fluorometer | ThermoFisher Scientific | Q33238
Quick Ligase with 2X Quick Ligase buffer | New England Biolabs | M2200S
RNase A | New England Biolabs | T3010
Sodium Acetate (NaOAc) | ThermoFisher Scientific | BP333-500
Sodium Chloride (NaCl) | Sigma Aldrich | S5150-1L
Sodium dodecyl sulfate (SDS) | ThermoFisher Scientific | BP166-500 | SDS is poisonous if inhaled; handle with care in well ventilated spaces using gloves, eye protection, and an N95-grade respirator when handling
Sodium Hydroxide (NaOH) | Fisher Scientific | S318-1 | NaOH is an eye/skin irritant as a solid and corrosive in solution. Handle in a chemical fume hood using gloves, a lab coat, and goggles
Spermidine | Sigma Aldrich | S2626
Standard Inverted Light Microscope | Leica | 11526213
Standard lab agarose gel materials | Varies
Standard lab materials such as serological pipettes and pipette tips | Varies
T4 DNA Ligase | New England Biolabs | M0202S
T4 DNA Polymerase | New England Biolabs | M0203S
T4 PNK | New England Biolabs | M0201S
Tabletop vortexer | Fisher Scientific | 2215414
Taq DNA Polymerase | New England Biolabs | M0273S
Thermomixer | Eppendorf | 5384000020 | Alternatively, can use a waterbath
Tris base | Fisher Scientific | BP152-5
Triton X-100 | Sigma Aldrich | 9002-93-1 | Triton X-100 is hazardous; use a lab coat, gloves, and goggles when handling
Trypsin | Fisher Scientific | MT25052
Tube rotator | VWR | 10136084
USER enzyme | New England Biolabs | M5505S

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=