Protocol Name: A Reporter Assay to Analyze Intronic microRNA Maturation in Mammalian Cells

Guilherme Henrique Gatti da Silva and Patricia Pereira Coltri

Screen shot summary

In this summary we show the script (in red font) followed by the description of screen shot pictures (attached in separate files).

  - Next, perform the luminescence readings using equipment such as Synergy and measure expressed luciferase as relative light units [1] and then export the results to a spreadsheet for further statistical analysis [2].

    - SCREEN: Expressed luciferase is being measured.

Picture 1: GEN5 software opening page

Picture 2: Go to Protocol > New Experiment

Picture 3: Open your protocol or create your own

Picture 4: Go to Protocol > Procedure and check the optimization parameters.

(i.e., Using pmiRGLO, one will have two solutions to be dispensed in the plate, a firefly reading and the normalization with the renilla reading)

Picture 5: Go to Protocol > Plate Layout and design the appropriate plate layout checking on the appropriate columns and rows

Picture 6: Example of a plate layout

    - SCREEN: Results are being exported.

Picture 7: Exported results (example)

  - Perform normalization of firefly-luciferase activity by the control Renilla and plot that as relative light units in a graphic while repeating for groups with and without doxycycline induction [1-TXT].

    - SCREEN: Normalization is being performed and plotted.

Picture 8: Normalization file (example)

Movie: “Reading and data export”