63974_screenshot_3.1

3.1.1. (Go to Setup tab | Tick Autosave) 					      00: 00:00-00:06:10

3.1.2. (Go to Setup tab | Click Saving Settings | Set directory and file name)  00:06:11-00:39:01

63974_screenshot_3.2

3.2.2 (Switching on Laser | Click Approach) 				      00:08:01-00:30:14

3.2.3 (Click retraction | Chance for realignment if necessary)                             00:30:15-00:42:02

3.2.4 (Laser turned off | Tip can be seen in focus)      			       00:42:03-00:53:00

63974_screenshot_3.3

3.3.1 (Go to Accessory | Direct Overlay Optical Calibration)      		      00:00:00-00:13:08

3.3.2 (Click Next | Acquisition of images | Click Next)    			      00:13:19-00:31:12

63974_screenshot_3.4

3.4.1 (Select the first image | Specify readius)				     .00:00:00-00:19:04

3.4.2 (Click calibrate | Cantilever positions in images)			      00:19:05-00:36:10

63974_screenshot_3.5

3.5.1 (Click Next | Click Finish)						      00:00:00-00:07:04

63974_screenshot_3.6

3.6.1 (Click Retract | Move stage)					      00:00:00-00:45:14

3.6.2 (Select collagen-rich area | define dimensions)			      00:45:15-01:31:10

63974_screenshot_3.7

3.7.1 (Click Confirm New Scan Region)					     00:00:00-00:00:05

63974_screenshot_3.8

3.8.1 (Specify IGain, PGain and Setpoint)				     00:00:00-00:12:12

63974_screenshot_3.9

3.9.1 (Specify Rel Setpoint, Adjust Baseline)				     00:00:00-00:12:09

3.9.2 (Specify Z length, Z movement)					     00:12:10-00:21:05

3.9.3 (Specify Extend time, Ext. Delay, Retr. Delay, Sample rate. And Z closed loop)

00:21:06-00:42:13

63974_screenshot_3.10

3.10.1 (Click on Engage | Switch on Laser | Approach | start Scan)	      00:00:00-00:45:03

63974_screenshot_4.1

4.1.2 (Load force curves | Add files to be analyzed)			      00:00:00-00:15:00

63974_screenshot_4.2

4.2.1 (Click on Automatic)						      00:00:00-00:05:07

4.2.2 (Select Classical focused grid method)				      00:05:07-00:09:02

63974_screenshot_4.3

4.3.1 (Set Estimation method as Model independent)			     00:00:00-00:03:01

63974_screenshot_4.4

4.4.1 (Selecting model fit as Classical L2)					     00:00:00-00:03:04

4.4.2 (Set fit to Withdraw curve | Poisson’s ratio =0.45)			     00:03:05-00:13:00

63974_screenshot_4.5

4.5.1 (Set Baseline degree to 3 and in-contact degree to 1)		     00:00:00-00:11:12

4.5.2 (Set model to Sneddon | Specify radius of tip)			    00:11:12-00:22:14

63974_screenshot_4.6

4.6.1 (Tick boxes for Read in)						     00:00:00-00:08:02

63974_screenshot_4.7

4.7.1 (Good curves)				         	                                  00:00:00-00:05:00

4.7.2 (Bad curves | how to delete)					     00:06:00-00:37:00

4.7.3 (Selecting data | possibility to save them)				     00:38:00-00:49:00