Note: Each screen capture below refers to the single step in the script, i.e., video 64030_3.2.1_t1 refers to the 3.2 step, which has been broken into bullets to aid in timing labeling, but is all ultimately contained within the 3.2 step.

64030_3.2.1_t1

- In the Image Parameters window on the right side of the screen, set the field of view by inputting X, Y, and Z values such that the sample is encompassed within this region of interest. (00:01-00:36)

- Click on 3D Acquisition Mode, and then click on Record to collect the 3D volume scan of the sample (00:37-00:50)

64030_4.1.1_t1

- To create volume reconstruction, open Imaris and navigate to the converted TIFF file within the Arena. (00:00-00:03)

- Go to Edit, then click Image Properties and input the voxel size from the OCT image into the corresponding XYZ boxes. Next, click on OK. (00:03-00:18)

64030_4.2.1_t1

- Click on Add New Surfaces above the objects tree. In the menu below the tree, click on Skip Automatic Creation and edit manually. (00:00-00:05)

- Within the Display Adjustment window, manually slide the red and black arrows to enhance the contrast between the sample and the background and improve sample visualization (00:05-00:13)

64030_4.3.1_t1

- Adjust the 'Slice position' to the slice at one edge of the sample. Use the escape key to change the mouse from the Navigation mode to the Select mode, and then click on Draw. (00:00-00:07)

- Manually trace the outline of the region displaying the signal (00:07-00:13)

64030_4.4.1_t1

- Advance the slice position by entering the next position into the input box. This next position should be less than or equal to 100 slices further into the sample than the prior one. Manually trace the region displaying the signal (00:00-00:11)

Note: The rest of this video repeats this slice selection/tracing process in case extra iterations are desired. For our purposes, as long as this is shown for the 00:00-00:11 video clip, no more is needed to illustrate this process.

64030_4.5.1_t1

- Repeat this step through the thickness of the sample until the opposite edge of the sample is reached. Then, click on Create Surface in the left menu to stitch these slices together (00:00-00:03 shows the trace on the final slice) See additional note on 4.4.1. (00:11-00:26 of video 64030_4.4.1).

- Finally, click on Edit, then click Mask Selection, then click OK to complete the volume reconstruction (00:03-00:16)

64030_4.6.1_t1

- To obtain a sample's total cell density, select Add New Spots. In the Algorithm Settings menu, deselect all boxes. Click on the Blue Arrow to move to the Source Channel screen (00:00-00:06)

64030_4.7.1_t1

- From the drop-down menu that appears, select the masked channel. Input the average cell diameter for the sample in the XY diameter box. Ensure that Background Subtraction is checked (00:00-00:09)

64030_4.8.1_t1

- Click on the Blue Arrow to move to the Classify Spots screen. In the graph at the bottom of the menu, click and drag the left edge of the yellow threshold to the left edge of the graph, such that all objects are included in the yellow shaded threshold. Then, click on the Green Arrow to complete the spot creation (00:00-00:12)

64030_4.9.1_t1

- Obtain the number of objects identified by clicking on Statistics, then click Overall and finally click Total Number of Spots (00:00-00:04)

64030_5.1.1_t1

- Click on the surface created and navigate to the Surfaces Style/Quality tab. Change selection to Center Point and change pixel width to less than equal to 20 for best visibility. (00:00-00:08)

- Navigate to Statistics, then click Detailed, followed by Position, and record the location of the center spot (00:08-00:32)

64030_5.2.1_t1

- Select Add New Reference Frame from the menu above the object tree. Check the Visible and Fix boxes next to XY in the menu. Click and drag the center of the reference frame icon such that it is in line with the center spot. Deselect the XY Visible and Fix boxes and select them for XZ (00:00-00:16)

64030_5.3.1_t1

- Once again, click and drag the center of the reference frame icon such that it is in line with the center spot. (00:00-00:07)

- Lastly, repeat this for the YZ plane, alternating between these three fixed planes until the reference frame perfectly aligns with the center spot. Double click on the reference frame in the object tree and rename it Center or Similar (00:07-00:30)

64030_5.4.1_t1

- Click on the spots created and navigate to Statistics, then click Detailed followed by Position Reference Frame. Click on Position X Reference Frame until it sorts from highest to lowest value. Record the highest value to obtain the aggregate’s radius (00:00-00:23)

64030_5.5.1_t1

- Perform manual calculations to determine additional locations of interest. To do this, add 100 micrometers to the Xcenter value, and then use the Y and Z values of the center point to define the first location along the center axis. (00:00-00:24)

64030_5.6.1_t1

- Select Add New Spots, then select “Skip automatic creation, edit manually.” Hold the shift button on the keyboard and click anywhere on the screen to place a new spot. Input the XYZ position values for the first location of interest. (00:00-00:027)

- Then, select Add New Reference Frame and align it over the spot (00:27-01:24)

64030_5.7.1_t1

- Add 100 micrometers to each sequential X-location to establish an axis of equally spaced plugs through the thickness of the sample. Place the last reference frame less than equal to 50 micrometers away from the outer radius of the sample (00:00-00:07)

64030_5.8.1_t1

- Click on the spots created and navigate to Statistics. In the bottom-right corner of the menu, click on Export All Statistics to File and save data into a spreadsheet (00:00-00:13)

64030_5.9.1_t1

  - Open the spreadsheet. Navigate to the Distance from Origin Reference Frame tab. Each object’s distance to the reference frames is shown in column A, and the grouping of reference frames for each object is shown in column G. Use the ‘MOD’ function to numerically assign each distance to its corresponding reference frame, where 0 is the center frame, and the largest MOD value should be attributed to the peripheral reference frame. (00:00-00:25)

64030_5.10.1_t1

- Filter the values in this column to work with the distances in each reference frame. (00:00-00:12)

- For each of the reference frames, calculate the number of objects within 50 micrometers of the frame using the function 'COUNTIF’ (count-if). The resulting value corresponds to the number of cells in that regional plug. (00:12-00:23)

- Divide this value by the volume of the 100-micrometer plug to obtain cell density (00:23-00:49)